## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Assistant Chief Engineer, W.B.P.H&.I.D.Corpn. Ltd.
Name of Work: Construction of Administrative Building and Residential accomodation for Police Personnel for Jhargram Police District - Service connection from the Substation building to different Premises by providing out door feeder pillar boxes, U.G. feeder cables etc. for the entire Police Line Complex.
Contract No: WBPHIDCL/ACE/NIT- 4(e)/2018-2019 (2nd Call)
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Electrical works | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Supply & installation testing & commissioning of floor mounting cubicle type L.T. distribution panel board fabricated by 3 mm thick CRCA sheet having rigid & self supporting angle frame structure with compartmentalised dust & moisture proof entry with gasketed hinged door for each compartment & mechanical locking arrangement, suitable cable Alley including painting inside outside by powder coated paint. The said panel should be fabricated in two (2) separate section isolated by an Bus coupler for enabling to receive power from 2 x 500 KVA Transformers. The incomer ACBs should have extension copper bars for receiving double feeders from Transformer comprising with following incoming outgoing swithes, copper Bus bar & metering arrangement, necy interconnection by copper bars incl. providing continuous earthing attachment by AL earth bus bar. The panel should be provided by base channel (75x40x4.4mm) as per drawing & design approved by the EIC : INCOMER a) 415 V, 800A 4 pole ACB draw-out type Thermal Magnetic DN1 (Bus coupler-1, Incomer- 2)(L&T/Siemens) --- 3 nos b) Locking of ACB in Isolated position (Castle locking system)--3 nos c) 1200A capacity per phase, 4 bars of dimension (65x12)mm electrolite grade tinned copper Bus bars heat sink PVC insulated on porcelain chairs --- 1 set | BI01010001010000000000000515BI0100001113 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | OUTGOING c) 415V, 400A TPN open execution type SFU (Make LT/Siemens) with HRC fuses on LS & NL (C.Bank) --- 2 nos d) 415V, 315A TPN open execution type SFU (Make LT/Siemens) with HRC fuses on LS & NL --- 2 nos e) 415V, 250A TPN open execution type SFU (Make LT/Siemens) with HRC fuses on LS & NL --- 3 nos f) 415V, 200A TPN open execution type SFU (Make LT/Siemens) with HRC fuses on LS & NL --- 1 nos g) 415V, 160A TPN open execution type SFU (Make LT/Siemens) with HRC fuses on LS & NL --- 10 nos g) 0 - 800A C.T. operated (96x96mm) Ammeter (AE make) with selector switch(Kaycee make) --- 2 sets h) 800/5A C. T.(Kappa make) --- 6 nos i) 500 V, Volt meter (96x96mm) (AE make) with selector switch (Kaycee make) --- 2 sets j) Interconnection with suitable heat sink PVC insulated copper bars --- 2 sets k) LED Indicator lamp (RYB) with LT make fuse units -- 3 nos --- 2 sets l) Danger board --- 2 nos. | BI01010001010000000000000515BI0100001114 | 1 | item | 1429541 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1429541 | 1429541 | INR Fourteen Lakh Twenty Nine Thousand Five Hundred & Forty One Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | FEEDER PILLAR NO -(1 & 5) Supply & installation of 4 mm thick M.S. out door type Feeder Pillar Box having both side ventilation louvers with inclined roof of size (1050 x 900 x 400 mm) having hinged door & mechanical locking arrangement suitably grouted on 250mm masonary platform 450 below G.L. & 600mm above G.L. plastering & neatly cemented finish. The Feeder pillar box should comprise double door type cubicle panel inside it, fabricated by 3mm thick M.S. sheet with necessary slot for incomming outing MCCB/MCBs bus bar & necessary interconnection with suitable capacity PVC insulated copper wire duly socketed at both end comprising of the following control device. a) 160A Four Pole MCCB of breaking capacity 25/35KA with thermal magnetic setting (Legrand/Siemens) --- 1 no b) 200A capacity Bus bar of 4 nos Alu bars on porcelain chairs--- 1 set c) 125A Four Pole MCB (Legrand/Siemens) --- 1 no d) 63A Four Pole MCB (Legrand/Siemens) --- 2 nos e) 32A Four Pole MCB (Legrand/Siemens) --- 3 nos f) Danger board ---- 1 no | BI01010001010000000000000515BI0100001115 | 2 | item | 64537 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 129074 | 129074 | INR One Lakh Twenty Nine Thousand &Seventy Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | FEEDER PILLAR NO- (2 & 3) Supply & installation of 4 mm thick M.S. out door type Feeder Pillar Box having both side ventilation louvers with inclined roof of size (1050 x 900 x 400 mm) having hinged door & mechanical locking arrangement suitably grouted on 250mm masonary platform 450 below G.L. & 600mm above G.L. plastering & neatly cemented finish. The Feeder pillar box should comprise double door type cubicle panel inside it, fabricated by 3mm thick M.S. sheet with necessary slot for incomming outing MCCB/MCBs bus bar & necessary interconnection with suitable capacity PVC insulated copper wire duly socketed at both end comprising of the following control devices. a) 250A Four Pole MCCB of breaking capacity 25/35KA with thermal magnetic setting (Legrand/Siemens) --- 1 no b) 315A capacity Bus bar of 4 nos Alu bars on porcelain chairs-- 1 set c) 160A Four Pole MCCB of breaking capacity 25/35KA with thermal magnetic setting (Legrand/Siemens) --- 2 nos d) 63A Four Pole MCB (Legrand/Siemens) --- 1 no e) 32A Four Pole MCB (Legrand/Siemens) --- 1 no f) Danger board ---- 1 no | BI01010001010000000000000515BI0100001116 | 2 | item | 83865 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 167730 | 167730 | INR One Lakh Sixty Seven Thousand Seven Hundred & Thirty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6 | FEEDER PILLAR NO- (4 & 7) Supply & installation of 4 mm thick M.S. out door type Feeder Pillar Box having both side ventilation louvers with inclined roof of size (1050 x 900 x 400 mm) having hinged door & mechanical locking arrangement suitably grouted on 250mm masonary platform 450 below G.L. & 600mm above G.L. plastering & neatly cemented finish. The Feeder pillar box should comprise double door type cubicle panel inside it, fabricated by 3mm thick M.S. sheet with necessary slot for incomming outing MCCB/MCBs bus bar & necessary interconnection with suitable capacity PVC insulated copper wire duly socketed at both end comprising of the following controls: | BI01010001010000000000000515BI0100001117 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | a) 315A Four Pole MCCB of breaking capacity 25/35KA with thermal magnetic setting (Legrand/Siemens) ---1 no b) 400A capacity Bus bar of 4 nos Alu bars on porcelain chairs-- 1 set c) 200A Four Pole MCCB of breaking capacity 25/35KA with thermal magnetic setting (Legrand/Siemens) --- 1 no d) 160A Four Pole MCCB of breaking capacity 25/35KA with thermal magnetic setting (Legrand/Siemens) --- 1 no e) 63A Four Pole MCB (Legrand/Siemens) --- 1 no f) 32A Four Pole MCB (Legrand/Siemens) --- 3 nos g) Danger board --- 1 no | BI01010001010000000000000515BI0100001118 | 2 | item | 93527 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 187054 | 187054 | INR One Lakh Eighty Seven Thousand &Fifty Four Only
8 | FEEDER NO - (6 & 9) Supply & installation of 4 mm thick M.S. out door type Feeder Pillar Box having both side ventilation louvers with inclined roof of size (1050 x 900 x 400 mm) having hinged door & mechanical locking arrangement suitably grouted on 250mm masonary platform 450 below G.L. & 600mm above G.L. plastering & neatly cemented finish. The Feeder pillar box should comprise double door type cubicle panel inside it, fabricated by 3mm thick M.S. sheet with necessary slot for incomming outing MCCB/MCBs bus bar & necessary interconnection with suitable capacity PVC insulated copper wire duly socketed at both end comprising of the following control device. a) 250A Four Pole MCCB of breaking capacity 25/35KA with thermal magnetic setting (Legrand/Siemens) --- 1 no b) 315A capacity Bus bar of 4 nos Alu bars on porcelain chairs -- 1 set c) 160A Four Pole MCCB of breaking capacity 25/35KA with thermal magnetic setting (Legrand/Siemens) --- 2 nos d) 63A Four Pole MCB (Legrand/Siemens) --- 3 nos e) 32A Four Pole MCB (Legrand/Siemens) --- 1 no f) Danger board ---- 1 no | BI01010001010000000000000515BI0100001119 | 2 | item | 88313 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 176626 | 176626 | INR One Lakh Seventy Six Thousand Six Hundred & Twenty Six Only
9 | FEEDER NO -8 Supply & installation of 4 mm thick M.S. out door type Feeder Pillar Box having both side ventilation louvers with inclined roof of size (1050 x 900 x 400 mm) having hinged door & mechanical locking arrangement suitably grouted on 250mm masonary platform 450 below G.L. & 600mm above G.L. plastering & neatly cemented finish. The Feeder pillar box should comprise double door type cubicle panel inside it, fabricated by 3mm thick M.S. sheet with necessary slot for incomming outing MCCB/MCBs bus bar & necessary interconnection with suitable capacity PVC insulated copper wire duly socketed at both end comprising of the following control device. a) 125A Four Pole MCB (Legrand/Siemens) --- 1 no b)200A capacity Bus bar of 4 nos Alu bars on porcelain chairs -- 1 set c) 63A Four Pole MCB (Legrand/Siemens) --- 1 nos d) 32A Four Pole MCB (Legrand/Siemens) --- 3 nos f) Danger board ---- 1 no | BI01010001010000000000000515BI0100001120 | 1 | item | 50792 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 50792 | 50792 | INR Fifty Thousand Seven Hundred & Ninety Two Only
10 | Supply & delivery of 1.1 KV grade XLPE aluminium armoured cable (Make Gloster/Nicco/Havells) | BI01010001010000000000000515BI0100001121
11 | a) 3.5 x 185 sq mm | BI01010001010000000000000515BI0100001122 | 246 | mtr | 1103 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 271338 | 271338 | INR Two Lakh Seventy One Thousand Three Hundred & Thirty Eight Only
12 | b) 3.5 x 150 sq mm | BI01010001010000000000000515BI0100001123 | 485 | mtr | 782 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 379270 | 379270 | INR Three Lakh Seventy Nine Thousand Two Hundred & Seventy Only
13 | c) 3.5 x 95 sq mm | BI01010001010000000000000515BI0100001124 | 1450 | mtr | 530 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 768500 | 768500 | INR Seven Lakh Sixty Eight Thousand Five Hundred Only
14 | d) 3.5 x 70 sq mm | BI01010001010000000000000515BI0100001125 | 430 | mtr | 439 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 188770 | 188770 | INR One Lakh Eighty Eight Thousand Seven Hundred & Seventy Only
15 | e) 3.5 x 35 sq mm | BI01010001010000000000000515BI0100001126 | 525 | mtr | 248 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 130200 | 130200 | INR One Lakh Thirty Thousand Two Hundred Only
16 | Laying of the following Al armoured cable through under ground trench 460mm wide x 760mm average depth with necy brick protechtion 8 nos brick per metre, incl filling up the excaveted trench with shifted soil, levelling up & restoring the surface duly rammed | BI01010001010000000000000515BI0100001127
17 | a) 3.5 x 185 sq mm | BI01010001010000000000000515BI0100001128 | 246 | mtr | 185 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 45510 | 45510 | INR Forty Five Thousand Five Hundred & Ten Only
18 | b) 3.5 x 150 sq mm | BI01010001010000000000000515BI0100001129 | 485 | mtr | 185 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 89725 | 89725 | INR Eighty Nine Thousand Seven Hundred & Twenty Five Only
19 | c) 3.5 x 95 sq mm | BI01010001010000000000000515BI0100001130 | 1450 | mtr | 185 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 268250 | 268250 | INR Two Lakh Sixty Eight Thousand Two Hundred & Fifty Only
20 | d) 3.5 x 70 sq mm | BI01010001010000000000000515BI0100001131 | 430 | mtr | 185 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 79550 | 79550 | INR Seventy Nine Thousand Five Hundred & Fifty Only
21 | e) 3.5 x 35 sq mm | BI01010001010000000000000515BI0100001132 | 525 | mtr | 175 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 91875 | 91875 | INR Ninety One Thousand Eight Hundred & Seventy Five Only
22 | Supply & laying medium gauge G.I. Pipe(ISI-Medium) for cable protection | BI01010001010000000000000515BI0100001133
23 | a) 80 mm dia | BI01010001010000000000000515BI0100001134 | 27 | mtr | 638 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17226 | 17226 | INR Seventeen Thousand Two Hundred & Twenty Six Only
24 | b) 40 mm dia | BI01010001010000000000000515BI0100001135 | 96 | mtr | 295 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28320 | 28320 | INR Twenty Eight Thousand Three Hundred & Twenty Only
25 | Supply & fixing compression type gland with brass gland brass ring incl. socketing the ends off by crimping method incl. S/F solderless socket (Dowels make) & jointing ,materials etc. Of the following XLPE/A cable: | BI01010001010000000000000515BI0100001136
26 | a) 3.5 x 185 sq mm | BI01010001010000000000000515BI0100001137 | 4 | per mtr | 1064 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4256 | 4256 | INR Four Thousand Two Hundred & Fifty Six Only
27 | b) 3.5 x 150 sq mm | BI01010001010000000000000515BI0100001138 | 4 | per mtr | 834 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3336 | 3336 | INR Three Thousand Three Hundred & Thirty Six Only
28 | c) 3.5 x 95 sq mm | BI01010001010000000000000515BI0100001139 | 4 | per mtr | 649 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2596 | 2596 | INR Two Thousand Five Hundred & Ninety Six Only
29 | d) 3.5 x 70 sq mm | BI01010001010000000000000515BI0100001140 | 4 | per mtr | 526 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2104 | 2104 | INR Two Thousand One Hundred & Four Only
30 | e) 3.5 x 35 sq mm | BI01010001010000000000000515BI0100001141 | 10 | per mtr | 352 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3520 | 3520 | INR Three Thousand Five Hundred & Twenty Only
31 | Earthing the Installation by 50 mm dia G.I. Pipe (ISI -M) 3.64 mtr long & 1x4 SWG G.I.(Hot dip) wire (4 mtr long) with suitable nuts, bolts & washer etc. Incl S/F 15 mm dia GI protection pipe (1 mtr long) to be filled with bitumen partly under ground level & partly under ground level driven to an depth of 3.65 mtr below G.L. (LT Panel -2, FB - 18) | BI01010001010000000000000515BI0100001142 | 28 | set | 1545 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43260 | 43260 | INR Forty Three Thousand Two Hundred & Sixty Only
Total in Figures | [51 empty] | 4558423 | 4558423 | INR Forty Five Lakh Fifty Eight Thousand Four Hundred & Twenty Three Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information