## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Additional Chief Engineer, W.B.P.H&.I.D.Corpn. Ltd.
Name of Work: Repair, renovation and upgradation of 122 Nos. Lower Subordinate Quarters in Paschim Medinipur Police Lines under Paschim Medinipur district.
Contract No: WBPHIDCL/Addl.CE/NIT- 130(e)/2019-2020 (5th Call) For Sl. No. 2
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil works | BI01010001010000000000000515BI0100001112 | [55 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Dismantling all types of masonry excepting cement concrete plain or reinforced, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. a) In ground floor including roof. | BI01010001010000000000000515BI0100001113 | 9.6 | Cu.M. | 505.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4854.24 | 4854.24 | INR Four Thousand Eight Hundred & Fifty Four and Paise Twenty Four Only | 447 | 505.65 | 4291.2 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Dismantling all types of masonry excepting cement concrete plain or reinforced, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. b) In first floor including roof. | BI01010001010000000000000515BI0100001114 | 7.75 | Cu.M. | 562.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4357.13 | 4357.13 | INR Four Thousand Three Hundred & Fifty Seven and Paise Thirteen Only | 497 | 562.21 | 3851.75 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Dismantling all types of masonry excepting cement concrete plain or reinforced, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. c) In second floor including roof. | BI01010001010000000000000515BI0100001115 | 3 | Cu.M. | 618.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1856.31 | 1856.31 | INR One Thousand Eight Hundred & Fifty Six and Paise Thirty One Only | 547 | 618.77 | 1641 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Dismantling all types of masonry excepting cement concrete plain or reinforced, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. d) In third floor including roof. | BI01010001010000000000000515BI0100001116 | 2.4 | Cu.M. | 675.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1620.79 | 1620.79 | INR One Thousand Six Hundred & Twenty and Paise Seventy Nine Only | 597 | 675.33 | 1432.8 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Dismantling all types of plain cement concrete works, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. (a) upto 150 mm. thick In ground floor including roof. | BI01010001010000000000000515BI0100001117 | 12.9 | Cu.M. | 1062.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13702.38 | 13702.38 | INR Thirteen Thousand Seven Hundred & Two and Paise Thirty Eight Only | 939 | 1062.2 | 12113.1 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Dismantling all types of plain cement concrete works, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. (a) upto 150 mm. thick In first floor including roof. | BI01010001010000000000000515BI0100001118 | 10 | Cu.M. | 1118.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11187.6 | 11187.6 | INR Eleven Thousand One Hundred & Eighty Seven and Paise Sixty Only | 989 | 1118.76 | 9890 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | Dismantling all types of plain cement concrete works, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. (b) upto 150 mm. thick In second floor including roof. | BI01010001010000000000000515BI0100001119 | 7.5 | Cu.M. | 1175.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8814.9 | 8814.9 | INR Eight Thousand Eight Hundred & Fourteen and Paise Ninety Only | 1039 | 1175.32 | 7792.5 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Dismantling all types of plain cement concrete works, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. (c) upto 150 mm. thick In third floor including roof. | BI01010001010000000000000515BI0100001120 | 3.1 | Cu.M. | 1231.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3818.83 | 3818.83 | INR Three Thousand Eight Hundred & Eighteen and Paise Eighty Three Only | 1089 | 1231.88 | 3375.9 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Dismantling R.C. floor, roof, beams etc. including cutting rods and removing rubbish as directed within a lead of 75 m. including stacking of steel bars. In ground floor including roof. | BI01010001010000000000000515BI0100001121 | 20 | Cu.M. | 2212.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44252.6 | 44252.6 | INR Forty Four Thousand Two Hundred & Fifty Two and Paise Sixty Only | 1956 | 2212.63 | 39120 |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Dismantling R.C. floor, roof, beams etc. including cutting rods and removing rubbish as directed within a lead of 75 m. including stacking of steel bars. In first floor including roof. | BI01010001010000000000000515BI0100001122 | 10 | Cu.M. | 2269.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22691.9 | 22691.9 | INR Twenty Two Thousand Six Hundred & Ninety One and Paise Ninety Only | 2006 | 2269.19 | 20060 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Dismantling R.C. floor, roof, beams etc. including cutting rods and removing rubbish as directed within a lead of 75 m. including stacking of steel bars. In second floor including roof. | BI01010001010000000000000515BI0100001123 | 11 | Cu.M. | 2325.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25583.25 | 25583.25 | INR Twenty Five Thousand Five Hundred & Eighty Three and Paise Twenty Five Only | 2056 | 2325.75 | 22616 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Dismantling R.C. floor, roof, beams etc. including cutting rods and removing rubbish as directed within a lead of 75 m. including stacking of steel bars. In third floor including roof. | BI01010001010000000000000515BI0100001124 | 10 | Cu.M. | 2382.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23823.1 | 23823.1 | INR Twenty Three Thousand Eight Hundred & Twenty Three and Paise Ten Only | 2106 | 2382.31 | 21060 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14 | Dismantling carefully terraced floor only (including floor finish if any) or lime terracing in ground floor roof and removing rubbish as directed within a lead of 75 m. In ground floor including roof. | BI01010001010000000000000515BI0100001125 | 180 | Sq.M. | 835.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 150472.8 | 150472.8 | INR One Lakh Fifty Thousand Four Hundred & Seventy Two and Paise Eighty Only | 739 | 835.96 | 133020 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Dismantling carefully terraced floor only (including floor finish if any) or lime terracing in ground floor roof and removing rubbish as directed within a lead of 75 m. In first floor including roof. | BI01010001010000000000000515BI0100001126 | 140 | Sq.M. | 892.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 124952.8 | 124952.8 | INR One Lakh Twenty Four Thousand Nine Hundred & Fifty Two and Paise Eighty Only | 789 | 892.52 | 110460 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Dismantling carefully terraced floor only (including floor finish if any) or lime terracing in ground floor roof and removing rubbish as directed within a lead of 75 m. In second floor including roof. | BI01010001010000000000000515BI0100001127 | 100 | Sq.M. | 949.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 94908 | 94908 | INR Ninety Four Thousand Nine Hundred & Eight Only | 839 | 949.08 | 83900
17 | Dismantling carefully terraced floor only (including floor finish if any) or lime terracing in ground floor roof and removing rubbish as directed within a lead of 75 m. In third floor including roof. | BI01010001010000000000000515BI0100001128 | 70 | Sq.M. | 1005.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 70394.8 | 70394.8 | INR Seventy Thousand Three Hundred & Ninety Four and Paise Eighty Only | 889 | 1005.64 | 62230
18 | Stripping off worn out plaster and raking out joints of walls, celings etc. upto any height and in any floor including removing rubbish within a lead of 75m as directed. | BI01010001010000000000000515BI0100001129 | 13796.96 | Sq.M. | 21.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 296496.67 | 296496.67 | INR Two Lakh Ninety Six Thousand Four Hundred & Ninety Six and Paise Sixty Seven Only | 19 | 21.49 | 262142.24
19 | Cleaning the concrete surface by removing dirt and debris, marking defective locations and removing loose concrete by careful stripping untill hard surface is exposed, cutting the concrete to regular shape, wire brushing the exposed surface and removing debris from site complete as per direction of the Engineer - in - Charge. | BI01010001010000000000000515BI0100001130 | 3726.43 | Sq.M. | 101.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 379387.84 | 379387.84 | INR Three Lakh Seventy Nine Thousand Three Hundred & Eighty Seven and Paise Eighty Four Only | 90 | 101.81 | 335378.7
20 | Cleaning the exposed reinforcement preferably upto full diameter by wire brush, applying two coats of polymer based rust removing compound left for 24 hours, removing the coating and then applying two (2) coats of polymer modified anti corrosive protective coating formulated to inhibit the corrosion of reinforcement as per manufacturer's specification] [Mode of measurement:The affected surface area of reinforcement shall be considered for payment] | BI01010001010000000000000515BI0100001131 | 240 | Sq.M. | 887.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 213117.6 | 213117.6 | INR Two Lakh Thirteen Thousand One Hundred & Seventeen and Paise Sixty Only | 785 | 887.99 | 188400
21 | Applying epoxy based reactive joining agent for joining the old concrete with fresh concrete to be applied within manufacturer's specified time as per manufacturers specification. (0.4 Kg / m² of concrete surface). Note: Applicable only when the full diameter of reinforcement steel is exposed. | BI01010001010000000000000515BI0100001132 | 500 | Sq.M. | 349.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 174770 | 174770 | INR One Lakh Seventy Four Thousand Seven Hundred & Seventy Only | 309 | 349.54 | 154500
22 | Removing corroded worn out portion of reinforcement (when the area of bar is damaged by more than 25%) by cutting and replacing the same by a new plain round bar of requisite diameter by binding with required lap / welding with old bar, including cost of reinforcement, complete in all respect including removing unserviceable materials from site as per direction of the Engineer - in - charge. Note : Payment on weight (Kg.) of new reinforcement. | BI01010001010000000000000515BI0100001133 | 5668.35 | Kg | 98.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 557822.32 | 557822.32 | INR Five Lakh Fifty Seven Thousand Eight Hundred & Twenty Two and Paise Thirty Two Only | 87 | 98.41 | 493146.45
23 | Repairing cracks in floor with cement mortar (1:2) with necessary pigment to match with existing works, including prior cutting and cleaning the cracks as directed. | BI01010001010000000000000515BI0100001134 | 953.95 | M | 7.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7354.95 | 7354.95 | INR Seven Thousand Three Hundred & Fifty Four and Paise Ninety Five Only | 6.82 | 7.71 | 6505.94
24 | Repairs to roof cracks with cement and sand mortar (1:4) including cutting grooves and cleaning cracks and grouting the cracks with neat cement before repairs. (Cement 0.63 Kg/Mtr. ) | BI01010001010000000000000515BI0100001135 | 315.65 | Metre | 15.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4999.9 | 4999.9 | INR Four Thousand Nine Hundred & Ninety Nine and Paise Ninety Only | 14 | 15.84 | 4419.1
25 | Taking out M.S. or W.I. Grills from wooden frame including cutting lugs from masonry wall and refitting the same and mending good damages after repairs. (Excluding the cost of necessary repair of damages) or doing any other necessary works. | BI01010001010000000000000515BI0100001136 | 478 | Each | 111.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53531.22 | 53531.22 | INR Fifty Three Thousand Five Hundred & Thirty One and Paise Twenty Two Only | 99 | 111.99 | 47322
26 | M.S. round or square bar grating of windows etc. fitted and fixed in holes of window frame and with intermediate flat bar stiffener( with necessary holes for the grating bars and with the ends turned and fixed to timber frame with necessary screws) complete, as directed. | BI01010001010000000000000515BI0100001137 | 10 | Qntl. | 9781.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 97814.9 | 97814.9 | INR Ninety Seven Thousand Eight Hundred & Fourteen and Paise Ninety Only | 8647 | 9781.49 | 86470
27 | Labour for taking out door and window frame including shutter for repair or replacement of different parts of the frame & refixing the same including mending good all damaes complete. (Concrete and brick work for mending damage will be paid separately) (a) Upto area 2.5 Sq.m | BI01010001010000000000000515BI0100001138 | 666.8 | Sq.M | 134.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 89757.95 | 89757.95 | INR Eighty Nine Thousand Seven Hundred & Fifty Seven and Paise Ninety Five Only | 119 | 134.61 | 79349.2
28 | Labour for taking out door and window frame including shutter for repair or replacement of different parts of the frame & refixing the same including mending good all damaes complete. (Concrete and brick work for mending damage will be paid separately) (b) Above area 2.5 Sq.m | BI01010001010000000000000515BI0100001139 | 605.6 | Sq.M | 165.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 100020.9 | 100020.9 | INR One Lakh &Twenty and Paise Ninety Only | 146 | 165.16 | 88417.6
29 | Taking out shutter of door and window, dismantling by parts (for repair or replacement of damaged parts) , reassembling and refitting and rehanging same with old fittings but with new screws as necessary. (Where different parts of same shutter are renewed under different item, payment under item 73 will be made once only). | BI01010001010000000000000515BI0100001140 | 972.4 | Sq.M | 142.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 138596.17 | 138596.17 | INR One Lakh Thirty Eight Thousand Five Hundred & Ninety Six and Paise Seventeen Only | 126 | 142.53 | 122522.4
30 | Wood work in door and window frame fitted and fixed in position complete including a protective coat of painting at the contact surface of the frame exluding cost of concrete, Iron Butt Hinges and M.S clamps. (The quantum should be correted upto three decimals). (f) Sishu, Gamar, Champ, Badam, Bhola, Mogra, Hallak. | BI01010001010000000000000515BI0100001141 | 1.5 | Cu.M | 80748.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 121122.68 | 121122.68 | INR One Lakh Twenty One Thousand One Hundred & Twenty Two and Paise Sixty Eight Only | 71383 | 80748.45 | 107074.5
31 | Removing loose scales, blisters etc. from old painted surface and thoroughly smoothening the surface to make the same suitable for receiving fresh coat of paint. | BI01010001010000000000000515BI0100001142 | 3077.77 | Sq.M | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 73127.82 | 73127.82 | INR Seventy Three Thousand One Hundred & Twenty Seven and Paise Eighty Two Only | 21 | 23.76 | 64633.17
32 | Removing old paint from blistered painted surface of steel or other metal by chipping including scraping and cleaning and exposing the original surface | BI01010001010000000000000515BI0100001143 | 746.72 | Sq.M | 54.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40546.9 | 40546.9 | INR Forty Thousand Five Hundred & Forty Six and Paise Ninety Only | 48 | 54.3 | 35842.56
33 | Cleaning the concrete surface by removing dirt and debris, marking defective locations and removing loose concrete by careful stripping untill hard surface is exposed, cutting the concrete to regular shape, wire brushing the exposed surface and removing debris from site complete as per direction of the Engineer - in - Charge. | BI01010001010000000000000515BI0100001144 | 2251.621 | Sq.M | 101.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 229237.53 | 229237.53 | INR Two Lakh Twenty Nine Thousand Two Hundred & Thirty Seven and Paise Fifty Three Only | 90 | 101.81 | 202645.89
34 | Cutting chase upto 125 x 150 mm. and subsequent mending of damages. (a) in brick wall [Cement-3.6 Kg/Mtr] | BI01010001010000000000000515BI0100001145 | 510 | Mtr | 97.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49612.8 | 49612.8 | INR Forty Nine Thousand Six Hundred & Twelve and Paise Eighty Only | 86 | 97.28 | 43860
35 | (b) Applying 2 coats of Non-Toxic Acrylic Polymer modified Paint having adhesive & waterproofing properties by mixing in proportion (1 liquid: 4 cementitious material) or as per manufacturer's specification for water proofing layer in water tank etc. (No Departmental Cement is required) | BI01010001010000000000000515BI0100001146 | 1446.62 | Sq.M. | 290.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 420561.37 | 420561.37 | INR Four Lakh Twenty Thousand Five Hundred & Sixty One and Paise Thirty Seven Only | 257 | 290.72 | 371781.34
36 | Extra rate for using water proofing and plasticising admixture @ 0.2% by weight of cement (or at manufacturer's specified rate) for concrete of various grades. | BI01010001010000000000000515BI0100001147 | 80.5 | Kg | 134.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10836.11 | 10836.11 | INR Ten Thousand Eight Hundred & Thirty Six and Paise Eleven Only | 119 | 134.61 | 9579.5
37 | Ordinary Cement concrete (mix 1:2:4) with graded stone chips (6mm nominal size) excluding shuttering and reinforcement,if any, in gound floor as per relevant IS codes. | BI01010001010000000000000515BI0100001148 | 87.63 | Cu.M. | 5985.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 524481.32 | 524481.32 | INR Five Lakh Twenty Four Thousand Four Hundred & Eighty One and Paise Thirty Two Only | 5291 | 5985.18 | 463650.33
38 | (b) Controlled Cement concrete with well graded stone chips (20 mm nominal size) excluding shuttering and reinforcement with complete design of concrete as per IS : 456 and relevant special publications, submission of job mix formula after preliminary mix design after testing of concrete cubes as per direction of Engineer-in charge. Consumption of cement will not be less than 300 Kg of cement with Super plasticiser per cubic meter of controlled concrete but actual consumption will be determined on the basis of preliminary test and job mix foumula. In ground floor and foundation.[using concrete mixture] (b) M 25 Grade (i) Pakur Variety GROUND FLOOR | BI01010001010000000000000515BI0100001149 | 75 | Cu.M. | 7234.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 542606.25 | 542606.25 | INR Five Lakh Forty Two Thousand Six Hundred & Six and Paise Twenty Five Only | 6395.64 | 7234.75 | 479673
39 | Reinforcement for reinforced concrete work in all sorts structure including distribution bars, stirrups, binders etc. including of rods initial straightening and removal of loose rust (if necessary), cutting to requisite length , hooking and bending with 16 gauge black annealed wire at every inter section, complete as per drawing and direction. (a) For works in foundation, basement and upto roof of ground floor / upto 4 m (i) Tor Steel / Mild Steel ( I ) SAIL / TATA / RINL GROUND FLOOR | BI01010001010000000000000515BI0100001150 | 5.2 | M.T. | 80619.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 419221.35 | 419221.35 | INR Four Lakh Nineteen Thousand Two Hundred & Twenty One and Paise Thirty Five Only | 71269 | 80619.49 | 370598.8
40 | Hire and labour charges for shuttering with centreing and necessary staging up to 4m using approved stout props thick hard wood planks of approved thickness with required bracing for concrete slabs, beams, columns, linteles curved or straight including fitting, fixing and striking out after complition of works upto roof og GF a) 25mm to 30mm thick wooden shuttering as per decision and direction of E.I.C Ground Floor | BI01010001010000000000000515BI0100001151 | 497.01 | Sq.M | 363.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 180474.27 | 180474.27 | INR One Lakh Eighty Thousand Four Hundred & Seventy Four and Paise Twenty Seven Only | 321 | 363.12 | 159540.21
41 | Brick work with 1st class bricks in cement mortar (1:6) in Ground Floor | BI01010001010000000000000515BI0100001152 | 15.4 | Cu.M. | 6065.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 93408.55 | 93408.55 | INR Ninety Three Thousand Four Hundred & Eight and Paise Fifty Five Only | 5362 | 6065.49 | 82574.8
42 | Brick work with 1st class bricks in cement mortar (1:6) in First Floor | BI01010001010000000000000515BI0100001153 | 10.55 | Cu.M. | 6191.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 65315.68 | 65315.68 | INR Sixty Five Thousand Three Hundred & Fifteen and Paise Sixty Eight Only | 5473 | 6191.06 | 57740.15
43 | Brick work with 1st class bricks in cement mortar (1:6) in Second Floor | BI01010001010000000000000515BI0100001154 | 9.4 | Cu.M. | 6316.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 59376.23 | 59376.23 | INR Fifty Nine Thousand Three Hundred & Seventy Six and Paise Twenty Three Only | 5584 | 6316.62 | 52489.6
44 | Brick work with 1st class bricks in cement mortar (1:6) in Third Floor | BI01010001010000000000000515BI0100001155 | 6.6 | Cu.M. | 6442.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42518.39 | 42518.39 | INR Forty Two Thousand Five Hundred & Eighteen and Paise Thirty Nine Only | 5695 | 6442.18 | 37587
45 | 125 mm. thick brick work with 1st class bricks in cement mortar (1:4)in Ground Floor | BI01010001010000000000000515BI0100001156 | 74.7 | Sq.M | 797.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 59573.25 | 59573.25 | INR Fifty Nine Thousand Five Hundred & Seventy Three and Paise Twenty Five Only | 705 | 797.5 | 52663.5
46 | 125 mm. thick brick work with 1st class bricks in cement mortar (1:4)in First Floor | BI01010001010000000000000515BI0100001157 | 40.5 | Sq.M | 811.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32848.34 | 32848.34 | INR Thirty Two Thousand Eight Hundred & Forty Eight and Paise Thirty Four Only | 717 | 811.07 | 29038.5
47 | 125 mm. thick brick work with 1st class bricks in cement mortar (1:4)in Second Floor | BI01010001010000000000000515BI0100001158 | 52.5 | Sq.M | 824.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43293.6 | 43293.6 | INR Forty Three Thousand Two Hundred & Ninety Three and Paise Sixty Only | 729 | 824.64 | 38272.5
48 | 125 mm. thick brick work with 1st class bricks in cement mortar (1:4)in Third Floor | BI01010001010000000000000515BI0100001159 | 51.6 | Sq.M | 838.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43252.15 | 43252.15 | INR Forty Three Thousand Two Hundred & Fifty Two and Paise Fifteen Only | 741 | 838.22 | 38235.6
49 | Labour for Chipping of concrete surface before taking up Plastering work. | BI01010001010000000000000515BI0100001160 | 2207.6 | Sq.M | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 52452.58 | 52452.58 | INR Fifty Two Thousand Four Hundred & Fifty Two and Paise Fifty Eight Only | 21 | 23.76 | 46359.6
50 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar b) 20mm thick plaster OUTSIDE Ground Floor | BI01010001010000000000000515BI0100001161 | 444.075 | Sq.M | 175.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 77864.11 | 77864.11 | INR Seventy Seven Thousand Eight Hundred & Sixty Four and Paise Eleven Only | 155 | 175.34 | 68831.63
51 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar b) 20mm thick plaster OUTSIDE First Floor | BI01010001010000000000000515BI0100001162 | 394.68 | Sq.M | 179.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 70987.14 | 70987.14 | INR Seventy Thousand Nine Hundred & Eighty Seven and Paise Fourteen Only | 159 | 179.86 | 62754.12
52 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar b) 20mm thick plaster OUTSIDE Second Floor | BI01010001010000000000000515BI0100001163 | 328.138 | Sq.M | 184.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60505.37 | 60505.37 | INR Sixty Thousand Five Hundred & Five and Paise Thirty Seven Only | 163 | 184.39 | 53486.49
53 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar b) 20mm thick plaster OUTSIDE Third Floor | BI01010001010000000000000515BI0100001164 | 321.725 | Sq.M | 188.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60777.07 | 60777.07 | INR Sixty Thousand Seven Hundred & Seventy Seven and Paise Seven Only | 167 | 188.91 | 53728.08
54 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 1:4 cement mortar ,b) 10 mm thick plaster. Ceiling Plaster Ground Floor | BI01010001010000000000000515BI0100001165 | 3312.6 | Sq.M | 139.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 460915.16 | 460915.16 | INR Four Lakh Sixty Thousand Nine Hundred & Fifteen and Paise Sixteen Only | 123 | 139.14 | 407449.8
55 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 1:4 cement mortar ,b) 10 mm thick plaster. Ceiling Plaster First Floor | BI01010001010000000000000515BI0100001166 | 2917.5 | Sq.M | 143.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 419128.05 | 419128.05 | INR Four Lakh Nineteen Thousand One Hundred & Twenty Eight and Paise Five Only | 127 | 143.66 | 370522.5
56 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 1:4 cement mortar ,b) 10 mm thick plaster. Ceiling Plaster Second Floor | BI01010001010000000000000515BI0100001167 | 2225.1 | Sq.M | 148.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 329737.57 | 329737.57 | INR Three Lakh Twenty Nine Thousand Seven Hundred & Thirty Seven and Paise Fifty Seven Only | 131 | 148.19 | 291488.1
57 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 1:4 cement mortar ,b) 10 mm thick plaster. Ceiling Plaster Third Floor | BI01010001010000000000000515BI0100001168 | 2173.8 | Sq.M | 152.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 331961 | 331961 | INR Three Lakh Thirty One Thousand Nine Hundred & Sixty One Only | 135 | 152.71 | 293463
58 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar b) 15mm thick plaster INSIDE Ground Floor | BI01010001010000000000000515BI0100001169 | 528.15 | Sq.M | 153.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 81250.6 | 81250.6 | INR Eighty One Thousand Two Hundred & Fifty and Paise Sixty Only | 136 | 153.84 | 71828.4
59 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar b) 15mm thick plaster INSIDE First Floor | BI01010001010000000000000515BI0100001170 | 429.375 | Sq.M | 158.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 68000.12 | 68000.12 | INR Sixty Eight Thousand and Paise Twelve Only | 140 | 158.37 | 60112.5
60 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar b) 15mm thick plaster INSIDE Second Floor | BI01010001010000000000000515BI0100001171 | 356.275 | Sq.M | 162.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 58033.63 | 58033.63 | INR Fifty Eight Thousand &Thirty Three and Paise Sixty Three Only | 144 | 162.89 | 51303.6
61 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar b) 15mm thick plaster INSIDE Third Floor | BI01010001010000000000000515BI0100001172 | 343.45 | Sq.M | 167.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 57500.4 | 57500.4 | INR Fifty Seven Thousand Five Hundred and Paise Forty Only | 148 | 167.42 | 50830.6
62 | Neat Cement Punning above 1.5mm thick in Wall dado,Window Sill Floor and Drain etc Note Cement 0.152 cum 100 Sqmts | BI01010001010000000000000515BI0100001173 | 4397.387 | Sq.M | 38.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 169123.5 | 169123.5 | INR One Lakh Sixty Nine Thousand One Hundred & Twenty Three and Paise Fifty Only | 34 | 38.46 | 149511.16
63 | Priming one coat on steel or other metal surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc | BI01010001010000000000000515BI0100001174 | 1764.8 | Sq.M | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 57885.44 | 57885.44 | INR Fifty Seven Thousand Eight Hundred & Eighty Five and Paise Forty Four Only | 29 | 32.8 | 51179.2
64 | Priming one coat on timber or plastered surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. | BI01010001010000000000000515BI0100001175 | 3292.32 | Sq.M | 42.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 141536.84 | 141536.84 | INR One Lakh Forty One Thousand Five Hundred & Thirty Six and Paise Eighty Four Only | 38 | 42.99 | 125108.16
65 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary : On timber or plastered surface. With super gloss (hi-gloss) - Two coats (with any shade except white) | BI01010001010000000000000515BI0100001176 | 3492.32 | Sq.M | 91.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 320001.28 | 320001.28 | INR Three Lakh Twenty Thousand &One and Paise Twenty Eight Only | 81 | 91.63 | 282877.92
66 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary : On steel or other metal surface. With super gloss (hi-gloss) - Two coats (with any shade except white) | BI01010001010000000000000515BI0100001177 | 2214.8 | Sq.M | 89.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 197914.53 | 197914.53 | INR One Lakh Ninety Seven Thousand Nine Hundred & Fourteen and Paise Fifty Three Only | 79 | 89.36 | 174969.2
67 | Cement washing including cleaning and smoothening surface thoroughly (cement to be used @15 kg./100 sq.m. of surface for one coat and @25 kg./100 sq.m of surface for two coats): External surface (Ground floor) (a) One coat Ground Floor | BI01010001010000000000000515BI0100001178 | 8500 | Sq.M. | 10.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 87975 | 87975 | INR Eighty Seven Thousand Nine Hundred & Seventy Five Only | 9.15 | 10.35 | 77775
68 | Cement washing including cleaning and smoothening surface thoroughly (cement to be used @15 kg./100 sq.m. of surface for one coat and @25 kg./100 sq.m of surface for two coats): External surface (Ground floor) (a) One coat First Floor | BI01010001010000000000000515BI0100001179 | 8500 | Sq.M. | 11.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 94775 | 94775 | INR Ninety Four Thousand Seven Hundred & Seventy Five Only | 9.86 | 11.15 | 83810
69 | Cement washing including cleaning and smoothening surface thoroughly (cement to be used @15 kg./100 sq.m. of surface for one coat and @25 kg./100 sq.m of surface for two coats): External surface (Ground floor) (a) One coat Second Floor | BI01010001010000000000000515BI0100001180 | 5800 | Sq.M. | 11.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 69368 | 69368 | INR Sixty Nine Thousand Three Hundred & Sixty Eight Only | 10.57 | 11.96 | 61306
70 | Cement washing including cleaning and smoothening surface thoroughly (cement to be used @15 kg./100 sq.m. of surface for one coat and @25 kg./100 sq.m of surface for two coats): External surface (Ground floor) (a) One coat Third Floor | BI01010001010000000000000515BI0100001181 | 5000 | Sq.M. | 12.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 63800 | 63800 | INR Sixty Three Thousand Eight Hundred Only | 11.28 | 12.76 | 56400
71 | Applying decorative cement based paint of approved quality after preparing the surface including scraping the same thoroughly (plastered or concrete surface) as per manufacturer's specification. In Ground floor: (i) One coat on old surface. | BI01010001010000000000000515BI0100001182 | 28000 | Sq.M. | 35.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 981960 | 981960 | INR Nine Lakh Eighty One Thousand Nine Hundred & Sixty Only | 31 | 35.07 | 868000
72 | Colour washing with "ELLA" with a coat of white wash priming including cleaning and smoothening surface thoroughly : (i) Internal (all floors) (b) Two coats | BI01010001010000000000000515BI0100001183 | 53500 | Sq.M. | 24.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1302725 | 1302725 | INR Thirteen Lakh Two Thousand Seven Hundred & Twenty Five Only | 21.53 | 24.35 | 1151855
73 | Labour for dismantling G.I. pipe with fittings. (i) 15 mm | BI01010001010000000000000515BI0100001184 | 980 | metre | 6.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6654.2 | 6654.2 | INR Six Thousand Six Hundred & Fifty Four and Paise Twenty Only | 6 | 6.79 | 5880
74 | Labour for dismantling G.I. pipe with fittings. (ii) 20 mm | BI01010001010000000000000515BI0100001185 | 980 | metre | 6.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6654.2 | 6654.2 | INR Six Thousand Six Hundred & Fifty Four and Paise Twenty Only | 6 | 6.79 | 5880
75 | Labour for dismantling G.I. pipe with fittings. (iii) 25 mm | BI01010001010000000000000515BI0100001186 | 980 | metre | 6.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6654.2 | 6654.2 | INR Six Thousand Six Hundred & Fifty Four and Paise Twenty Only | 6 | 6.79 | 5880
76 | Labour for dismantling G.I. pipe with fittings. (iv) 32 mm | BI01010001010000000000000515BI0100001187 | 280 | metre | 6.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1901.2 | 1901.2 | INR One Thousand Nine Hundred & One and Paise Twenty Only | 6 | 6.79 | 1680
77 | Labour for dismantling G.I. pipe with fittings. (v) 40 mm | BI01010001010000000000000515BI0100001188 | 980 | metre | 9.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8869 | 8869 | INR Eight Thousand Eight Hundred & Sixty Nine Only | 8 | 9.05 | 7840
78 | Labour for dismantling G.I. pipe with fittings. (ix) 100 mm | BI01010001010000000000000515BI0100001189 | 679 | metre | 12.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8446.76 | 8446.76 | INR Eight Thousand Four Hundred & Forty Six and Paise Seventy Six Only | 11 | 12.44 | 7469
79 | Renewing brass spindle and valve of stop cock/bib cock/push cock/pillar (i) 15 mm | BI01010001010000000000000515BI0100001190 | 140 | Each | 83.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11719.4 | 11719.4 | INR Eleven Thousand Seven Hundred & Nineteen and Paise Forty Only | 74 | 83.71 | 10360
80 | Renewing brass spindle and valve of stop cock/bib cock/push cock/pillar (ii) 20 mm | BI01010001010000000000000515BI0100001191 | 220 | Each | 105.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23144 | 23144 | INR Twenty Three Thousand One Hundred & Forty Four Only | 93 | 105.2 | 20460
81 | Supplying, fitting and fixing CPVC (Chlorinated Polyvinyl Chloride) pipes of approved make conforming to IS-15778: 2007 . with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials (a) For Exposed Work (i) CPVC Pipes Class-1, SDR-11 15 mm | BI01010001010000000000000515BI0100001192 | 1190 | metre | 119.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 142692.9 | 142692.9 | INR One Lakh Forty Two Thousand Six Hundred & Ninety Two and Paise Ninety Only | 106 | 119.91 | 126140
82 | Supplying, fitting and fixing CPVC (Chlorinated Polyvinyl Chloride) pipes of approved make conforming to IS-15778: 2007 . with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials (a) For Exposed Work (i) CPVC Pipes Class-1, SDR-11 20 mm | BI01010001010000000000000515BI0100001193 | 950 | metre | 161.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 153672 | 153672 | INR One Lakh Fifty Three Thousand Six Hundred & Seventy Two Only | 143 | 161.76 | 135850
83 | Supplying, fitting and fixing CPVC (Chlorinated Polyvinyl Chloride) pipes of approved make conforming to IS-15778: 2007 . with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials (a) For Exposed Work (i) CPVC Pipes Class-1, SDR-11 25 mm | BI01010001010000000000000515BI0100001194 | 840 | metre | 235.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 197643.6 | 197643.6 | INR One Lakh Ninety Seven Thousand Six Hundred & Forty Three and Paise Sixty Only | 208 | 235.29 | 174720
84 | Supplying, fitting and fixing CPVC (Chlorinated Polyvinyl Chloride) pipes of approved make conforming to IS-15778: 2007 . with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials (a) For Exposed Work (i) CPVC Pipes Class-1, SDR-11 32 mm | BI01010001010000000000000515BI0100001195 | 580 | metre | 320.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 185675.4 | 185675.4 | INR One Lakh Eighty Five Thousand Six Hundred & Seventy Five and Paise Forty Only | 283 | 320.13 | 164140
85 | Supplying, fitting and fixing CPVC (Chlorinated Polyvinyl Chloride) pipes of approved make conforming to IS-15778: 2007 . with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials (a) For Exposed Work (i) CPVC Pipes Class-1, SDR-11 40 mm | BI01010001010000000000000515BI0100001196 | 970 | metre | 455.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 442193.9 | 442193.9 | INR Four Lakh Forty Two Thousand One Hundred & Ninety Three and Paise Ninety Only | 403 | 455.87 | 390910
86 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (A) (i) Single Socketed 3 Meter Length (b) 110 mm | BI01010001010000000000000515BI0100001197 | 1340 | metre | 330.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 442615.4 | 442615.4 | INR Four Lakh Forty Two Thousand Six Hundred & Fifteen and Paise Forty Only | 292 | 330.31 | 391280
87 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings (ii) Plain Tee (b) 110 mm | BI01010001010000000000000515BI0100001198 | 218 | Each | 96.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20960.7 | 20960.7 | INR Twenty Thousand Nine Hundred & Sixty and Paise Seventy Only | 85 | 96.15 | 18530
88 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings (iii) Door Tee (b) 110 mm | BI01010001010000000000000515BI0100001199 | 218 | Each | 220.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 48086.44 | 48086.44 | INR Forty Eight Thousand &Eighty Six and Paise Forty Four Only | 195 | 220.58 | 42510
89 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings v) Plain Y (b) 110 mm | BI01010001010000000000000515BI0100001200 | 263 | Each | 233.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61286.89 | 61286.89 | INR Sixty One Thousand Two Hundred & Eighty Six and Paise Eighty Nine Only | 206 | 233.03 | 54178
90 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings ix) Bend 45º (b) 110 mm | BI01010001010000000000000515BI0100001201 | 282 | Each | 100.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28391.76 | 28391.76 | INR Twenty Eight Thousand Three Hundred & Ninety One and Paise Seventy Six Only | 89 | 100.68 | 25098
91 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings x) Bend 87.5º (b) 110 mm | BI01010001010000000000000515BI0100001202 | 211 | Each | 135.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28641.14 | 28641.14 | INR Twenty Eight Thousand Six Hundred & Forty One and Paise Fourteen Only | 120 | 135.74 | 25320
92 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings xv) Vent Cowl (b) 110 mm | BI01010001010000000000000515BI0100001203 | 154 | Each | 37.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5748.82 | 5748.82 | INR Five Thousand Seven Hundred & Forty Eight and Paise Eighty Two Only | 33 | 37.33 | 5082
93 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings xvi) Pipe Clip (b) 110 mm | BI01010001010000000000000515BI0100001204 | 1700 | Each | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40392 | 40392 | INR Forty Thousand Three Hundred & Ninety Two Only | 21 | 23.76 | 35700
94 | Supplying, fitting and fixing stainless steel sink complete with waste fittings and two coats of painting of C.I. brackets. | BI01010001010000000000000515BI0100001205 | 85 | each | 3715.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 315859.15 | 315859.15 | INR Three Lakh Fifteen Thousand Eight Hundred & Fifty Nine and Paise Fifteen Only | 3285 | 3715.99 | 279225
95 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). (v) 40 mm dia | BI01010001010000000000000515BI0100001206 | 128 | Each | 1861.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 238330.88 | 238330.88 | INR Two Lakh Thirty Eight Thousand Three Hundred & Thirty and Paise Eighty Eight Only | 1646 | 1861.96 | 210688
96 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). (vi) 32 mm dia | BI01010001010000000000000515BI0100001207 | 118 | Each | 1423.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 167919.9 | 167919.9 | INR One Lakh Sixty Seven Thousand Nine Hundred & Nineteen and Paise Ninety Only | 1258 | 1423.05 | 148444
97 | Supplying, fitting and fixing bib cock or stop cock. (e) PTMT (Polytetra Bib Cock / Stop Cock ( Prayag or equivalent) 15 mm | BI01010001010000000000000515BI0100001208 | 187 | Each | 174.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32575.4 | 32575.4 | INR Thirty Two Thousand Five Hundred & Seventy Five and Paise Forty Only | 154 | 174.2 | 28798
98 | Electrical Works (Schedule Item) Supply & fixing 415V 200A capacity MS (16SWG) Busbar Chamber having dimension of (500x150mm) to be fixed on iron frame on wall consisting of 4 nos 2 mtr cupper bars of size (4x50x5mm). The same BBC should have a separate cubicle at one end consisting 3 nos 200A capacity porcelain cut out fuse unit & one nutral bar to receive the service cable including connecting the cut out fuse units with the BBC by S/F 4 x 35 sqmm PVC insulated copper wire duly socketed at both ends incl. earthing attachment & painting | BI01010001010000000000000515BI0100001209 | 9 | set | 8522.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 76702.14 | 76702.14 | INR Seventy Six Thousand Seven Hundred & Two and Paise Fourteen Only | 7534 | 8522.46 | 67806
99 | Supply & fixing of 1 nos of 240V 32A DP MCB (Legrand) in 2-way DP SS enclosure (Legrand) incl earthing attachment. | BI01010001010000000000000515BI0100001210 | 122 | set | 923.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 112613.32 | 112613.32 | INR One Lakh Twelve Thousand Six Hundred & Thirteen and Paise Thirty Two Only | 816 | 923.06 | 99552
100 | Supply & Fixing FP enclosure (Legrand) concealed in wall & mending good the damages to original finish incl. earthing attachment comprising with the following: a) 32 DP MCB Isolator (Legrand) - 1 nos b) 6-16 A SP MCB - 2 nos (Roof light & Stair light) | BI01010001010000000000000515BI0100001211 | 9 | set | 1151.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10364.04 | 10364.04 | INR Ten Thousand Three Hundred & Sixty Four and Paise Four Only | 1018 | 1151.56 | 9162
101 | Supply & fixing SPN MCB DB (2+8) WAY (Make legrand/ Seimens/ABB) with S.S. Enclosure(Legrand cat no - 607711) concealed in wall after cutting wall & mending good the damages & earthing attachment comprising with the following: a) 63A DP MCB isolator --- 1 no b) 6 to 32A SP MCB ---- 8nos | BI01010001010000000000000515BI0100001212 | 122 | set | 3910.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 477088.32 | 477088.32 | INR Four Lakh Seventy Seven Thousand &Eighty Eight and Paise Thirty Two Only | 3457 | 3910.56 | 421754
102 | Supply & drawing of 1.1 Kv grade single core stranded 'FR' Pvc insulated & unsheathed copper wire (brand appr by EIC) of the following sizes through 19 mm alkathene pipe recessed in wall. a) 2 x 4 + 1 x 2.5 sq mm (SPNDB) | BI01010001010000000000000515BI0100001213 | 3600 | mtr | 178.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 643428 | 643428 | INR Six Lakh Forty Three Thousand Four Hundred & Twenty Eight Only | 158 | 178.73 | 568800
103 | Supply & drawing of 1.1 Kv grade single core stranded 'FR' Pvc insulated & unsheathed copper wire (brand appr by EIC) of the following sizes through 19 mm alkathene pipe recessed in wall. b) 2 x 2.5 + 1x1.5 sq mm (P/P plug/Com Plug/ Out door light) | BI01010001010000000000000515BI0100001214 | 9150 | mtr | 144.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1324828.5 | 1324828.5 | INR Thirteen Lakh Twenty Four Thousand Eight Hundred & Twenty Eight and Paise Fifty Only | 128 | 144.79 | 1171200
104 | Supply & drawing of 1.1 Kv grade single core stranded 'FR' Pvc insulated & unsheathed copper wire (brand appr by EIC) of the following sizes through 19 mm alkathene pipe recessed in wall. a) 3x1.5 sqmm (roof light) | BI01010001010000000000000515BI0100001215 | 2000 | mtr | 125.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 251120 | 251120 | INR Two Lakh Fifty One Thousand One Hundred & Twenty Only | 111 | 125.56 | 222000
105 | Supply & fixing computer plug board modular type of 12 module GI box with cover plate recessed in wall comprising with the following (Legrand/Cabtree) ----- a) 6/16A socket & 16A switch --1 set b) 6A socket & 6A switch --2 sets | BI01010001010000000000000515BI0100001216 | 122 | set | 1366.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 166711.78 | 166711.78 | INR One Lakh Sixty Six Thousand Seven Hundred & Eleven and Paise Seventy Eight Only | 1208 | 1366.49 | 147376
106 | Supply & Fixing 240 V, 16 A, 3 pin Modular type Power plug socket (Cabtree) with 16A Modular type socket (Cabtree) with 16A Modular type switch, without plug top on 4 Module GI Modular type switch board with top cover plate flushed in wall incl. S&F switch board and cover plate and making necy. connections | BI01010001010000000000000515BI0100001217 | 244 | each | 515.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 125862.52 | 125862.52 | INR One Lakh Twenty Five Thousand Eight Hundred & Sixty Two and Paise Fifty Two Only | 456 | 515.83 | 111264
107 | Distn. wiring in 3 x 1.5 sqmm single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire Gloster/Finolex/ Havells) in 19 mm bore, 3 mm thick polythene pipe (for horizontal & vertical run in wall and celing portion through polythen pipe) complete with all accessories embedded in wall to light/fan/call bell points with Modular type switch (Legrand/Crabtree) fixed on Modular GI switch board with top cover plate flushed in wall incl. mending good damages to original finish ----- a) Ave run 6 mtr | BI01010001010000000000000515BI0100001218 | 1464 | pts | 1010.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1478874.24 | 1478874.24 | INR Fourteen Lakh Seventy Eight Thousand Eight Hundred & Seventy Four and Paise Twenty Four Only | 893 | 1010.16 | 1307352
108 | Distn. wiring in 3 x 1.5 sqmm single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Glostr/Finolex/Havells) in 19 mm bore, 3 mm thick polythene pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Cabtree) incl. S&F earth continuity wire, fixed on 4 Module GI switch board with 3/4 Module top cover plate flushed in wall incl.mending good damages (on board) | BI01010001010000000000000515BI0100001219 | 610 | pts | 281.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 171818.7 | 171818.7 | INR One Lakh Seventy One Thousand Eight Hundred & Eighteen and Paise Seventy Only | 249 | 281.67 | 151890
109 | Distn. wiring in 3 x 1.5 sqmm single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Glostr/Finolex/Havells) in 19 mm bore, 3 mm thick polythene pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Cabtree) incl. S&F earth continuity wire, fixed on 4 Module GI switch board with 3/4 Module top cover plate flushed in wall incl.mending good damages average 4.5 mtr | BI01010001010000000000000515BI0100001220 | 366 | pts | 1061.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 388351.62 | 388351.62 | INR Three Lakh Eighty Eight Thousand Three Hundred & Fifty One and Paise Sixty Two Only | 938 | 1061.07 | 343308
110 | Supplying & Fixing 240 V AC/DC superior type Multitune (min 10 nos. tune) Call Bell (Anchor) with selector switch for single/Multi Tunes mode, Battery operated on HW board incl. S&F HW board | BI01010001010000000000000515BI0100001221 | 122 | each | 332.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40573.54 | 40573.54 | INR Forty Thousand Five Hundred & Seventy Three and Paise Fifty Four Only | 294 | 332.57 | 35868
111 | Fixing only single /twin fluorescent light fitting complete with all accessories directly on wall / ceiling / HW round block and suitable size of MS fastener | BI01010001010000000000000515BI0100001222 | 20 | each | 113.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2262.4 | 2262.4 | INR Two Thousand Two Hundred & Sixty Two and Paise Forty Only | 100 | 113.12 | 2000
112 | Supply & fixing socket type electronics Modular socket type fan regulator (Legrand/Crabtree) including connection. | BI01010001010000000000000515BI0100001223 | 366 | set | 437.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 160223.82 | 160223.82 | INR One Lakh Sixty Thousand Two Hundred & Twenty Three and Paise Eighty Two Only | 387 | 437.77 | 141642
113 | Earthing the installation by 50mm dia GI pipe (ISI-M) 3.64 mtr long & 1x4 SWG GI (Hot dip) wire (4mtr long) with suitable nuts, bolts & washers etc. Driven into a depth of 3.65 mtr below the ground level. | BI01010001010000000000000515BI0100001224 | 18 | set | 1548.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27874.98 | 27874.98 | INR Twenty Seven Thousand Eight Hundred & Seventy Four and Paise Ninety Eight Only | 1369 | 1548.61 | 24642
114 | S & F earth busbar of galvanized (Hot Dip) MS flat 25mm x 6 mm on wall having clearance of 6 mm from wall including providing drilled holes on the busbar complete with GI bolts, nuts, washers, spacing insulators etc. as required | BI01010001010000000000000515BI0100001225 | 3.6 | mtr | 176.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 635.29 | 635.29 | INR Six Hundred & Thirty Five and Paise Twenty Nine Only | 156 | 176.47 | 561.6
115 | Electrical Works (Non-Schedule Item) Connecting & dressing Meter looping system with 2 x 6 + 1 x 4 sq mm PVC insulated copper wire duly layed on the Ply board by link clip from Bus Bar to Meters & Meters to DP MCBs | BI01010001010000000000000515BI0100001226 | 1152 | mtr | 169.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 195471.36 | 195471.36 | INR One Lakh Ninety Five Thousand Four Hundred & Seventy One and Paise Thirty Six Only | 168 | 169.68 | 193536
116 | Supply & fixing Meter guard of dimention (6' x 4' x 12" depth) fabricated by angle/flat box type structural frame welded & covered with 12 SWG wire mess all over except the back side. The front side should be provided with two (2) pair of hinged doors with mechanical locking arrangement including painting with Aluminium paint. The wire mess guard should have sufficient bifurcated legs for rigidly grouting it on wall incl. earthing attachment as per direction of E.I.C. | BI01010001010000000000000515BI0100001227 | 360 | sq ft | 161.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 58176 | 58176 | INR Fifty Eight Thousand One Hundred & Seventy Six Only | 160 | 161.6 | 57600
117 | Supply & fixing 3/4" thick water & vermin proof super quality ply wood of size (8' ft x 4' ft) to be fixed on wall with suitable long screws fastener etc after painting the rear side with black japan paint. | BI01010001010000000000000515BI0100001228 | 9 | set | 2614.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23534.01 | 23534.01 | INR Twenty Three Thousand Five Hundred & Thirty Four and Paise One Only | 2589 | 2614.89 | 23301
118 | Supply 4' single LED tube light fitting complete with all acessaries directly on ceiling with HW round block & suitable size of MS fastener (Crompton, cat no - DIJB12LT8 - 20 , LLT8-20) (For stair case only) | BI01010001010000000000000515BI0100001229 | 80 | set | 831.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 66498.4 | 66498.4 | INR Sixty Six Thousand Four Hundred & Ninety Eight and Paise Forty Only | 823 | 831.23 | 65840
Total in Figures | [51 empty] | 19818296.05 | 19818296.05 | INR One Crore Ninety Eight Lakh Eighteen Thousand Two Hundred & Ninety Six and Paise Five Only |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information