## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Additional Chief Engineer, W.B.P.H&.I.D.Corpn. Ltd.
Name of Work: Repair, Renovation and Upgradation of two nos. Single storied Officers Quarter and Single Storied L.S. Quarter at Basanti P.S. in Baruipur Police District under the District of South 24 Parganas.
Contract No: WBPHIDCL/Addl.CE/NIT- 136(e)/2019-2020 (1st Call) Sl. No. 4
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil works | BI01010001010000000000000515BI0100001112 | [54 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Stripping off worn out plaster and raking out joints of walls, celings etc. upto any height and in any floor including removing rubbish within a lead of 75m as directed. | BI01010001010000000000000515BI0100001113 | 545.265 | Cum. | 21.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11717.74 | 11717.74 | INR Eleven Thousand Seven Hundred & Seventeen and Paise Seventy Four Only | 24.31 | 24.31 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Dismantling R.C. floor, roof, beams etc. including cutting rods and removing rubbish as directed within a lead of 75 m. including stacking of steel bars. (a) In ground floor including roof. ground floor | BI01010001010000000000000515BI0100001114 | 0.3 | Cum. | 2212.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 663.79 | 663.79 | INR Six Hundred & Sixty Three and Paise Seventy Nine Only | 2502.93 | 2502.93 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Dismantling all types of plain cement concrete works, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. In ground floor including roof. (a) upto 150 mm. thick ground floor | BI01010001010000000000000515BI0100001115 | 5 | Cum. | 1062.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5311 | 5311 | INR Five Thousand Three Hundred & Eleven Only | 1201.56 | 1201.56 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Dismantling all types of masonry excepting cement concrete plain or reinforced, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. a) In ground floor including roof. ground floor | BI01010001010000000000000515BI0100001116 | 0.5 | Cum. | 505.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 252.83 | 252.83 | INR Two Hundred & Fifty Two and Paise Eighty Three Only | 571.99 | 571.99 | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6 | Removalof rubbish,earth etc.from the working site and disposal of thesame beyond the compound, inconformity with the Municipal/Corporation Rules for such disposal,loading in to truckand cleaning the site in all respect as per direction of Engineer in charge | BI01010001010000000000000515BI0100001117 | 4 | CuM. | 187.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 751.12 | 751.12 | INR Seven Hundred & Fifty One and Paise Twelve Only | 212.42 | 212.42 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | (A) Filling in foundation or plinth by silver sand in layers not exceeding 150 mm as directed and consolidating the same by thorough saturation with water, ramming complete including the cost of supply of sand. (payment to be made on measurement of finished quantity) | BI01010001010000000000000515BI0100001118 | 6.218 | CuM. | 1059.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6585.11 | 6585.11 | INR Six Thousand Five Hundred & Eighty Five and Paise Eleven Only | 1197.99 | 1197.99 | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | (I) Cement concrete with graded stone ballast (40 mm size excluding shuttering) In ground floor (A)With Pakur Variety 1:3:6 | BI01010001010000000000000515BI0100001119 | 5 | Cum. | 6081.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30406.65 | 30406.65 | INR Thirty Thousand Four Hundred & Six and Paise Sixty Five Only | 6879.2 | 6879.2 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | Ordinary Cement concrete (mix 1:1.5:3) with graded stone chips (20 mm nominal size) excluding shuttering and reinforcement if any, in ground floor as per relevant IS codes. ground floor | BI01010001010000000000000515BI0100001120 | 4 | Cum. | 7238.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28954.2 | 28954.2 | INR Twenty Eight Thousand Nine Hundred & Fifty Four and Paise Twenty Only | 8188.25 | 8188.25 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | 6 (b) Controlled Cement concrete with well graded stone chips (20 mm nominal size) excluding shuttering and reinforcement with complete design of concrete as per IS : 456 and relevant special publications, submission of job mix formula after preliminary mix design after testing of concrete cubes as per direction of Engineer-in charge. Consumption of cement will not be less than 300 Kg of cement with Super plasticiser per cubic meter of controlled concrete but actual consumption will be determined on the basis of preliminary test and job mix foumula. In ground floor and foundation.[using concrete mixture] (b) M 25 Grade (i) Pakur Variety GROUND FLOOR | BI01010001010000000000000515BI0100001121 | 0.75 | Cum. | 7823.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5867.54 | 5867.54 | INR Five Thousand Eight Hundred & Sixty Seven and Paise Fifty Four Only | 8849.81 | 8849.81 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Reinforcement for reinforced concrete work in all sorts structure including distribution bars, stirrups, binders etc. including of rods initial straightening and removal of loose rust (if necessary), cutting to requisite length , hooking and bending with 16 gauge black annealed wire at every inter section, complete as per drawing and direction. (a) For works in foundation, basement and upto roof of ground floor / upto 4 m (i) Tor Steel / Mild Steel ( I ) SAIL / TATA / RINL GROUND FLOOR | BI01010001010000000000000515BI0100001122 | 0.4 | MT. | 80785.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32314.31 | 32314.31 | INR Thirty Two Thousand Three Hundred & Fourteen and Paise Thirty One Only | 91384.87 | 91384.87 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Hire and labour charges for shuttering with centreing and necessary staging up to 4m using approved stout props thick hard wood planks of approved thickness with required bracing for concrete slabs, beams, columns, linteles curved or straight including fitting, fixing and striking out after complition of works upto roof og GF a) 25mm to 30mm thick wooden shuttering as per decision and direction of E.I.C Ground Floor | BI01010001010000000000000515BI0100001123 | 30 | Sqm | 378.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11368.5 | 11368.5 | INR Eleven Thousand Three Hundred & Sixty Eight and Paise Fifty Only | 428.67 | 428.67
13 | Brick work with 1st class bricks in cement mortar (1:6) in (a) In foundation and plinth | BI01010001010000000000000515BI0100001124 | 1 | CuM. | 6123.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6123.19 | 6123.19 | INR Six Thousand One Hundred & Twenty Three and Paise Nineteen Only | 6926.55 | 6926.55
14 | 125 mm. thick brick work with 1st class bricks in cement mortar (1:4)in Ground floor | BI01010001010000000000000515BI0100001125 | 18 | SqM | 832.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14986.08 | 14986.08 | INR Fourteen Thousand Nine Hundred & Eighty Six and Paise Eight Only | 941.79 | 941.79
15 | Labour for Chipping of concrete surface before taking up Plastering work. | BI01010001010000000000000515BI0100001126 | 70 | SqM | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1663.2 | 1663.2 | INR One Thousand Six Hundred & Sixty Three and Paise Twenty Only | 26.88 | 26.88
16 | Artificial stone in floor, dado, staircase etc with cement concrete (1:2:4) with stone chips, laid in panels as directed with topping made with ordinary or white cement (as necessary) and marble dust in proportion (1:2) including smooth finishing and rounding off corners including raking out joints or roughening of concrete surface and application of cement slurry before flooring works using cement @ 1.75 kg/sq.m all complete including all materials and labour. 3 mm. thick topping (High polishing grinding on this item is not permitted with ordinary cement). Using grey cement (iii) 35 mm. thick Ground floor | BI01010001010000000000000515BI0100001127 | 100 | Sqm | 381.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38121 | 38121 | INR Thirty Eight Thousand One Hundred & Twenty One Only | 431.22 | 431.22
17 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] (ii)/c/ With 1:4 cement mortar ,c) 10 mm thick plaster. Ceiling Plaster Ground floor | BI01010001010000000000000515BI0100001128 | 140 | SqM | 150.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21063 | 21063 | INR Twenty One Thousand &Sixty Three Only | 170.19 | 170.19
18 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] i)With 6:1 cement mortar b) 20mm thick plaster OUTSIDE Ground floor | BI01010001010000000000000515BI0100001129 | 175 | SqM | 197.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34643 | 34643 | INR Thirty Four Thousand Six Hundred & Forty Three Only | 223.93 | 223.93
19 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] i)With 6:1 cement mortar c) 15mm thick plaster INSIDE Ground floor | BI01010001010000000000000515BI0100001130 | 230 | SqM | 170.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39286.3 | 39286.3 | INR Thirty Nine Thousand Two Hundred & Eighty Six and Paise Thirty Only | 193.22 | 193.22
20 | Net Cement Punning above 1.5mm thick in Wall dado,Window Sill Floor and Drain etc Note Cement 0.152 cum 100 Sqmts Ground floor | BI01010001010000000000000515BI0100001131 | 32 | Sqm. | 38.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1230.72 | 1230.72 | INR One Thousand Two Hundred & Thirty and Paise Seventy Two Only | 43.51 | 43.51
21 | Removing old paint from blistered painted surface of steel or other metal by chipping including scraping and cleaning and exposing the original surface | BI01010001010000000000000515BI0100001132 | 30 | Sqm. | 53.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1595.1 | 1595.1 | INR One Thousand Five Hundred & Ninety Five and Paise Ten Only | 60.15 | 60.15
22 | Priming one coat on steel or other metal surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc | BI01010001010000000000000515BI0100001133 | 30 | Sqm. | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 984 | 984 | INR Nine Hundred & Eighty Four Only | 37.1 | 37.1
23 | Priming one coat on timber or plastered surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. | BI01010001010000000000000515BI0100001134 | 65 | Sqm. | 42.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2794.35 | 2794.35 | INR Two Thousand Seven Hundred & Ninety Four and Paise Thirty Five Only | 48.63 | 48.63
24 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary : On timber or plastered surface. With super gloss (hi-gloss) - Two coats (with any shade except white) | BI01010001010000000000000515BI0100001135 | 30 | Sqm. | 91.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2748.9 | 2748.9 | INR Two Thousand Seven Hundred & Forty Eight and Paise Ninety Only | 103.65 | 103.65
25 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary : On steel or other metal surface. With super gloss (hi-gloss) - Two coats (with any shade except white) | BI01010001010000000000000515BI0100001136 | 65 | Sqm. | 89.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5808.4 | 5808.4 | INR Five Thousand Eight Hundred & Eight and Paise Forty Only | 101.08 | 101.08
26 | Applying Interior grade Acrylic Primer of approved quality and brand on plastered or cencrete surface old or new surface to receive Distemper/ Acrylic emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC. (In Ground Floor)i) Water based interior grade Acrylic Primer(a) One Coat All floor | BI01010001010000000000000515BI0100001137 | 700 | Sq.M | 34.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24388 | 24388 | INR Twenty Four Thousand Three Hundred & Eighty Eight Only | 39.41 | 39.41
27 | Applying Exterior grade Acrylic primer of approved quality and brand on plastered or cencrete surface old or new surface to receive decorative textured (matt finish) or smooth finish acrylic exterior emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC. (a) One Coat Ground floor | BI01010001010000000000000515BI0100001138 | 650 | Sq.M | 35.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23088 | 23088 | INR Twenty Three Thousand &Eighty Eight Only | 40.18 | 40.18
28 | Acrylic Distemper to interior wall, ceiling with a coat of solvent based interior grade acrylic primer (as per manufacturer's specification) including cleaning and smoothning of surface. Two Coats All floor | BI01010001010000000000000515BI0100001139 | 700 | Sq.M | 79.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55426 | 55426 | INR Fifty Five Thousand Four Hundred & Twenty Six Only | 89.57 | 89.57
29 | Protective and Decorative Acrylic exterior emulsion paint of approved quality, as per manufacturer's specification and as per direction of Engineer-in-Charge to be applied over acrylic primer as required. The rate includes cost of material, labour, scaffolding and all incidental charges but excluding the cost of primer. a) Normal Acrylic Emulsion In Ground floor (Two Coat) | BI01010001010000000000000515BI0100001140 | 650 | Sq.M | 75.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49263.5 | 49263.5 | INR Forty Nine Thousand Two Hundred & Sixty Three and Paise Fifty Only | 85.73 | 85.73
30 | Scraping of moss, blisters etc.thoroughly from exterior surface of walls necessitating the use of scraper, wire brush etc.(Payment against this item will be made only when this has been done on the specific direction of the Engineer-in-charge) All floor | BI01010001010000000000000515BI0100001141 | 650 | Sq.M | 7.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5148 | 5148 | INR Five Thousand One Hundred & Forty Eight Only | 8.96 | 8.96
31 | Scraping and removing greasy soot from walls or ceiling of kitchen or similar smoke affected rooms and preparing the surface. All floor | BI01010001010000000000000515BI0100001142 | 140 | Sq.M | 12.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1741.6 | 1741.6 | INR One Thousand Seven Hundred & Forty One and Paise Sixty Only | 14.07 | 14.07
32 | Labour for taking out door and window frame including shutter for repair or replacement of different parts of the frame & refixing the same including mending good all damages complete. (Concrete and brick work for mending damage will be paid separately) upto 2.5 sqm. | BI01010001010000000000000515BI0100001143 | 8 | SqM | 134.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1076.88 | 1076.88 | INR One Thousand &Seventy Six and Paise Eighty Eight Only | 152.27 | 152.27
33 | a) M.S.or W.I. Ornamental grill of approved design joints continuously welded with M.S,W.I. Flats and bars of windows, railing etc. fitted and fixed with necessary screws and lugs in ground floor.(i) Grill weighing above 10 Kg./sq. Mtr upto 16kg/sq.mtr.GROUND FLOOR | BI01010001010000000000000515BI0100001144 | 0.5 | Qntl | 11185.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5592.66 | 5592.66 | INR Five Thousand Five Hundred & Ninety Two and Paise Sixty Six Only | 12652.82 | 12652.82
34 | Wood work in door and window frame fitted and fixed in position complete including a protective coat of painting at the contact surface of the frame exluding cost of concrete, Iron Butt Hinges and M.S clamps. (The quantum should be correted upto three decimals). (e) Sal : Malayasian | BI01010001010000000000000515BI0100001145 | 0.18 | Cum. | 94136.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16944.52 | 16944.52 | INR Sixteen Thousand Nine Hundred & Forty Four and Paise Fifty Two Only | 106486.87 | 106486.87
35 | Supplying solid flush type doors of commercial quality, the timber frame consisting of top and bottom rails and side styles of well seasoned timber 65mm wide each and the entire frame fitted with 37.5mm wide battens places both ways in order to make the door of solid core and internal lipping with Garjan or similar wood veneers using phenol formaldehyde as glue etc. complete, including fitting, fixing shutters in position but excluding the cost of hinges and other fittings in ground floor. (b) 32 mm thick shutters (single leaf) | BI01010001010000000000000515BI0100001146 | 5.7 | SqM | 2668.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15210.45 | 15210.45 | INR Fifteen Thousand Two Hundred & Ten and Paise Forty Five Only | 3018.61 | 3018.61
36 | Panel shutters of door and window, as per design (each panel consisting of single plank without joint), including fitting and fixing the same in position but excluding the cost of hinge and other fittings. (In case of non-supply of single plank, penal rate of reduction of 20% will be made)(iii) 35mm thick shutters with 19mm thick panel of size 30 to 45 cm.(a) Ordinary Teak Wood. Ground Floor | BI01010001010000000000000515BI0100001147 | 4 | SqM | 4773.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19094.64 | 19094.64 | INR Nineteen Thousand &Ninety Four and Paise Sixty Four Only | 5399.96 | 5399.96
37 | Supplying fitting and fixing fibre reinforced polymer (FRP) Composite door frame as per approved section with glass fibre reinforced plastic moulded skins and a special sandwich core so as to import monolitaheic composite structure as per approved technology of Departmant of Science (DST) to satisfy IS : 4020 door testing performance . (ii) 66mm x 70mm | BI01010001010000000000000515BI0100001148 | 25 | Rm | 504.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12613 | 12613 | INR Twelve Thousand Six Hundred & Thirteen Only | 570.71 | 570.71
38 | Supplying, fitting & fixing fibre reinforced polymer (FRP) Composite door shutters as per approved design with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to satisfy IS:4020 door testing performance criteria.(ii) 25 mm thick | BI01010001010000000000000515BI0100001149 | 8 | SqM | 2919.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23357.04 | 23357.04 | INR Twenty Three Thousand Three Hundred & Fifty Seven and Paise Four Only | 3302.69 | 3302.69
39 | Anodised aliminium D-type handle of approved quality manufactured from extruded section conforming to I.S. specification (I.S. 230/72) fitted and fixed complete:(a) With continuous plate base (Hexagonal / Round rod) (v) 125 mm grip x 12 mm dia rod. | BI01010001010000000000000515BI0100001150 | 11 | Each | 116.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1281.61 | 1281.61 | INR One Thousand Two Hundred & Eighty One and Paise Sixty One Only | 131.8 | 131.8
40 | (v) Two point nose aluminium handle including fitting and fixing. | BI01010001010000000000000515BI0100001151 | 25 | Each | 66.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1668.5 | 1668.5 | INR One Thousand Six Hundred & Sixty Eight and Paise Fifty Only | 75.5 | 75.5
41 | Supplying, fitting and fixing M.S. clamps for door and window frame made of flat bent bar, end bifurcated with necessary screws etc. by cement concrete(1:2:4) as per direction. (Cost of concrete will be paid separately). (a) 40mm X 6mm, 250mm Length | BI01010001010000000000000515BI0100001152 | 86 | Each | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2820.8 | 2820.8 | INR Two Thousand Eight Hundred & Twenty and Paise Eighty Only | 37.1 | 37.1
42 | Iron butt hinges of approved quality fitted and fixed with steel screws, with ISI mark 100mm X 50mm X 1.25mm | BI01010001010000000000000515BI0100001153 | 83 | Each | 48.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4037.12 | 4037.12 | INR Four Thousand &Thirty Seven and Paise Twelve Only | 55.02 | 55.02
43 | i) Iron hasp bolt of approved quality fitted and fixed complete (oxidised) with 16mm dia rod with centre bolt and round fitting.250mm long | BI01010001010000000000000515BI0100001154 | 6 | Each | 179.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1079.16 | 1079.16 | INR One Thousand &Seventy Nine and Paise Sixteen Only | 203.46 | 203.46
44 | Anodised aluminium barrel / tower /socket bolt (full covered) of approved manufractured from extructed section conforming to I.S. 204/74 fitted with cadmium plated screws. (iii) 100mm long x 10mm dia. bolt. | BI01010001010000000000000515BI0100001155 | 27 | Each | 59.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1618.65 | 1618.65 | INR One Thousand Six Hundred & Eighteen and Paise Sixty Five Only | 67.82 | 67.82
45 | Anodised aluminium barrel / tower /socket bolt (full covered) of approved manufractured from extructed section conforming to I.S. 204/74 fitted with cadmium plated screws. (vi) 200mm long x 10mm dia. bolt. | BI01010001010000000000000515BI0100001156 | 12 | Each | 88.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1058.76 | 1058.76 | INR One Thousand &Fifty Eight and Paise Seventy Six Only | 99.81 | 99.81 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
46 | Taking out old damaged tarfelt from the roof, parapet etc. preparing the roof surfaces by removing all spoils, blisters, moss etc. from the working site and disposal of the same beyond the compound and cleaning the site in all respect as per direction of Engineer-in-Charge. All Floors | BI01010001010000000000000515BI0100001157 | 100 | sq.m. | 13.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1357 | 1357 | INR One Thousand Three Hundred & Fifty Seven Only | 15.35 | 15.35 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
47 | (b) Applying 2 coats of Non-Toxic Acrylic Polymer modified Paint having adhesive & waterproofing properties by mixing in proportion (1 liquid: 4 cementitious material) or as per manufacturer's specification for water proofing layer in water tank etc. (No Departmental Cement is required) | BI01010001010000000000000515BI0100001158 | 150 | sq.m. | 291.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43777.5 | 43777.5 | INR Forty Three Thousand Seven Hundred & Seventy Seven and Paise Fifty Only | 330.14 | 330.14 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
48 | Cement concrete (1:1.5:3) with graded stone chips 5.6 mm size with hexagonal square mesh wire netting, I.R.C. fabric mesh or X.P. M. fitted and fixed after tying the existing reinforcement on concrete without distributing the same and with proper scarping and cleaning the reinforcement and disturbed concrete with wire brush etc. after applying a coat of cement including the cost of wire netting I.R.C or X. P. M. & cost of all handling and scaffolding complete as per direction of Engineer-in -charge. b) 25 mm thick | BI01010001010000000000000515BI0100001159 | 25 | sq.m. | 590.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14762.25 | 14762.25 | INR Fourteen Thousand Seven Hundred & Sixty Two and Paise Twenty Five Only | 667.96 | 667.96 | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
49 | Cleaning the exposed reinforcement preferably upto full diameter by wire brush, applying two coats of polymer based rust removing compound left for 24 hours, removing the coating and then applying two (2) coats of polymer modified anti corrosive protective coating formulated to inhibit the corrosion of reinforcement as per manufacturer's specification] [Mode of measurement:The affected surface area of reinforcement shall be considered for payment] | BI01010001010000000000000515BI0100001160 | 25 | sq.m. | 884.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22115 | 22115 | INR Twenty Two Thousand One Hundred & Fifteen Only | 1000.66 | 1000.66 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
50 | Applying epoxy based reactive joining agent for joining the old concrete with fresh concrete to be applied within manufacturer's specified time as per manufacturers specification. (0.4 Kg / m² of concrete surface). | BI01010001010000000000000515BI0100001161 | 25 | sq.m. | 349.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8738.5 | 8738.5 | INR Eight Thousand Seven Hundred & Thirty Eight and Paise Fifty Only | 395.4 | 395.4 | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
51 | White washing including cleaning and smoothening surface thoroughly.(b) Two coats (to be done on specific instruction). | BI01010001010000000000000515BI0100001162 | 400 | Sq.M | 20.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8208 | 8208 | INR Eight Thousand Two Hundred & Eight Only | 23.21 | 23.21 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
52 | SANITARY & PLUMBING WORKS Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (i) Single Socketed 3 Mtr. Length (a) 75 mm | BI01010001010000000000000515BI0100001163 | 2 | Mtr. | 221.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 443.44 | 443.44 | INR Four Hundred & Forty Three and Paise Forty Four Only | 250.81 | 250.81 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
53 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (i) Single Socketed 3 Mtr. Length b) 110 mm | BI01010001010000000000000515BI0100001164 | 25 | Mtr. | 330.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8257.75 | 8257.75 | INR Eight Thousand Two Hundred & Fifty Seven and Paise Seventy Five Only | 373.65 | 373.65 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
54 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (i) Single Socketed 3 Mtr. Length c) 160 mm | BI01010001010000000000000515BI0100001165 | 8 | Mtr. | 617.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4941.12 | 4941.12 | INR Four Thousand Nine Hundred & Forty One and Paise Twelve Only | 698.67 | 698.67 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
55 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings (i) Coupler (a) 75 mm | BI01010001010000000000000515BI0100001166 | 3 | Each | 52.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 156.12 | 156.12 | INR One Hundred & Fifty Six and Paise Twelve Only | 58.87 | 58.87
56 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings (i) Coupler b) 110 mm | BI01010001010000000000000515BI0100001167 | 3 | Each | 96.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 288.45 | 288.45 | INR Two Hundred & Eighty Eight and Paise Forty Five Only | 108.76 | 108.76
57 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings (i) Coupler c) 160 mm | BI01010001010000000000000515BI0100001168 | 3 | Each | 295.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 885.72 | 885.72 | INR Eight Hundred & Eighty Five and Paise Seventy Two Only | 333.98 | 333.98
58 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings (ii) Plain Tee (a) 75 mm | BI01010001010000000000000515BI0100001169 | 3 | Each | 52.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 156.12 | 156.12 | INR One Hundred & Fifty Six and Paise Twelve Only | 58.87 | 58.87
59 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings (ii) Plain Tee b) 110 mm | BI01010001010000000000000515BI0100001170 | 3 | Each | 96.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 288.45 | 288.45 | INR Two Hundred & Eighty Eight and Paise Forty Five Only | 108.76 | 108.76
60 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings (ii) Plain Tee c) 160 mm | BI01010001010000000000000515BI0100001171 | 3 | Each | 296.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 889.11 | 889.11 | INR Eight Hundred & Eighty Nine and Paise Eleven Only | 335.25 | 335.25
61 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings (iii) Door Tee (a) 75 mm | BI01010001010000000000000515BI0100001172 | 3 | Each | 114.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 342.75 | 342.75 | INR Three Hundred & Forty Two and Paise Seventy Five Only | 129.24 | 129.24
62 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings (iii) Door Tee b) 110 mm | BI01010001010000000000000515BI0100001173 | 3 | Each | 220.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 661.74 | 661.74 | INR Six Hundred & Sixty One and Paise Seventy Four Only | 249.52 | 249.52
63 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings (iii) Door Tee c) 160 mm | BI01010001010000000000000515BI0100001174 | 3 | Each | 581.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1744.32 | 1744.32 | INR One Thousand Seven Hundred & Forty Four and Paise Thirty Two Only | 657.72 | 657.72
64 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings iv) Door Tee(LH) & (RH) (a) 75 mm | BI01010001010000000000000515BI0100001175 | 3 | Each | 201.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 604.05 | 604.05 | INR Six Hundred & Four and Paise Five Only | 227.77 | 227.77
65 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings iv) Door Tee(LH) & (RH) b) 110 mm | BI01010001010000000000000515BI0100001176 | 3 | Each | 352.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1058.79 | 1058.79 | INR One Thousand &Fifty Eight and Paise Seventy Nine Only | 399.23 | 399.23
66 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings v) Plain Y (a) 75 mm | BI01010001010000000000000515BI0100001177 | 3 | Each | 115.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 346.14 | 346.14 | INR Three Hundred & Forty Six and Paise Fourteen Only | 130.52 | 130.52
67 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings v) Plain Y b) 110 mm | BI01010001010000000000000515BI0100001178 | 3 | Each | 233.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 699.09 | 699.09 | INR Six Hundred & Ninety Nine and Paise Nine Only | 263.6 | 263.6
68 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings v) Plain Y c) 160 mm | BI01010001010000000000000515BI0100001179 | 3 | Each | 659.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1978.47 | 1978.47 | INR One Thousand Nine Hundred & Seventy Eight and Paise Forty Seven Only | 746.02 | 746.02
69 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings x) Bend 87.5º (a) 75 mm | BI01010001010000000000000515BI0100001180 | 5 | Each | 69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 345 | 345 | INR Three Hundred & Forty Five Only | 78.05 | 78.05
70 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings x) Bend 87.5º b) 110 mm | BI01010001010000000000000515BI0100001181 | 5 | Each | 135.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 678.7 | 678.7 | INR Six Hundred & Seventy Eight and Paise Seventy Only | 153.55 | 153.55
71 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings x) Bend 87.5º c) 160 mm | BI01010001010000000000000515BI0100001182 | 5 | Each | 382.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1911.75 | 1911.75 | INR One Thousand Nine Hundred & Eleven and Paise Seventy Five Only | 432.51 | 432.51
72 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings xi) Door Bend (T.S.) (a) 75 mm | BI01010001010000000000000515BI0100001183 | 3 | Each | 93.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 281.67 | 281.67 | INR Two Hundred & Eighty One and Paise Sixty Seven Only | 106.21 | 106.21
73 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings xi) Door Bend (T.S.) b) 110 mm | BI01010001010000000000000515BI0100001184 | 3 | Each | 166.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 498.87 | 498.87 | INR Four Hundred & Ninety Eight and Paise Eighty Seven Only | 188.11 | 188.11
74 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings xi) Door Bend (T.S.) c) 160 mm | BI01010001010000000000000515BI0100001185 | 3 | Each | 417.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1252.23 | 1252.23 | INR One Thousand Two Hundred & Fifty Two and Paise Twenty Three Only | 472.17 | 472.17
75 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings xiv) Cross Tee with Door (a) 75 mm | BI01010001010000000000000515BI0100001186 | 3 | Each | 244.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 733.02 | 733.02 | INR Seven Hundred & Thirty Three and Paise Two Only | 276.4 | 276.4
76 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings xiv) Cross Tee with Door b) 110 mm | BI01010001010000000000000515BI0100001187 | 3 | Each | 270.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 811.08 | 811.08 | INR Eight Hundred & Eleven and Paise Eight Only | 305.83 | 305.83
77 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings xv) Vent Cowl (a) 75 mm | BI01010001010000000000000515BI0100001188 | 5 | Each | 28.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 141.4 | 141.4 | INR One Hundred & Forty One and Paise Forty Only | 31.99 | 31.99
78 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings xv) Vent Cowl b) 110 mm | BI01010001010000000000000515BI0100001189 | 5 | Each | 37.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 186.65 | 186.65 | INR One Hundred & Eighty Six and Paise Sixty Five Only | 42.23 | 42.23
79 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings xv) Vent Cowl c) 160 mm | BI01010001010000000000000515BI0100001190 | 5 | Each | 64.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 322.4 | 322.4 | INR Three Hundred & Twenty Two and Paise Forty Only | 72.94 | 72.94
80 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings xvi) Pipe Clip (a) 75 mm | BI01010001010000000000000515BI0100001191 | 1 | Each | 18.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18.1 | 18.1 | INR Eighteen and Paise Ten Only | 20.47 | 20.47
81 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings xvi) Pipe Clip b) 110 mm | BI01010001010000000000000515BI0100001192 | 8 | Each | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 190.08 | 190.08 | INR One Hundred & Ninety and Paise Eight Only | 26.88 | 26.88
82 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings xvi) Pipe Clip c) 160 mm | BI01010001010000000000000515BI0100001193 | 1 | Each | 48.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 48.64 | 48.64 | INR Forty Eight and Paise Sixty Four Only | 55.02 | 55.02
83 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings xIv) Round Jali 75 mm | BI01010001010000000000000515BI0100001194 | 6 | Each | 27.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 162.9 | 162.9 | INR One Hundred & Sixty Two and Paise Ninety Only | 30.71 | 30.71
84 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings xIvi) Door Cap (a) 75 mm | BI01010001010000000000000515BI0100001195 | 5 | Each | 41.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 209.25 | 209.25 | INR Two Hundred & Nine and Paise Twenty Five Only | 47.34 | 47.34
85 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (B) Fittings xIvi) Door Cap b) 110 mm | BI01010001010000000000000515BI0100001196 | 5 | Each | 57.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 288.45 | 288.45 | INR Two Hundred & Eighty Eight and Paise Forty Five Only | 65.26 | 65.26
86 | Labour for fitting and fixing U.P.V.C. pipes for above ground work including cost of jointing materials etc. fitting and fixing all necessary specials, cutting pipes, cutting holes in walls or R.C. floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary, but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 metre and refilling the same complete as per direction of the Engineerin- charge. (Payment will be made on centre line measurement of the total pipeline including specials. (A) Above ground (i) 75 mm | BI01010001010000000000000515BI0100001197 | 1 | Mtr. | 50.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 50.9 | 50.9 | INR Fifty and Paise Ninety Only | 57.58 | 57.58
87 | Labour for fitting and fixing U.P.V.C. pipes for above ground work including cost of jointing materials etc. fitting and fixing all necessary specials, cutting pipes, cutting holes in walls or R.C. floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary, but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 metre and refilling the same complete as per direction of the Engineerin- charge. (Payment will be made on centre line measurement of the total pipeline including specials. (A) Above ground ii) 110 mm | BI01010001010000000000000515BI0100001198 | 20 | Mtr. | 64.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1289.6 | 1289.6 | INR One Thousand Two Hundred & Eighty Nine and Paise Sixty Only | 72.94 | 72.94
88 | Labour for fitting and fixing U.P.V.C. pipes for above ground work including cost of jointing materials etc. fitting and fixing all necessary specials, cutting pipes, cutting holes in walls or R.C. floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary, but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 metre and refilling the same complete as per direction of the Engineerin- charge. (Payment will be made on centre line measurement of the total pipeline including specials. (A) Above ground iii) 160 mm | BI01010001010000000000000515BI0100001199 | 2 | Mtr. | 74.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 149.32 | 149.32 | INR One Hundred & Forty Nine and Paise Thirty Two Only | 84.46 | 84.46 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
89 | Labour for fitting and fixing U.P.V.C. pipes for above ground work including cost of jointing materials etc. fitting and fixing all necessary specials, cutting pipes, cutting holes in walls or R.C. floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary, but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 metre and refilling the same complete as per direction of the Engineerin- charge. (Payment will be made on centre line measurement of the total pipeline including specials. (B) Under ground (i) 75 mm | BI01010001010000000000000515BI0100001200 | 1 | Mtr. | 82.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 82.58 | 82.58 | INR Eighty Two and Paise Fifty Eight Only | 93.41 | 93.41 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
90 | Labour for fitting and fixing U.P.V.C. pipes for above ground work including cost of jointing materials etc. fitting and fixing all necessary specials, cutting pipes, cutting holes in walls or R.C. floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary, but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 metre and refilling the same complete as per direction of the Engineerin- charge. (Payment will be made on centre line measurement of the total pipeline including specials. (B) Under ground ii) 110 mm | BI01010001010000000000000515BI0100001201 | 5 | Mtr. | 95.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 475.1 | 475.1 | INR Four Hundred & Seventy Five and Paise Ten Only | 107.49 | 107.49 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
91 | Labour for fitting and fixing U.P.V.C. pipes for above ground work including cost of jointing materials etc. fitting and fixing all necessary specials, cutting pipes, cutting holes in walls or R.C. floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary, but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 metre and refilling the same complete as per direction of the Engineerin- charge. (Payment will be made on centre line measurement of the total pipeline including specials. (B) Under ground iii) 160 mm | BI01010001010000000000000515BI0100001202 | 6 | Mtr. | 105.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 631.2 | 631.2 | INR Six Hundred & Thirty One and Paise Twenty Only | 119 | 119 | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
92 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 32mm | BI01010001010000000000000515BI0100001203 | 5 | Mtr. | 266.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1334.8 | 1334.8 | INR One Thousand Three Hundred & Thirty Four and Paise Eighty Only | 301.99 | 301.99 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
93 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 25mm | BI01010001010000000000000515BI0100001204 | 65 | Mtr. | 200.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13014.3 | 13014.3 | INR Thirteen Thousand &Fourteen and Paise Thirty Only | 226.49 | 226.49 | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
94 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 20mm | BI01010001010000000000000515BI0100001205 | 25 | Mtr. | 145.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3648 | 3648 | INR Three Thousand Six Hundred & Forty Eight Only | 165.06 | 165.06 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
95 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 15mm | BI01010001010000000000000515BI0100001206 | 15 | Mtr. | 114.25 | 53536 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1713.75 | 1713.75 | INR One Thousand Seven Hundred & Thirteen and Paise Seventy Five Only | 129.24 | 129.24 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
96 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 32mm | BI01010001010000000000000515BI0100001207 | 1 | Each | 1423.05 | 48070 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1423.05 | 1423.05 | INR One Thousand Four Hundred & Twenty Three and Paise Five Only | 1609.75 | 1609.75 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
97 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 25mm | BI01010001010000000000000515BI0100001208 | 4 | Each | 1031.65 | 10288 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4126.6 | 4126.6 | INR Four Thousand One Hundred & Twenty Six and Paise Sixty Only | 1167 | 1167 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
98 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 20mm | BI01010001010000000000000515BI0100001209 | 2 | Each | 743.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1486.4 | 1486.4 | INR One Thousand Four Hundred & Eighty Six and Paise Forty Only | 840.71 | 840.71
99 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 15mm | BI01010001010000000000000515BI0100001210 | 2 | Each | 589.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1178.72 | 1178.72 | INR One Thousand One Hundred & Seventy Eight and Paise Seventy Two Only | 666.68 | 666.68
100 | Supplying, fitting and fixing white vitreous china best quality approved make wash basin with C.I. brackets on 75 mm X 75 mm wooden blocks, C.P. waste fittings of 32 mm dia., one approved quality brass C.P. pillar cock of 15 mm dia., C.P. chain with rubber plug of 30 mm dia., approved quality P.V.C. waste pipe with C.P. nut 32 mm dia., 900 mm long approved quality P.V.C. connection pipe with heavy brass C.P. nut including mending good all damages and painting the brackets with two coats of approved paint. 550 mm X 400 mm size | BI01010001010000000000000515BI0100001211 | 2 | Each | 2497.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4995.38 | 4995.38 | INR Four Thousand Nine Hundred & Ninety Five and Paise Thirty Eight Only | 2825.39 | 2825.39
101 | Supplying, fitting and fixing pedestal of approved make for wash basin (white) | BI01010001010000000000000515BI0100001212 | 2 | Each | 1693.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3386.82 | 3386.82 | INR Three Thousand Three Hundred & Eighty Six and Paise Eighty Two Only | 1915.59 | 1915.59
102 | Supplying, fitting and fixing Anglo-Indian W.C. in white glazed vitreous china ware of approved make complete in position with necessary bolts, nuts etc. With 'P' trap (without vent) | BI01010001010000000000000515BI0100001213 | 4 | Each | 3482.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13931.84 | 13931.84 | INR Thirteen Thousand Nine Hundred & Thirty One and Paise Eighty Four Only | 3939.92 | 3939.92
103 | Dismantling Orissa pattern W.C. including taking out of base concrete, if necessary, complete. | BI01010001010000000000000515BI0100001214 | 2 | each | 50.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 101.8 | 101.8 | INR One Hundred & One and Paise Eighty Only | 57.58 | 57.58
104 | Removing chokage of water closet. | BI01010001010000000000000515BI0100001215 | 2 | each | 29.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 58.82 | 58.82 | INR Fifty Eight and Paise Eighty Two Only | 33.27 | 33.27
105 | Supplying,fitting and fixing 32 mm dia. Flush Pipe of approved make with necessary fixing materials and clamps complete. Polythene Flush Pipe | BI01010001010000000000000515BI0100001216 | 1 | Each | 175.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 175.34 | 175.34 | INR One Hundred & Seventy Five and Paise Thirty Four Only | 198.34 | 198.34
106 | Supplying,fitting and fixing approved brand P.V.C. CONNECTOR white flexible, with both ends coupling with heavy brass C.P. nut, 15 mm dia. 900 mm long | BI01010001010000000000000515BI0100001217 | 8 | Each | 166.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1330.32 | 1330.32 | INR One Thousand Three Hundred & Thirty and Paise Thirty Two Only | 188.11 | 188.11
107 | Supplying,fitting and fixing approved brand 32 mm dia.P.V.C. waste pipe, with PVC coupling at one end fitted with necessary clamps. 1050mm long | BI01010001010000000000000515BI0100001218 | 1 | Each | 102.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 102.94 | 102.94 | INR One Hundred & Two and Paise Ninety Four Only | 116.45 | 116.45
108 | Supplying, fitting and fixing 10 litre P.V.C. low-down cistern conforming to I.S. specification with P.V.C. fittings complete,C.I. brackets including two coats of painting to bracket etc. | BI01010001010000000000000515BI0100001219 | 4 | Each | 1148.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4592.68 | 4592.68 | INR Four Thousand Five Hundred & Ninety Two and Paise Sixty Eight Only | 1298.81 | 1298.81
109 | Supplying, fitting and fixing bib cock or stop cock. Chromium plated Bib Cock short body (Equivalent to Code No. 511 & Model - Tropical / Sumthing Special of ESSCO or similar brand). | BI01010001010000000000000515BI0100001220 | 2 | Each | 609.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1219.44 | 1219.44 | INR One Thousand Two Hundred & Nineteen and Paise Forty Four Only | 689.72 | 689.72
110 | Supplying, fitting and fixing bib cock or stop cock. PTMT (Polytetra Bib Cock / Stop Cock ( Prayag or equivalent) 15 mm | BI01010001010000000000000515BI0100001221 | 8 | Each | 174.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1393.6 | 1393.6 | INR One Thousand Three Hundred & Ninety Three and Paise Sixty Only | 197.06 | 197.06
111 | Supplying, fitting and fixing pillar cock of approved make. b) PTMT Pillar Cock - 15 mm. (Prayag or equivalent). | BI01010001010000000000000515BI0100001222 | 2 | Each | 251.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 502.26 | 502.26 | INR Five Hundred & Two and Paise Twenty Six Only | 284.08 | 284.08
112 | Supplying, fitting and fixing towel rail with two brackets. C.P. over brass iii) 25 mm dia. and 750 mm long | BI01010001010000000000000515BI0100001223 | 6 | Each | 537.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3223.92 | 3223.92 | INR Three Thousand Two Hundred & Twenty Three and Paise Ninety Two Only | 607.82 | 607.82
113 | Supplying, fitting and fixing best quality Indian make mirror 5.5 mm thick with silvering as per I.S.I. specifications supported on fibre glass frame of any colour, frame size 550 mm X 400 mm | BI01010001010000000000000515BI0100001224 | 1 | Each | 693.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 693.43 | 693.43 | INR Six Hundred & Ninety Three and Paise Forty Three Only | 784.41 | 784.41
114 | Supplying P.V.C. water storage tank of approved quality with closed top with lid (Black) - Multilayer (b) 1000 litre capacity | BI01010001010000000000000515BI0100001225 | 3 | Each | 5800.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17402.37 | 17402.37 | INR Seventeen Thousand Four Hundred & Two and Paise Thirty Seven Only | 6561.85 | 6561.85
115 | Labour for hoisting plastic water storage tank.(i) Upto 1500 litre capacity.(a) Upto 1st story from G.L. | BI01010001010000000000000515BI0100001226 | 3 | Each | 108.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 325.8 | 325.8 | INR Three Hundred & Twenty Five and Paise Eighty Only | 122.85 | 122.85
116 | Labour for punching hole in plastic water storage tank upto 50 mm dia. | BI01010001010000000000000515BI0100001227 | 9 | Each | 21.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 193.41 | 193.41 | INR One Hundred & Ninety Three and Paise Forty One Only | 24.31 | 24.31
117 | Constructing Inspection pit of inside measurement 600mm X 600mm X upto 600mm (depth) with 250 mm thick 1st. class brick work in cement mortar (1:4) on all sides, bottom of the pit consisting of 100 mm thick cement concrete (1:3:6) with stone chips over a layer of jhama brick flat soling, 15 mm thick (1:4) cement plaster to inside walls and out-side walls upto G.L. and 20 mm.thick (1:4) plaster to bottom of the pit, providing necessary invert with cement concrete (1:3:6) with stone chips as per direction, neat cement finishing to entire internal surfaces, top of the pit covered with 100 mm thick R.C.C. slab (1:1.5:3) with stone chips and necessary reinforcements upto 1% and shuttering including 6 mm thick cement plaster (1:4) in all external surfaces of the slab and one 560 mm dia. R.C.C. manhole cover of approved make supplied, fitted and fixed in the slab with necessary fittings, necessary earthwork in excavation in all sorts of soil, filling sides of the pit with earth and removing spoils after work complete in all respect with all costs of labour and materials. i) With Pakur variety. (SAIL/TATA/RINL) | BI01010001010000000000000515BI0100001228 | 1 | Each | 8504.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8504.36 | 8504.36 | INR Eight Thousand Five Hundred & Four and Paise Thirty Six Only | 9620.13 | 9620.13
118 | Construction of septic tank of different capacities as per approved drawing with 1st class brick work in cement mortar (1:4) including two 560 mm dia. R.C.C. manhole cover(heavy type)of approved make supplied, fitted and fixed in the 100mm thick R.C.C (1:1.5:3) top slab with necessary fittings, 20mm thick cement plaster (4 : 1) with neat cement finish to the internal surfaces and 15 mm thick cement plaster (4 : 1) to outside wall upto 200 mm below G.L floor finished with 25 mm thick grey artificial stone over 100 mm thick R.C.C(1:1.5:3) bottom slab including supplying, fitting and fixing all necessry specials, fittings, S.W. tees, C.I. foot rest etc. including excavation earth in all sorts of soil, shoring, bailing out and pumping out water as necessary, ramming, dressing the bed and fefilling the sides of the tanks with earth, removing spoils, filling up the chamber with clear water, removing foreign materials from the chamber and including constructing attached inspection pit as per approved drawing and connecting all necessary pipes, joints etc. with internal plaster work and artificial stone flooring is to be done with admixture of water proofing compound @ 0.5% by weight of cement with all costs of labour and materials. Note:- (i) Finished level of Septic Tank should be 400 mm. from Ground Level. (ii) Height of 50 mm.Ventilation pipe &Mosquito proof mesh, should be follwed as per IS:2470,Part- I.Payment will be made separetly on the basis of actual height based on relevant I.S.Code. (ii) For 10 users A) With Pakur variety. (SAIL/TATA/RINL) | BI01010001010000000000000515BI0100001229 | 1 | Each | 41823.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41823.86 | 41823.86 | INR Forty One Thousand Eight Hundred & Twenty Three and Paise Eighty Six Only | 47311.15 | 47311.15
119 | Construction of circular soak well 2.5 metre deep in all types of sandy soils with dry brick work upto 1.6 metre from the bottom having 150 mm intermediate cement brick work (1:4) band all round and cement brick work (1:4) upto 0.90 metre from top with 20mm thick cement plastering (1:4) to inside face upto the depth of cement brick work, 15mm thick cement plaster (1:4) on outer face from top of the well upto G.L. and 6 mm thick cement plaster (1:4) on top of the R.C.C. cover slab including filling bottom 1.00 metre of inside of the well with brick metal (50 mm to 63 mm size) including R.C.C. cover slab of 100 mm thick with cement conc (1:1.5:3) with stone chips with necessary reinforcement and shuttering including one 560 mm dia. R.C.C. manhole cover (heavy type)of approved make supplied, fitted and fixed in the cover slab with necessary fittings, making nacessary arrangements for pipe connections, excavation of well including shoring, dewatering and removing the exess earth from the premises as per direction complete in all respect with all costs of labour and materials. With 250 mm thick dry brick work and 250 mm thick cement brick work (1:6) and 1.00m inside dia. (SAIL/TATA/RINL) | BI01010001010000000000000515BI0100001230 | 1 | Each | 19069.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19069.77 | 19069.77 | INR Nineteen Thousand &Sixty Nine and Paise Seventy Seven Only | 21571.72 | 21571.72
120 | Removing sludge from septic tank, soak well etc. by methor labour including disposal of the same outside the compound as directed.Upto 20 users:-(a) Upto 20 users | BI01010001010000000000000515BI0100001231 | 1 | Each | 2442.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2442.26 | 2442.26 | INR Two Thousand Four Hundred & Forty Two and Paise Twenty Six Only | 2762.68 | 2762.68
121 | Cleaning silt of inspection pit. | BI01010001010000000000000515BI0100001232 | 2 | Each | 174.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 348.4 | 348.4 | INR Three Hundred & Forty Eight and Paise Forty Only | 197.06 | 197.06
122 | Dismantling & Refixing pit cover | BI01010001010000000000000515BI0100001233 | 2 | Each | 39.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 79.18 | 79.18 | INR Seventy Nine and Paise Eighteen Only | 44.78 | 44.78
123 | Cleaning soak pit by removing the top slab and replacing inner filling with jhama bats and repairing the pit as necessary including fitting the slab. | BI01010001010000000000000515BI0100001234 | 1 | each | 1523.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1523.73 | 1523.73 | INR One Thousand Five Hundred & Twenty Three and Paise Seventy Three Only | 1723.64 | 1723.64
124 | Cleaning silt of master trap pit. | BI01010001010000000000000515BI0100001235 | 1 | each | 1303.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1303.14 | 1303.14 | INR One Thousand Three Hundred & Three and Paise Fourteen Only | 1474.11 | 1474.11
125 | Electrical schedule Items Connecting & dressing Meter looping system with 2 x 6 + 1 x 4 sq mm PVC insulated copper wire duly layed on the Ply board by link clip from Bus Bar to Meters & Meters to DP MCBs (Ave 4 meters)(Pwd page-E3,9 Item no. 1 | BI01010001010000000000000515BI0100001236 | 12 | item | 233.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2796.84 | 2796.84 | INR Two Thousand Seven Hundred & Ninety Six and Paise Eighty Four Only | 263.65 | 268.92
126 | Supply & fixing of 240V 32A DP MCB (Legrand) in DP SS enclosure (Legrand) incl earthing attachment. (Pwd page-D6,9 Item no.7;11) | BI01010001010000000000000515BI0100001237 | 4 | set | 941.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3766.08 | 3766.08 | INR Three Thousand Seven Hundred & Sixty Six and Paise Eight Only | 1065.05 | 1086.35
127 | Supply & Fixing (2+12) way SPN MCBDB (Legrand cat no- 607712) with IP-42/43 protection Concealed in wall & mending good the damages to original finish incl. Interconnection with suitable copper wire & nuetral link incl. earthing attachment comprising with the following (All Legrand):(Pwd page-D 6;9 Item no. 7,13) a) 63A DP MCB isolator & necy. connection --- 1 no b) 6 to 25A SP MCB as required breaking capacity 10KA & C characteristic ---- 12 nos | BI01010001010000000000000515BI0100001238 | 2 | set | 5188.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10377.5 | 10377.5 | INR Ten Thousand Three Hundred & Seventy Seven and Paise Fifty Only | 5869.51 | 5986.9
128 | Supply & Fixing (2+8) way SPN MCBDB (Legrand cat no- 607711) with IP-42/43 protection Concealed in wall & mending good the damages to original finish incl. Interconnection with suitable copper wire & nuetral link incl. earthing attachment comprising with the following (All Legrand):(Pwd page-D 6;9 Item no. 7,13) a) 40A DP MCB isolator & necy. connection --- 1 no b) 6 to 25A SP MCB as required breaking capacity 10KA & C characteristic ---- 8 nos | BI01010001010000000000000515BI0100001239 | 3 | set | 3860.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11582.1 | 11582.1 | INR Eleven Thousand Five Hundred & Eighty Two and Paise Ten Only | 4367.22 | 4454.57
129 | Laying of the following Alu. armoured cable in underground trench 460 mm wide x 760 mm average depth, with brick protection on the top of the cable with 8 (eight) Nos. bricks per metre, including filling the space between the brick & cable and also the trench with shifted soil, leveling up and restoring surface duly rammed(Pwd page-F2 Item no. 1 (a) 2 x 6 sq mm | BI01010001010000000000000515BI0100001240 | 20 | mtr | 186.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3738.4 | 3738.4 | INR Three Thousand Seven Hundred & Thirty Eight and Paise Forty Only | 211.44 | 215.67
130 | Laying of the following XLPE Al armoured cable after cutting floor /pavement / wall and making holes incl, embedding tha cable at an average depth as below & mending good the damages to original finish:-(Pwd page-F 3 Item no. 5) 2x 10 sq mm ( dp to spn) | BI01010001010000000000000515BI0100001241 | 40 | mtr | 146.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5861.6 | 5861.6 | INR Five Thousand Eight Hundred & Sixty One and Paise Sixty Only | 165.77 | 169.08
131 | Laying of the following XLPE Al armoured cable after cutting floor /pavement / wall and making holes incl, embedding tha cable at an average depth as below & mending good the damages to original finish:-(Pwd page-F 3 Item no. 5) 2 x6 sq mm | BI01010001010000000000000515BI0100001242 | 40 | mtr | 146.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5861.6 | 5861.6 | INR Five Thousand Eight Hundred & Sixty One and Paise Sixty Only | 165.77 | 169.08 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
132 | Supply & drawing of 1.1 Kv grade single core stranded 'FR' Pvc insulated & unsheathed copper wire (brand appr by EIC) of the following sizes through alkathene pipe recessed in wall. (Pwd page-E9 Item no. 1) 2x4+1x2.5 sq mm though 25mm Alka Pipe(AC ) | BI01010001010000000000000515BI0100001243 | 20 | mtr | 198.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3969.2 | 3969.2 | INR Three Thousand Nine Hundred & Sixty Nine and Paise Twenty Only | 224.5 | 228.99 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
133 | Supply & drawing of 1.1 Kv grade single core stranded 'FR' Pvc insulated & unsheathed copper wire (brand appr by EIC) of the following sizes through alkathene pipe recessed in wall. (Pwd page-E9 Item no. 1) 2x2.5+1x1.5 sqmm through 19mm Alka.pipe ( P/P) | BI01010001010000000000000515BI0100001244 | 50 | mtr | 147.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7384.5 | 7384.5 | INR Seven Thousand Three Hundred & Eighty Four and Paise Fifty Only | 167.07 | 170.41 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
134 | Supply & drawing of 1.1 Kv grade single core stranded 'FR' Pvc insulated & unsheathed copper wire (brand appr by EIC) of the following sizes through alkathene pipe recessed in wall. (Pwd page-E9 Item no. 1) 3x1.5 sq mm through 19mm Alkathene pipe | BI01010001010000000000000515BI0100001245 | 10 | mtr | 128.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1280.7 | 1280.7 | INR One Thousand Two Hundred & Eighty and Paise Seventy Only | 144.87 | 147.77 | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
135 | Distribution wiring in 1.1 KV grade 2x22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed copper wire with 1x22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed copper wire (Brand approved by EIC) for ECC in 19 mm bore, 3 mm thick polythene pipe complete with all accessories embedded in wall for horizontal & vertical runs and in suitable size PVC casing-capping (Precision make) for ceiling portion only, incl. necy. fittings etc. to light/fan/call bell point with Modular type switch (Brand approved by EIC) fixed on Modular GI switch board with top cover plate and 2 no. suitable size “Ph & N” copper bar & earthing attachment flushed in wall incl. mending good damages to original finish [only PVC casing-capping on ceiling and remaining portion concealed] (AVG run 6 mtr)(Pwd page-E23 Item no.8) | BI01010001010000000000000515BI0100001246 | 90 | Pts | 1046.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 94186.8 | 94186.8 | INR Ninety Four Thousand One Hundred & Eighty Six and Paise Eighty Only | 1183.82 | 1207.5 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
136 | Distribution wiring in 1.1 KV grade 3 x 1.5 sq mm single core stranded 'FR' PVC insulated & unsheathed copper wire (brand approved by EIC) in 19mm bore, 3mm thickpolythene pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240V 6A 3 pin modular type plug socket & modular type switch(Brand appr. by EIC) incl. S&F earth continuity wire fixed on 4 module GI switch board with 3/4 module top cover plate flushed in wall incl mending good damage to original finish. (on board)(Pwd page-E20 Item no.3) | BI01010001010000000000000515BI0100001247 | 9 | Pts | 287.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2585.7 | 2585.7 | INR Two Thousand Five Hundred & Eighty Five and Paise Seventy Only | 324.99 | 331.49 | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
137 | Distribution wiring in 1.1 KV grade 3 x 1.5 sq mm single core stranded 'FR' PVC insulated & unsheathed copper wire (brand approved by EIC) in 19mm bore, 3mm thickpolythene pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240V 6A 3 pin modular type plug socket & modular type switch(Brand appr. by EIC) incl. S&F earth continuity wire fixed on 4 module GI switch board with 3/4 module top cover plate flushed in wall incl mending good damage to original finish. (Ave run 4.5 mtr)(Pwd page-E20 Item no.3) | BI01010001010000000000000515BI0100001248 | 5 | Pts | 1082.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5411.45 | 5411.45 | INR Five Thousand Four Hundred & Eleven and Paise Forty Five Only | 1224.29 | 1248.77 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
138 | Supply & fixing of Modular type computer plug board of 8module GI box with cover plate recessed in wall comprising of the following(All cabtree): a) 16A socket ---1 set b) 16 a switch --- 2 set b) 6A socket --- 2 sets | BI01010001010000000000000515BI0100001249 | 5 | set | 1120.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5601.8 | 5601.8 | INR Five Thousand Six Hundred & One and Paise Eighty Only | 1267.35 | 1292.7 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
139 | Supply & Fixing 240 V, 25 A, Modular type starter (Brand approved by EIC) with 25A Modular switch type DP MCB (CCurve) and 4 Module GI Modular type switch board with 4 Module top cover plate flushed in wall incl. S&F switch board and cover plate and making necy. connections with PVC Cu wire and earth continuity wire etc(Pwd page-E19 Item no.17) | BI01010001010000000000000515BI0100001250 | 5 | set | 904.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4523 | 4523 | INR Four Thousand Five Hundred & Twenty Three Only | 1023.28 | 1043.75 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
140 | Supply & Fixing 240 V, 25 A, 3 pin Modular type plug socket (Brand approved by EIC), without plug top and switch with 2 Module GI Modular type switch board with top cover plate flushed in wall and making necy. connections with PVC Cu wire and earth continuity wirE (AC )(Pwd page-E17 Item no.5(a) | BI01010001010000000000000515BI0100001251 | 5 | set | 225 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1125 | 1125 | INR One Thousand One Hundred & Twenty Five Only | 254.52 | 259.61 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
141 | Supply & fixing of Modular type 16A 3 pin modular type plug socket (Brand approved by EIC) with 16 A Modular type switch without plug top on of 4 module GI box with cover plate recessed in wall comprising of the following (All cabtree): (Pwd page-E18 Item no.9(b) a) 16A switch ---1 set b)16A socket - - 1 set | BI01010001010000000000000515BI0100001252 | 5 | set | 526.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2630.7 | 2630.7 | INR Two Thousand Six Hundred & Thirty and Paise Seventy Only | 595.17 | 607.07
142 | Supplying and fixing PVC Rigid Conduit 'FR' [Precision Make] on wall, ceiling with saddles and other accessories as required and mending good damages to building works(PWD page E-16 Item no.7) 20mm size | BI01010001010000000000000515BI0100001253 | 25 | mtr | 58.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1471.25 | 1471.25 | INR One Thousand Four Hundred & Seventy One and Paise Twenty Five Only | 66.57 | 67.9
143 | Supplying and fixing PVC Rigid Conduit 'FR' [Precision Make] on wall, ceiling with saddles and other accessories as required and mending good damages to building works(PWD page E-16 Item no.7) 25 mm size | BI01010001010000000000000515BI0100001254 | 20 | mtr | 72.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1453.8 | 1453.8 | INR One Thousand Four Hundred & Fifty Three and Paise Eighty Only | 82.23 | 83.87
144 | Cutting Channel of size (40 mm x 40 mm) on masonry wall by Electric operated cutting machine incl. supplying & fixing heavy gauge 19 mm, 3 mm thick Polythene pipe by means of anchoring chemical (Hilti/Sika) and GI 'U' hooks of 8 SWG incl. supplying and drawing 18 SWG GI wire as Fish wire and mending good damages to original finish by using own tools and tackles(Pwd page-E 3 Item no.6,7) 19 mm dia 3mm thick polythene pipe without earth continuity wire | BI01010001010000000000000515BI0100001255 | 30 | mtr | 72.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2180.7 | 2180.7 | INR Two Thousand One Hundred & Eighty and Paise Seventy Only | 82.23 | 83.87
145 | Cutting Channel of size (40 mm x 40 mm) on masonry wall by Electric operated cutting machine incl. supplying & fixing heavy gauge 19 mm, 3 mm thick Polythene pipe by means of anchoring chemical (Hilti/Sika) and GI 'U' hooks of 8 SWG incl. supplying and drawing 18 SWG GI wire as Fish wire and mending good damages to original finish by using own tools and tackles(Pwd page-E 3 Item no.6,7) 25 mm dia 3mm thick polythene pipe without earth continuity wire | BI01010001010000000000000515BI0100001256 | 30 | mtr | 88.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2665.2 | 2665.2 | INR Two Thousand Six Hundred & Sixty Five and Paise Twenty Only | 100.5 | 102.51
146 | Fixing only singal / twin fluorescent light complete with all accessories directly on wall/ceilinh/HW round block and suitable size of MS fastener,ceiling plate, nipples etc. as required(Pwd page-C 2 Item no.14(D) | BI01010001010000000000000515BI0100001257 | 8 | set | 185.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1486.16 | 1486.16 | INR One Thousand Four Hundred & Eighty Six and Paise Sixteen Only | 210.14 | 214.35
147 | Supply & Fixing louver AL shutter on wall with necy. bolts & nuts (6 mm dia x 62 mm long) as following diameter(Pwd page-D14 Item no.32(a) 9" Exhaust fan(23cm) | BI01010001010000000000000515BI0100001258 | 8 | each | 175.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1403.04 | 1403.04 | INR One Thousand Four Hundred & Three and Paise Four Only | 198.39 | 202.36
148 | Fixing only exhaust fan after making hole in wall and making good damages and smooth cement finish etc. as practicable as possible and providing necy. length of PVC insulated wire and making connection for exhaust of following diameter:(Pwd page-c4 Item no.28) 9" Exhaust fan(23cm) | BI01010001010000000000000515BI0100001259 | 8 | each | 284.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2279.92 | 2279.92 | INR Two Thousand Two Hundred & Seventy Nine and Paise Ninety Two Only | 322.38 | 328.83
149 | Supply & Fixing 240V, Modular Socket (2 Module) type fan regulator (Step type) (Brand approved by EIC) on existing Modular GI switch board with top cover plate incl. making necy. connections etc.(Pwd page-E18 Item no.10) | BI01010001010000000000000515BI0100001260 | 12 | each | 446.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5358.36 | 5358.36 | INR Five Thousand Three Hundred & Fifty Eight and Paise Thirty Six Only | 505.11 | 515.22
150 | Supplying & Fixing 240 V AC/DC superior type Multitune (min 10 nos. tune) Call Bell (Anchor) with selector switch for single/Multi Tunes mode, Battery operated on HW board incl. S&F HW board.(Pwd page-D 13 Item no.20(c) | BI01010001010000000000000515BI0100001261 | 4 | each | 339.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1356.88 | 1356.88 | INR One Thousand Three Hundred & Fifty Six and Paise Eighty Eight Only | 383.73 | 391.4
151 | Earthing the the Installation by 50 mm dia G.I. Pipe (ISI -M) 3.64 mtr long & 1x4 SWG G.I.(Hot dip) wire (4 mtr long) with suitable nuts, bolts & washer etc. Incl S/F 15 mm dia GI protection pipe (1 mtr long) to be filled with bitumen partly under ground level & partly under ground level driven to an depth of 3.65 mtr below the ground level. .(Pwd page-G 1 Item no.2(a) | BI01010001010000000000000515BI0100001262 | 5 | set | 1579.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7897.95 | 7897.95 | INR Seven Thousand Eight Hundred & Ninety Seven and Paise Ninety Five Only | 1786.83 | 1822.57
152 | Electrical Non schedule Supply & delevery of 1.1 Kv grade XLPE Aluminium armoured cable(make Brand approved by EIC) 2x10 sqmm | BI01010001010000000000000515BI0100001263 | 40 | mtr | 80.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3232 | 3232 | INR Three Thousand Two Hundred & Thirty Two Only | 91.4 | 81.61
153 | Supply & delevery of 1.1 Kv grade XLPE Aluminium armoured cable(make Brand approved by EIC) 2 x 6 sq mm | BI01010001010000000000000515BI0100001264 | 60 | mtr | 69.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4181.4 | 4181.4 | INR Four Thousand One Hundred & Eighty One and Paise Forty Only | 78.83 | 70.39
154 | Supply of 4' 20W single LED Tube light fittings with mounting rail (make Crompton Cat. No -IGP 131 LT8-16, 1X20w LT8-20-865-2-20W / philips) . | BI01010001010000000000000515BI0100001265 | 8 | set | 901.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7215.44 | 7215.44 | INR Seven Thousand Two Hundred & Fifteen and Paise Forty Four Only | 1020.26 | 910.95
155 | Electrical Non schedule Dismenting the existing installation and depositing the dismenting materials to the authority and mending good the damages. | BI01010001010000000000000515BI0100001266 | 4 | quar | 50.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 202 | 202 | INR Two Hundred & Two Only | 57.13 | 51.01
Total in Figures | [51 empty] | 1076925.25 | 1076925.25 | INR Ten Lakh Seventy Six Thousand Nine Hundred & Twenty Five and Paise Twenty Five Only | -8694240.09 | 0.08 | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K143: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K144: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K146: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K147: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K148: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K149: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K151: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K152: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K154: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K159: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K166: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information