## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Assistant Chief Engineer, W.B.P.H&.I.D.Corpn. Ltd.
Name of Work: Construction of a Model Rural Police Station Building at Bhutni, Malda District – Balance Work ( Boundary Wall, Sentry Post, Deep Tube Well and Concrete Road with other allied works).
Contract No: WBPHIDCL/ACE/NIT- 102(e)/2017-2018 (1st Call)
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil works | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Surface Dressing of the ground in any kind of soil including removing vegetation inequalities not exceeding 15 cm depth and disposal of the rubbish within a lead upto 75 m as directed. | BI01010001010000000000000515BI0100001113 | 206.54 | Sqm | 12.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2612.73 | 2612.73 | INR Two Thousand Six Hundred & Twelve and Paise Seventy Three Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Earth work in excavation of foundation trenches of drains, in all sorts of soil (including mixed soil but excluding laterite or sandstone) including removing spreading or stacking the spoils with in a lead of 75m. As directed. The item includes necessary trim-ming the sides of trenches, levelling, dressing and ramming the bottom, bailing out water etc. as required complete. Depth of excavation not execeeding 1,500 mm | BI01010001010000000000000515BI0100001114 | 336.412 | CUM | 138.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46606.52 | 46606.52 | INR Forty Six Thousand Six Hundred & Six and Paise Fifty Two Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | Earth work in filling in foundation trenches or plinth with good earth, in layers not exceeding 150 mm. including watering and ramming etc. layer by layer complete. (Payment to be made on the basis of measurement of finished quantity of work) | BI01010001010000000000000515BI0100001115 | 160.5 | CUM | 90.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14454.63 | 14454.63 | INR Fourteen Thousand Four Hundred & Fifty Four and Paise Sixty Three Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Filling in foundation or plinth by SILVER sand in layers not exceeding 150 mm as directed and consoliding the same by through saturation with water ramming complete | BI01010001010000000000000515BI0100001116 | 31.75 | CuM. | 517.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16420.78 | 16420.78 | INR Sixteen Thousand Four Hundred & Twenty and Paise Seventy Eight Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Single brick flat soling of picked jhama bricks including ramming and dressing bed to proper level, and filling joints with powered or local sand. | BI01010001010000000000000515BI0100001117 | 322.2 | CuM. | 388.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 125239.14 | 125239.14 | INR One Lakh Twenty Five Thousand Two Hundred & Thirty Nine and Paise Fourteen Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Supplying and laying Polythene Sheet (150gm / sq.m.) over damp proof course or below flooring or roof terracing or in foundation or in foundation trenches. | BI01010001010000000000000515BI0100001118 | 360.3 | Sqm | 28.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10358.63 | 10358.63 | INR Ten Thousand Three Hundred & Fifty Eight and Paise Sixty Three Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | (I) Cement concrete with graded stone ballast (40 mm size excluding shuttering) In ground floor ; With Pakur Variety 1:4:8 | BI01010001010000000000000515BI0100001119 | 11.95 | CuM. | 5071.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60604.43 | 60604.43 | INR Sixty Thousand Six Hundred & Four and Paise Forty Three Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Ordinary Cement concrete (mix 1:1.5:3) with graded stone chips (20 mm nominal size) excluding shuttering and reinforcement if any, in ground floor as per relevant IS codes. a) Pakur Variety | BI01010001010000000000000515BI0100001120 | 3.5 | CuM. | 7337 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25679.5 | 25679.5 | INR Twenty Five Thousand Six Hundred & Seventy Nine and Paise Fifty Only
10 | Hire and labour charges for shuttering with centering and necessary staging upto 4 m using approved stout props and thick hard wood planks of approved thickness with required bracing for concrete slabs, beams and columns, lintels curved or straight including fitting, fixing and striking out after completion of works (upto roof of ground floor) 25 mm to 30 mm thick wooden shuttering as per decision & direction of Engineer-In-Charge. | BI01010001010000000000000515BI0100001121 | 403.243 | Sqm | 403.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 162769.04 | 162769.04 | INR One Lakh Sixty Two Thousand Seven Hundred & Sixty Nine and Paise Four Only
11 | Reinforcement for reinforced concrete work in all sorts of structures including distribution bars, stirrups, binders etc initial straightening and removal of loose rust (if necessary), cutting to requisite length, hooking and bending to correct shape, placing in proper position and binding with 16 gauge black annealed wire at every intersection, complete as per drawing and direction. For works in foundation, basement and upto roof of ground floor/upto 4 m Tor steel/Mild Steel SAIL/ TATA/RINL | BI01010001010000000000000515BI0100001122 | 3.5 | M.T | 72506 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 253771 | 253771 | INR Two Lakh Fifty Three Thousand Seven Hundred & Seventy One Only
12 | Controlled Cement concrete(1:1:2) with well graded stone chips (20 mm nominal size) excluding shuttering and reinforcement with complete design of concrete as per IS : 456 and relevant special publications, submission of job mix formula after preliminary mix design after testing of concrete cubes as per direction of Engineer-in charge. Consumption of cement will not be less than 300 Kg of cement with Super plasticiser per cubic meter of controlled concrete but actual consumption will be determined on the basis of preliminary test and job mix foumula. In ground floor and foundation. [using concrete mixture] (b) M 25 Grade.i)pakur varity | BI01010001010000000000000515BI0100001123 | 96.14 | CuM. | 7995 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 768639.3 | 768639.3 | INR Seven Lakh Sixty Eight Thousand Six Hundred & Thirty Nine and Paise Thirty Only
13 | Brick work with 1st class bricks in cement mortar (1:6) | BI01010001010000000000000515BI0100001124
14 | In foundation and plinth | BI01010001010000000000000515BI0100001125 | 13.53 | CuM. | 6040.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 81734.05 | 81734.05 | INR Eighty One Thousand Seven Hundred & Thirty Four and Paise Five Only
15 | In superstructure, Ground Floor | BI01010001010000000000000515BI0100001126 | 11.592 | CuM. | 6299.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 73026.12 | 73026.12 | INR Seventy Three Thousand &Twenty Six and Paise Twelve Only
16 | 125 mm. thick brick work with 1st class bricks in cement mortar (1:4) in ground floor. | BI01010001010000000000000515BI0100001127 | 321.3 | Sqm | 834.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 268253.37 | 268253.37 | INR Two Lakh Sixty Eight Thousand Two Hundred & Fifty Three and Paise Thirty Seven Only
17 | Plaster (to wall, ) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] In ground floor | BI01010001010000000000000515BI0100001128
18 | (ii)With 1:4 cement mortar,b)10 mm thick plaster.Ceiling Plaster | BI01010001010000000000000515BI0100001129 | 30 | Sqm | 156.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4692 | 4692 | INR Four Thousand Six Hundred & Ninety Two Only
19 | With 6:1 cement mortar a) 20mm thick plaster OUTSIDE | BI01010001010000000000000515BI0100001130 | 1079 | Sqm | 198.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 214667.05 | 214667.05 | INR Two Lakh Fourteen Thousand Six Hundred & Sixty Seven and Paise Five Only
20 | With 6:1 cement mortar b) 15mm thick plaster INSIDE | BI01010001010000000000000515BI0100001131 | 17.5 | Sqm | 172.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3018.75 | 3018.75 | INR Three Thousand &Eighteen and Paise Seventy Five Only
21 | Labour for Chipping of concrete surface before taking up Plastering work. | BI01010001010000000000000515BI0100001132 | 1071 | Sqm | 24.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25864.65 | 25864.65 | INR Twenty Five Thousand Eight Hundred & Sixty Four and Paise Sixty Five Only
22 | Applying Exterior grade Acrylic primer of approved quality and brand on plastered or cencrete surface old or new surface to receive decorative textured(matt finish) or smooth finish acrylic exterior emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC. Ground Floor (a) One Coat | BI01010001010000000000000515BI0100001133 | 1081.808 | Sqm | 39.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42352.78 | 42352.78 | INR Forty Two Thousand Three Hundred & Fifty Two and Paise Seventy Eight Only
23 | Protective and Decorative Acrylic exterior emulsion paint of approved quality, as per manufacturer's specification and as per direction of EIC to be applied over acrylic primer as required. The rate includes cost of material, labour, scaffolding and all incidental charges butexcluding the cost of primer. In Ground floor (Two Coat) Normal Acrylic Emulsion | BI01010001010000000000000515BI0100001134 | 1081.808 | Sqm | 83.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 90817.78 | 90817.78 | INR Ninety Thousand Eight Hundred & Seventeen and Paise Seventy Eight Only
24 | White washing including cleaning and smoothening surface thoroughly. In all Floors Three coats (to be done on specific instruction). Inside | BI01010001010000000000000515BI0100001135 | 48.473 | Sqm | 23.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1159.96 | 1159.96 | INR One Thousand One Hundred & Fifty Nine and Paise Ninety Six Only
25 | Supplying dividing strip fitted and fixed with cement mortar (1:3) in mosaic or patent stone floor, dado etc. complete as per direction of the Engineer-in-charge. Glass ,20 mm. wide strip | BI01010001010000000000000515BI0100001136 | 150 | RM | 20.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3105 | 3105 | INR Three Thousand One Hundred & Five Only
26 | Neat cement punning about 1.5mm thick in wall,dado, window sill, floor etc. using Cement 0.152 cu.m per 100 sq.m. | BI01010001010000000000000515BI0100001137 | 4.8 | Sqm | 44.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 215.28 | 215.28 | INR Two Hundred & Fifteen and Paise Twenty Eight Only
27 | Brick edging 75 mm wide with picked jhama bricks, laid true to line and level including cutting necessary trench in soil or in hard metalled surface, laying the bricks and repacking the trench (on both side of the edging) with spoils and ramming the same thoroughly complete as per direction. Brick-on-edge edging (125 mm) depth. | BI01010001010000000000000515BI0100001138 | 180 | RM | 51.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9297 | 9297 | INR Nine Thousand Two Hundred & Ninety Seven Only
28 | Supplying & laying interlocking designer paver block of any shade and of approved quality as per IS: 1237-1980 laid in pattern as directed in pavement, footpath, driveway, etc including necessary underlay complete in all respect with all labour and material. 60 mm thick block (over 150 mm medium sand bed including cost of sand but excluding cost of earthwork in excavation or dismantling of existing hard surface if necessary) Coloured Decorative | BI01010001010000000000000515BI0100001139 | 103 | Sqm | 1656 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 170568 | 170568 | INR One Lakh Seventy Thousand Five Hundred & Sixty Eight Only
29 | Preparation of beds for hedging and shrubbery by excavating 60cm deep and trenching the excavated base to a further depth of 30cm, refilling the excavated earth after breaking clods and mixing with sludge or manure in the ratio of 8:1 ( 8 parts of stacked volume of earth after reduction by 20%, one part of stacked volume of sludge or manure after reduction by 8%), flooding with water, filling with earth if necessary watering and finally fine dressing, levelling etc., including stacking and disposal of materials declared unserviceable and surplus earth by spreading and levelling as directed, within a lead of 50m lift upto 1.5m complete. This includes supply of labour, tools & plants including materials. Planting hedge plants in two rows at 30cm apart | BI01010001010000000000000515BI0100001140 | 60 | Sqm | 41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2460 | 2460 | INR Two Thousand Four Hundred & Sixty Only
30 | Supplying and Planting of different plant / trees ( Supplying well grown plants bushy and healthy, minimum height as specified i.e. exposed height including all leads & lift, carriage, handling, manuring, applying presticide and fertilizer etc Hibiscus Rosa Sinensis of height 90 cm to 60 cm in earthen pots of size 20 cm | BI01010001010000000000000515BI0100001141 | 50 | Each Piece | 46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2300 | 2300 | INR Two Thousand Three Hundred Only
31 | Bougainvillea (name variety, bushy plants, full bloom) of height 90cm- 60cm in cement pots of size 30cm. | BI01010001010000000000000515BI0100001142 | 70 | Each Piece | 118.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8291.5 | 8291.5 | INR Eight Thousand Two Hundred & Ninety One and Paise Fifty Only
32 | Supplying fitting and fixing 600 mm (+/- 30 mm) diametre R.B.T (Reinforced Barbed Tape) Concertina fencing on wall top using concertina coils stretched to approx.6 meters length at site clipped with two nos. of horizontal R.B.T strands which will be tensioned and fixed with the vertical M.S angle iron posts by means of security fasteners (such as 'C' clips, R.B.T clips etc.) | BI01010001010000000000000515BI0100001143 | 200 | RM | 553.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 110630 | 110630 | INR One Lakh Ten Thousand Six Hundred & Thirty Only
33 | M.S. structural works in columns, beams etc. with simple rolled structural members (e.g. joists, angle, channel sections conforming to IS: 226, IS: 808 & SP (6)- 1964 connected to one another with bracket, gussets, cleats as per design, direction of Engineer-in- charge complete including cutting to requisite shape and length, fabrication with necessary bolting, metal arc welding conforming to IS: 816- 1956 & IS: 1995 using electrodes of approved make and brand conforming to IS:814- 1957, haulage, hoisting and erection all complete. The rate includes the cost of rolled steel section, consumables such as electrodes, gas and hire charge of all tools and plants and labour required for the work including all incidental chages such as electricity charges, labour insurance charges etc. III) For built up sections / srtuctural members of specified sections weighing not less than 22.5 Kg./m | BI01010001010000000000000515BI0100001144 | 0.33 | MT | 80059.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26419.65 | 26419.65 | INR Twenty Six Thousand Four Hundred & Nineteen and Paise Sixty Five Only
34 | a) M.S.or W.I. Ornamental grill of approved design joints continuously welded with M.S, W.I. Flats and bars of windows, railing etc. fitted and fixed with necessary screws and lugs in ground floor. Grill weighing above 16 Kg./sq.mtr and above | BI01010001010000000000000515BI0100001145 | 3 | Qntl | 9413.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28241.7 | 28241.7 | INR Twenty Eight Thousand Two Hundred & Forty One and Paise Seventy Only
35 | Extra for work in grill gate. | BI01010001010000000000000515BI0100001146
36 | For hanging and locking arrangements including supply of materials and labour complete. (15% extra over the corresponding item of grill ) | BI01010001010000000000000515BI0100001147 | 1 | LS | 4236.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4236.26 | 4236.26 | INR Four Thousand Two Hundred & Thirty Six and Paise Twenty Six Only
37 | For supplying fitting and fixing bottom rollers including all labour complete (5% extra over the corresponding item of grill ) | BI01010001010000000000000515BI0100001148 | 1 | LS | 1412.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1412.09 | 1412.09 | INR One Thousand Four Hundred & Twelve and Paise Nine Only
38 | Priming one coat on steel or other metal surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. | BI01010001010000000000000515BI0100001149 | 24.9 | Sqm | 35.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 887.69 | 887.69 | INR Eight Hundred & Eighty Seven and Paise Sixty Nine Only
39 | (A) Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary : (b) On steel or other metal surface : With other than super gloss (hi-gloss) - (iv) Two coats (with any shade except white) | BI01010001010000000000000515BI0100001150 | 24.9 | Sqm | 88.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2204.9 | 2204.9 | INR Two Thousand Two Hundred & Four and Paise Ninety Only
40 | For Fencing works | BI01010001010000000000000515BI0100001151
41 | Supplying at site or stackyard or as directed PCC (1 : 2 :4) Fencing Post 215 cm x 150 mm X 150 mm section at bottom, 100 mm X 100 mm section at top with T-Base 300 mm X 150 mm X100 mm, having 4 nos 6 mm dia vertical M.S. reinforcement and 6 mm dia binders @ 200 mm centres, finished smooth etc., complete. | BI01010001010000000000000515BI0100001152 | 54 | Each | 554.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29932.2 | 29932.2 | INR Twenty Nine Thousand Nine Hundred & Thirty Two and Paise Twenty Only
42 | Fixing post of iron or precast concrete by digging hole in the ground (in all sorts of soil) and embedding the same by packing the hole with cement concrete (1:3:6) (with jhama khoa. For Purulia, Bankura and Darjeeling Hill by Pakur Variety, Local Black Hard Stone & Bazree respectively) and finishing the top surface to regular shape (as directed) with 15 cm cement plaster (1:6) complete, including the cost of concrete, plaster etc.but excluding the cost of the post : Average dia. of the hole 200 mm. to 300 mm. Depth 450 mm. to 500 mm. | BI01010001010000000000000515BI0100001153 | 54 | Each | 217.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11736.9 | 11736.9 | INR Eleven Thousand Seven Hundred & Thirty Six and Paise Ninety Only
43 | Supplying, fitting galvanised 3 ply 12 gauge / 4 points line of barbed wire in fencing (holes already made in the body of the post) or fixed by staples tightening and fixing the wires in taut condition with straining bolts including the cost of cutting and of lapping joints in the wire as necessary but excluding the cost of galvanised staples,straining bolt and binding wire where necessary. | BI01010001010000000000000515BI0100001154 | 810 | Meter | 32.1425 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26035.43 | 26035.43 | INR Twenty Six Thousand &Thirty Five and Paise Forty Three Only
44 | Labour for fitting line of wire to posts, tightening by straining bolts and fixing the wire ( in taut condition) to the post with staples (including the cost of cutting and lapping joints in the wire, as necessary and including the cost of staples and straining bolts and also the labour for fixing the staples but excluding the cost of straining bolts) Barbed wire | BI01010001010000000000000515BI0100001155 | 810 | Meter | 3.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2899.8 | 2899.8 | INR Two Thousand Eight Hundred & Ninety Nine and Paise Eighty Only
45 | Construction of circular soak well 2.5 metre deep in all types of sandy soils with dry brick work upto 1.6 metre from the bottom having 150 mm intermediate cement brick work (1:4) band all round and cement brick work (1:4) upto 0.90 metre from top with 20mm thick cement plastering (1:4) to inside face upto the depth of cement brick work, 15mm thick cement plaster (1:4) on outer face from top of the well upto G.L. and 6 mm thick cement plaster (1:4) on top of the R.C.C. cover slab including filling bottom 1.00 metre of inside of the well with brick metal (50 mm to 63 mm size) including R.C.C. cover slab of 100 mm thick with cement conc (1:1.5:3) with stone chips with necessary reinforcement and shuttering including one 560 mm dia. R.C.C. manhole cover (heavy type) of approved make supplied, fitted and fixed in the cover slab with necessary fittings, making nacessary arrangements for pipe connections, excavation of well including shoring, dewatering and removing the exess earth from the premises as per direction complete in all respect with all costs of labour and materials. With 250 mm thick dry brick work and 250 mm thick cement brick work (1:6) and 1.00m inside dia. | BI01010001010000000000000515BI0100001156 | 3 | Each | 19178.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 57535.65 | 57535.65 | INR Fifty Seven Thousand Five Hundred & Thirty Five and Paise Sixty Five Only
46 | Sinking of tubewell | BI01010001010000000000000515BI0100001157
47 | Labour for boring tube well of required dia. by water jet system through any type of soil strata including hire and labour charges for boring pipes, scaffolding, tools and plants as necessary and taking out them and lowering pipes, strainers, blind pipe etc. and fitting and fixing the same complete including bucket washing and other incidental works in the connection. The tube well should have a minimum 50 mm gap in between the outside of the tubewell pipe and the bore. For depth upto 150 metre for 80 mm dia. tube well with top enlargement of 150 mm dia. | BI01010001010000000000000515BI0100001158
48 | 150 mm dia. boring etc. for top enlargement | BI01010001010000000000000515BI0100001159 | 120 | mtr | 795.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 95496 | 95496 | INR Ninety Five Thousand Four Hundred & Ninety Six Only
49 | Supply of PVC pipes & fittings (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). | BI01010001010000000000000515BI0100001160
50 | 80 mm dia | BI01010001010000000000000515BI0100001161 | 54 | mtr | 701.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37881 | 37881 | INR Thirty Seven Thousand Eight Hundred & Eighty One Only
51 | 150 mm dia | BI01010001010000000000000515BI0100001162 | 36 | mtr | 1722.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 62017.2 | 62017.2 | INR Sixty Two Thousand &Seventeen and Paise Twenty Only
52 | Supplying PVC strainer of approved make with adapter conforming to I.S.12818 specifications. 80 mm dia | BI01010001010000000000000515BI0100001163 | 30 | mtr | 675.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20251.5 | 20251.5 | INR Twenty Thousand Two Hundred & Fifty One and Paise Fifty Only
53 | Washing and developing tube well with air compressor pump and engine for 8 (eight) hours continuous pumping per day with necessary arrangements for testing the yield in gallons per hour with 'V' notch including hire and labour charges for all tools and plants and scaffolding as required. | BI01010001010000000000000515BI0100001164 | 1 | day | 8754.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8754.95 | 8754.95 | INR Eight Thousand Seven Hundred & Fifty Four and Paise Ninety Five Only
54 | Labour for making arrangement for showing verticality test including the cost for hire charges of tools and plants, scafolding, labour etc. all complete. | BI01010001010000000000000515BI0100001165 | 1 | LS | 1064.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1064.9 | 1064.9 | INR One Thousand &Sixty Four and Paise Ninety Only
55 | Packing the annular space between the outside of the tube well pipes & strainers and the bore with pea size washed gravel of approved quality having size from 2 mm to 5 mm or the size approved by the Engineer-in-charge including cost of all materials labour and equipment complete. Note: Initial 6 m. of Annular space between the housing pipe and the bore should not be shrouded with Pea size gravel to avoid contamination with surface water. | BI01010001010000000000000515BI0100001166 | 3.7 | Cu. m | 2357.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8722.75 | 8722.75 | INR Eight Thousand Seven Hundred & Twenty Two and Paise Seventy Five Only
56 | Packing annular space between the outside of the housing pipe and the bore with puddled clay balls of approved size as per direction of the Engineer-in-charge with cost of all materials and labour complete. | BI01010001010000000000000515BI0100001167 | 1.2 | Cu. m | 484.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 580.98 | 580.98 | INR Five Hundred & Eighty and Paise Ninety Eight Only
57 | Collecting sample of water for bacteriological test & chemical test from any depth at any time during execution of work including hire & labour charge for tools & plants & sterilising the equipments, paying all charges & fees, testing etc. complete in all respect as per direction. | BI01010001010000000000000515BI0100001168 | 1 | LS | 1429.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1429.45 | 1429.45 | INR One Thousand Four Hundred & Twenty Nine and Paise Forty Five Only
58 | Supplying, fitting and fixing including supplying of suitable jointing compound for fixing in position, threading, if necessary etc. all complete. | BI01010001010000000000000515BI0100001169
59 | Reducing Socket (150 mm x 80 mm) | BI01010001010000000000000515BI0100001170 | 1 | each | 552 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 552 | 552 | INR Five Hundred & Fifty Two Only
60 | Supplying, fitting and fixing G.I. cap at top 150 mm dia | BI01010001010000000000000515BI0100001171 | 1 | each | 687.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 687.7 | 687.7 | INR Six Hundred & Eighty Seven and Paise Seventy Only
61 | 80 mm dia G.I. plug of approved make conforming to I.S. specifications. | BI01010001010000000000000515BI0100001172 | 1 | each | 216.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 216.2 | 216.2 | INR Two Hundred & Sixteen and Paise Twenty Only
62 | Housing clamp for 150mm dia pipe(G.I./MS) | BI01010001010000000000000515BI0100001173 | 1 | set | 1437.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1437.5 | 1437.5 | INR One Thousand Four Hundred & Thirty Seven and Paise Fifty Only
63 | Cente Guide of approved quality and size (40mmx8mm thick) of L=1mtr. | BI01010001010000000000000515BI0100001174 | 12 | Each | 158.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1904.4 | 1904.4 | INR One Thousand Nine Hundred & Four and Paise Forty Only
64 | Geophysical investigation of the acquifer by electrologging system with all tools and plants as necessary including supply of necessary report. (A)-(VI) Tube well item no - 29 | BI01010001010000000000000515BI0100001175 | 1 | each test | 9578.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9578.35 | 9578.35 | INR Nine Thousand Five Hundred & Seventy Eight and Paise Thirty Five Only
65 | Electrical Works | BI01010001010000000000000515BI0100001176
66 | Supply of Three phase 240V 3 Hp (2.2 Kw) bore well submersible Pump Motor set suitable for 150mm bore well having overall head of (18 mtr to 43 mtr) & discharge of (380 LPM to 135 LPM). The discharge outlet size will be 50mm (2" inch) (Make KSB/ Crompton/Kirloskar) | BI01010001010000000000000515BI0100001177 | 1 | set | 28290 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28290 | 28290 | INR Twenty Eight Thousand Two Hundred & Ninety Only
67 | Supply & Fixing of control panel suitable for 3-Phase 5 HP Submersible Pump motor set comprising of DOL starter, Dual Ammeter & Voltmeter, indicator lamp to be fixed on wall incl making connection & necy. earthing attachment. (Make L&T/Crompton/KSB) | BI01010001010000000000000515BI0100001178 | 1 | set | 4629.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4629.9 | 4629.9 | INR Four Thousand Six Hundred & Twenty Nine and Paise Ninety Only
68 | Supply & Laying 3 core 2.5 sqmm flat submersible cable (Finolex) incl. 3/4" PVC HD PVC pipe through U.G. trench with necy Jointing materials incl. S/Laying PVC HD PVC pipe (Oriplast) | BI01010001010000000000000515BI0100001179 | 35 | mtr | 196.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6882.75 | 6882.75 | INR Six Thousand Eight Hundred & Eighty Two and Paise Seventy Five Only
69 | Supply & installation of G.I. pipe (Make TATA-M) pipe having heavy duty G.I. socket/elbow (TATA) incl cutting & threading as required a) 50mm dia (For Vertical column pipe & upto Header) | BI01010001010000000000000515BI0100001180 | 40 | mtr | 717.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28704 | 28704 | INR Twenty Eight Thousand Seven Hundred & Four Only
70 | Supplying, fitting and fixing PVC pipes for underground work of approved make (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted including cost of all materials ,jointing materials, cutting pipes, making threads ,cutting trenches upto 1.5 metre below surface in all sorts of soil and refilling the same as directed complete in all respect. (Payment will be made on the centre line measurement of the total pipe line including all specials No separate payment will be made for accessories, specials.) A) 50mm dia (From header to different Bldg.) | BI01010001010000000000000515BI0100001181 | 120 | mtr | 487.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 58512 | 58512 | INR Fifty Eight Thousand Five Hundred & Twelve Only
71 | Supply & fixing 50 mm dia Gun metal Non-Return valve(ISI) | BI01010001010000000000000515BI0100001182 | 1 | each | 3467.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3467.25 | 3467.25 | INR Three Thousand Four Hundred & Sixty Seven and Paise Twenty Five Only
72 | Supply & fixing 50 mm dia G.I.Peets Valve(ISI)(Tested 21 kg per cm) | BI01010001010000000000000515BI0100001183 | 5 | each | 3467.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17336.25 | 17336.25 | INR Seventeen Thousand Three Hundred & Thirty Six and Paise Twenty Five Only
73 | Supply & fixing 100 mm x 65 mm dia G.I. Reducing Tee (For header) | BI01010001010000000000000515BI0100001184 | 4 | each | 920 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3680 | 3680 | INR Three Thousand Six Hundred & Eighty Only
74 | Supply & fixing 100mm dia G.I. nipple short piece 150mm long | BI01010001010000000000000515BI0100001185 | 6 | each | 166.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1000.5 | 1000.5 | INR One Thousand and Paise Fifty Only
75 | Supply & fixing 100mm dia G.I. plug | BI01010001010000000000000515BI0100001186 | 2 | each | 266.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 533.6 | 533.6 | INR Five Hundred & Thirty Three and Paise Sixty Only
76 | Supply & fixing 65 mm x 50 mm dia G.I. Reducing socket (For delivery Line from header) | BI01010001010000000000000515BI0100001187 | 5 | each | 141.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 707.25 | 707.25 | INR Seven Hundred & Seven and Paise Twenty Five Only
77 | Supply & fixing 50 mm dia G.I. Union | BI01010001010000000000000515BI0100001188 | 6 | each | 182.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1097.1 | 1097.1 | INR One Thousand &Ninety Seven and Paise Ten Only
78 | Supply & fixing 50 mm dia G.I. Flange | BI01010001010000000000000515BI0100001189 | 2 | pair | 193.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 386.4 | 386.4 | INR Three Hundred & Eighty Six and Paise Forty Only
79 | Making holes on wall & mending good the damages to original finish | BI01010001010000000000000515BI0100001190 | 4 | each | 69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 276 | 276 | INR Two Hundred & Seventy Six Only
80 | Construction of 200mm x 200mm x 900mm high brick pillars with cement plastering for supporting the G.I. pipe from tube well to header | BI01010001010000000000000515BI0100001191 | 4 | each | 977.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3910 | 3910 | INR Three Thousand Nine Hundred & Ten Only
81 | Supply & fixing holding clamp fabricated by 50mm x 6mm with necy. Nuts, bolts & washers for holding the the column pipe. | BI01010001010000000000000515BI0100001192 | 2 | pairs | 258.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 517.5 | 517.5 | INR Five Hundred & Seventeen and Paise Fifty Only
82 | Labour charge for Testing & Lowering the submersible Pump motor set with submersible cable along with the column pipes into the tube well after socketing the column pipes step by step including arrangement of tripod, chain pully & tools & Tackles & providing suitable manpower to satisfactory operation. | BI01010001010000000000000515BI0100001193 | 1 | LS | 3479.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3479.9 | 3479.9 | INR Three Thousand Four Hundred & Seventy Nine and Paise Ninety Only
83 | GATE & EXTERNAL ELECTRICAL WORKS | BI01010001010000000000000515BI0100001194
84 | Decorative Post Top for 360 Degree indirect light, IP 65 Protection, Resistant to impact and Corrosion, Glare free & better uniformity (Phlips/Crompton : LPTO-40-CDL) | BI01010001010000000000000515BI0100001195 | 2 | Set | 10166 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20332 | 20332 | INR Twenty Thousand Three Hundred & Thirty Two Only
85 | Supply &Delivery of IP 65 PDC flood light,aesthetically designed better thermal management.(Phlips/Crompton : LFLN-150-CDL/60) | BI01010001010000000000000515BI0100001196 | 3 | Set | 17679 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53037 | 53037 | INR Fifty Three Thousand &Thirty Seven Only
86 | Supply &Delivery of IP 65 PDC flood light,aesthetically designed better thermal management.(Phlips/Crompton : LSFO-250-W-CDL/60) | BI01010001010000000000000515BI0100001197 | 7 | Set | 30055 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 210385 | 210385 | INR Two Lakh Ten Thousand Three Hundred & Eighty Five Only
87 | Supplying and fixing 240/415 V MCB of Breaking capacity 10kA & C characteristics on din rail of existing DBs and necessary connection | BI01010001010000000000000515BI0100001198
88 | 6 to 32 A DP MCB (Legrand) | BI01010001010000000000000515BI0100001199 | 2 | Set | 643 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1286 | 1286 | INR One Thousand Two Hundred & Eighty Six Only
89 | Supplying and fixing MCB SS enclosure with IP-20/30 protection, powder coated provision for two/four pole MCB, concealed in wall after cutting the wall & mending good the damages to original finish incl. painting, connection & provision for earthing attachment | BI01010001010000000000000515BI0100001200
90 | 2 way | BI01010001010000000000000515BI0100001201 | 2 | Set | 312 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 624 | 624 | INR Six Hundred & Twenty Four Only
91 | Supplying & Fixing steel waterproof type looping cable box size 200x150x100 mm deep having 4 mm thick comprising of one 250 V 15 A kit-kat fuse unit, one NL on porcelain insulator, one compression type brass cable gland for upto 2- core 16 sqmm PVC/A cable and having lined with rubber gasketted GI top cover with brass machine screws etc., earthing terminal with lug, on steel tubular pole near base, including S&F 40x6 mm thick, MS clamps with bolts, nuts etc. including painting with anticorrosive paint(Gate-2,Roof pole-10) | BI01010001010000000000000515BI0100001202 | 12 | Set | 527 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6324 | 6324 | INR Six Thousand Three Hundred & Twenty Four Only
92 | Fixing outdoor type LED light fittings on pole including S&F 40 mm dia 1.5mts. long Steel Pipe (ISI-Medium) bracket with 40 mmx10 mm thick, MS clamp etc. and providing wiring with 2x1/1.40 PVC insulated and sheathed wire (single core) from loop box at the base of pole to light fiting through pole& bracket (without control switch) including making connections & painting | BI01010001010000000000000515BI0100001203 | 10 | Set | 895 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8950 | 8950 | INR Eight Thousand Nine Hundred & Fifty Only
93 | Laying of one No. cable upto 35 sqmm in underground trench 460 mm wide x 760 mm average depth, with brick protection on the top of the cable with 8 (eight) Nos. bricks per metre incl.S&F No 10 SWG G.I Continuous eart wire & , filling the space between the brick & cable and also the trench with shifted soil, leveling up and restoring surface duly rammed | BI01010001010000000000000515BI0100001204 | 120 | mtr. | 181 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21720 | 21720 | INR Twenty One Thousand Seven Hundred & Twenty Only
94 | Supply 2 core 6 sqmm XLPE al armoured cable | BI01010001010000000000000515BI0100001205 | 120 | mtr. | 93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11160 | 11160 | INR Eleven Thousand One Hundred & Sixty Only
95 | Compression Glands : Supplying and fixing compression type gland complete with brass gland, brass ring & rubber ring for dust & moisture-proof entry of XLPE/PVC armoured cables as below (a) For 2 core upto 6 sqmm | BI01010001010000000000000515BI0100001206 | 12 | Nos | 74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 888 | 888 | INR Eight Hundred & Eighty Eight Only
96 | Finishing cable ends | BI01010001010000000000000515BI0100001207
97 | 8. (a) Finishing of the XLPE/PVC insulated armoured cable ends by soldering with cable sockets and insulated tapes etc., including supplying sockets, soldering materials, tapes etc. and making connection to switch, BDB and BBC etc | BI01010001010000000000000515BI0100001208
98 | 2 core 6 sqmm cable | BI01010001010000000000000515BI0100001209 | 12 | Nos | 34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 408 | 408 | INR Four Hundred & Eight Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
99 | S&F( 2X4 +1X2.5)sq.mm.pvc insulated and un sheated copper wire in polythine pipe recessed in wall and mending good the damages. | BI01010001010000000000000515BI0100001210 | 280 | mtr. | 273 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 76440 | 76440 | INR Seventy Six Thousand Four Hundred & Forty Only
Total in Figures | [51 empty] | 3616690.54 | 3616690.54 | INR Thirty Six Lakh Sixteen Thousand Six Hundred & Ninety and Paise Fifty Four Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information