## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Additional Chief Engineer, W.B.P.H&.I.D.Corpn. Ltd.
Name of Work: Repair, renovation and up-gradation of different Training Buildings at CIAT School, Salua, Paschim Medinipur- (Old Conference Hall & canteen building, 04 nos. barrack, Toilet block of barrack 1 & 2, Toilet block of barrack 3 & 4 and Trainers barrack).
Contract No: WBPHIDCL/Addl.CE/NIT- 146(e)/2019-2020 (1st Call) for Sl No. 2
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil Works | BI01010001010000000000000515BI0100001112 | [55 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | (A) Filling in foundation or plinth by silver sand in layers not exceeding 150 mm as directed and consolidating the same by thorough saturation with water, ramming complete including the cost of supply of sand. (payment to be made on measurement of finished quantity) | BI01010001010000000000000515BI0100001113 | 42.26 | CuM | 424.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17936.83 | 17936.83 | INR Seventeen Thousand Nine Hundred & Thirty Six and Paise Eighty Three Only | 375.21 | 424.44 | 15856.37 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Dismantling all types of masonry excepting cement concrete plain or reinforced, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. a) In ground floor including roof. | BI01010001010000000000000515BI0100001114 | 65.2 | CuM | 505.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32968.38 | 32968.38 | INR Thirty Two Thousand Nine Hundred & Sixty Eight and Paise Thirty Eight Only | 447 | 505.65 | 29144.4 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Dismantling all types of plain cement concrete works, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. In ground floor including roof. (a) upto 150 mm. thick | BI01010001010000000000000515BI0100001115 | 45.25 | CuM | 1062.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 48064.55 | 48064.55 | INR Forty Eight Thousand &Sixty Four and Paise Fifty Five Only | 939 | 1062.2 | 42489.75 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Dismantling artificial stone flooring upto 50 mm. thick by carefully chiselling without damaging the base and removing rubbish as directed within a lead of 75 m. a) In ground floor including roof. | BI01010001010000000000000515BI0100001116 | 40.25 | Sqm | 56.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2276.54 | 2276.54 | INR Two Thousand Two Hundred & Seventy Six and Paise Fifty Four Only | 50 | 56.56 | 2012.5 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Taking out carefully G.C.I. or C.I. or asbestos sheets (including ridges etc.) from roof or wall after unscrewing bolts, nuts, screws etc.and stacking the material at site as directed. (Payment to be made on measurement of portion of roof or wall removed.) | BI01010001010000000000000515BI0100001117 | 620.051 | Sq.M. | 46.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28757.97 | 28757.97 | INR Twenty Eight Thousand Seven Hundred & Fifty Seven and Paise Ninety Seven Only | 41 | 46.38 | 25422.09 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Stripping off worn out plaster and raking out joints of walls, celings etc. upto any height and in any floor including removing rubbish within a lead of 75m as directed. | BI01010001010000000000000515BI0100001118 | 202.95 | Sq.M. | 21.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4361.4 | 4361.4 | INR Four Thousand Three Hundred & Sixty One and Paise Forty Only | 19 | 21.49 | 3856.05 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | Removal of rubbish,earth etc. from the working site and disposal of the same beyond the compound, in conformity with the Municipal / Corporation Rules for such disposal, loading into truck and cleaning the site in all respect as per direction of Engineer in charge | BI01010001010000000000000515BI0100001119 | 32.35 | CuM | 187.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6074.68 | 6074.68 | INR Six Thousand &Seventy Four and Paise Sixty Eight Only | 166 | 187.78 | 5370.1 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Dismantling worn out wall or ceiling of Tarja or Durmamat and removing the dismantled materials as directed. | BI01010001010000000000000515BI0100001120 | 302.87 | Sq.M. | 14.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4455.22 | 4455.22 | INR Four Thousand Four Hundred & Fifty Five and Paise Twenty Two Only | 13 | 14.71 | 3937.31 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Single Brick Flat Soling of picked jhama bricks including ramming and dressing bed to proper level and filling joints with local sand. | BI01010001010000000000000515BI0100001121 | 152.25 | Sq.M. | 389.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 59245.04 | 59245.04 | INR Fifty Nine Thousand Two Hundred & Forty Five and Paise Four Only | 344 | 389.13 | 52374 |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Labour for dismantling the necessary bases of R.C. or wooden railing post for taking out the damaged posts (scattered job) | BI01010001010000000000000515BI0100001122 | 32 | Each | 69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2208 | 2208 | INR Two Thousand Two Hundred & Eight Only | 61 | 69 | 1952 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Brick work with 1st class bricks in cement mortar (1:6) (a) In foundation and plinth | BI01010001010000000000000515BI0100001123 | 21.32 | CuM | 5814.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 123962.37 | 123962.37 | INR One Lakh Twenty Three Thousand Nine Hundred & Sixty Two and Paise Thirty Seven Only | 5140 | 5814.37 | 109584.8 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Brick work with 1st class bricks in cement mortar (1:6) (b) In superstructure, ground floor | BI01010001010000000000000515BI0100001124 | 20.132 | CuM | 6065.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 122110.44 | 122110.44 | INR One Lakh Twenty Two Thousand One Hundred & Ten and Paise Forty Four Only | 5362 | 6065.49 | 107947.78 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14 | 125 mm. thick brick work with 1st class bricks in cement mortar (1:4) in ground floor. | BI01010001010000000000000515BI0100001125 | 4.325 | SqM | 797.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3449.19 | 3449.19 | INR Three Thousand Four Hundred & Forty Nine and Paise Nineteen Only | 705 | 797.5 | 3049.13 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Ordinary Cement concrete (mix 1:2:4) with graded stone chips (20 mm nominal size) excluding shuttering and reinforcement,if any, in ground floor as per relevant IS codes. a) Pakur Variety | BI01010001010000000000000515BI0100001126 | 40.52 | CuM | 6099.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 247164.71 | 247164.71 | INR Two Lakh Forty Seven Thousand One Hundred & Sixty Four and Paise Seventy One Only | 5392.34 | 6099.82 | 218497.62 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Ordinary Cement concrete (mix 1:1.5:3) with graded stone chips (20 mm nominal size) excluding shuttering and reinforcement if any, in ground floor as per relevant IS codes. (i) Pakur Variety | BI01010001010000000000000515BI0100001127 | 30.152 | CuM | 6723.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 202734.81 | 202734.81 | INR Two Lakh Two Thousand Seven Hundred & Thirty Four and Paise Eighty One Only | 5943.92 | 6723.76 | 179221.08
17 | Hire and labour charges for shuttering with centering and necessary staging upto 4 m using approved stout props and thick hard wood planks of approved thickness with required bracing for concrete slabs, beams and columns, lintels curved or straight including fitting, fixing and striking out after completion of works (upto roof of ground floor) (When the height of a particular floor is more than 4 m the equivalent floor height shall be taken as 4 m and extra for works beyond the initial 4 m ht. shall be allowed under 12 (e) for every 4 m or part thereof) (c) Steel shuttering or 9 to 12 mm thick approved quality ply board shuttering in any concrete work | BI01010001010000000000000515BI0100001128 | 140.25 | SqM | 403.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56638.56 | 56638.56 | INR Fifty Six Thousand Six Hundred & Thirty Eight and Paise Fifty Six Only | 357 | 403.84 | 50069.25
18 | Reinforcement for reinforced concrete work in all sorts of structures including distribution bars, stirrups, binders etc initial straightening and removal of loose rust (if necessary), cutting to requisite length, hooking and bending to correct shape, placing in proper position and binding with 16 gauge black annealed wire at every intersection, complete as per drawing and direction. (i) Tor steel/Mild Steel II. JSW/JSPL/SHYAM/ SRMB/BMASL/ELECROSTEEL/SSL | BI01010001010000000000000515BI0100001129 | 1.78 | MT. | 76981.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 137027.16 | 137027.16 | INR One Lakh Thirty Seven Thousand &Twenty Seven and Paise Sixteen Only | 68053 | 76981.55 | 121134.34
19 | Cleaning the concrete surface by removing dirt and debris, marking defective locations and removing loose concrete by careful stripping untill hard surface is exposed, cutting the concrete to regular shape, wire brushing the exposed surface and removing debris from site complete as per direction of the Engineer - in - Charge. | BI01010001010000000000000515BI0100001130 | 92.35 | SqM | 101.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9402.15 | 9402.15 | INR Nine Thousand Four Hundred & Two and Paise Fifteen Only | 90 | 101.81 | 8311.5
20 | Cleaning the exposed reinforcement preferably upto full diameter by wire brush, applying two coats of polymer based rust removing compound left for 24 hours, removing the coating and then applying two (2) coats of polymer modified anti corrosive protective coating formulated to inhibit the corrosion of reinforcement as per manufacturer's specification] [Mode of measurement:The affected surface area of reinforcement shall be considered for payment] | BI01010001010000000000000515BI0100001131 | 52.23 | SqM | 887.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46379.72 | 46379.72 | INR Forty Six Thousand Three Hundred & Seventy Nine and Paise Seventy Two Only | 785 | 887.99 | 41000.55
21 | Applying epoxy based reactive joining agent for joining the old concrete with fresh concrete to be applied within manufacturer's specified time as per manufacturers specification. (0.4 Kg / m² of concrete surface). Note: Applicable only when the full diameter of reinforcement steel is exposed. | BI01010001010000000000000515BI0100001132 | 32.54 | SqM | 349.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11374.03 | 11374.03 | INR Eleven Thousand Three Hundred & Seventy Four and Paise Three Only | 309 | 349.54 | 10054.86
22 | Removing corroded worn out portion of reinforcement (when the area of bar is damaged by more than 25%) by cutting and replacing the same by a new plain round bar of requisite diameter by binding with required lap / welding with old bar, including cost of reinforcement, complete in all respect including removing unserviceable materials from site as per direction of the Engineer - in - charge. Note : Payment on weight (Kg.) of new reinforcement. | BI01010001010000000000000515BI0100001133 | 5.95 | SqM | 98.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 585.54 | 585.54 | INR Five Hundred & Eighty Five and Paise Fifty Four Only | 87 | 98.41 | 517.65
23 | Artificial stone in floor, dado, staircase etc with cement concrete (1:2:4) with stone chips, laid in panels as directed with topping made with ordinary or white cement (as necessary) and marble dust in proportion (1:2) including smooth finishing and rounding off corners including raking out joints or roughening of concrete surface and application of cement slurry before flooring works using cement @ 1.75 kg/sq.m all complete including all materials and labour. In ground floor. 3 mm. thick topping (High polishing grinding on this item is not permitted with ordinary cement). Using grey cement (ii) 25 mm. thick | BI01010001010000000000000515BI0100001134 | 85.92 | SqM | 304.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26144.6 | 26144.6 | INR Twenty Six Thousand One Hundred & Forty Four and Paise Sixty Only | 269 | 304.29 | 23112.48
24 | Repairing cracks in floor with cement mortar (1:2) with necessary pigment to match with existing works, including prior cutting and cleaning the cracks as directed. | BI01010001010000000000000515BI0100001135 | 103.516 | M | 7.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 798.11 | 798.11 | INR Seven Hundred & Ninety Eight and Paise Eleven Only | 6.82 | 7.71 | 705.98
25 | Washing and cleaning with oxalic acid powder using 33 gms./sq.m. (b) Floor/ dado other than marble | BI01010001010000000000000515BI0100001136 | 2208.3 | SqM | 6.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13823.96 | 13823.96 | INR Thirteen Thousand Eight Hundred & Twenty Three and Paise Ninety Six Only | 5.53 | 6.26 | 12211.9
26 | Supplying, fitting & fixing 1st quality Ceramic tiles in walls and floors to match with the existing work & 4 nos. of key stones (10mm) fixed with araldite at the back of Each tile & finishing the joints with white cement mixed with colouring oxide if required to match the colour of tiles including roughening of concrete surface, if necessary or by synthetic adhesive & grout materials etc. (A) Floor With Sand Cement Mortar (1:4) 20 mm thick & 2 mm thick cement slurry at back side of tiles using cement @ 2.91 Kg/Sq.m & joint filling using white cement slurry @ 0.20kg/Sq.m. (a) Area of Each tile upto 0.09 Sq.m (i) Coloured decorative | BI01010001010000000000000515BI0100001137 | 185 | SqM | 831.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 153814.55 | 153814.55 | INR One Lakh Fifty Three Thousand Eight Hundred & Fourteen and Paise Fifty Five Only | 735 | 831.43 | 135975
27 | Supplying, fitting & fixing 1st quality Ceramic tiles in walls and floors to match with the existing work & 4 nos. of key stones (10mm) fixed with araldite at the back of Each tile & finishing the joints with white cement mixed with colouring oxide if required to match the colour of tiles including roughening of concrete surface, if necessary or by synthetic adhesive & grout materials etc. (B) Wall With Sand Cement Mortar (1:3) 15 mm thick & 2 mm thick cement slurry at back side of tiles using cement @ 2.91 Kg/Sq.m & joint filling using white cement slurry @ 0.20kg/Sq.m. (a) Area of Each tile upto 0.09 Sq.m (i) Coloured decorative | BI01010001010000000000000515BI0100001138 | 275 | SqM | 838.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 230510.5 | 230510.5 | INR Two Lakh Thirty Thousand Five Hundred & Ten and Paise Fifty Only | 741 | 838.22 | 203775
28 | M.S. structural works in roof trusses with tubular sections conforming to IS: 806-1968 & IS: 1161- 1998 cnnected to one another with bracket, gusset cleats as per design, direction of Engineer-in-charge complete including cutting to requisite size, fabrication with necessary metal arc welding conforming to IS: 816- 1969 & IS: 9595 using electrodes of approved make and brand conforming to IS:814- 2004, haulage, hoisting and erection all complete. The rate includes the cost of rolled steel section, consumables such as electrodes, gas and hire charge of all tools and plants and labour reqired for the work including all incidental chages such as electricity charges, labour insurance charges etc. Payment to be made on the basis of calculated weight of structural tubular memebrs as specified in relevent IS code in finished work. Payment for gusset, bracket, cleat may be made by adding the actual weight of such items with weight of finished structural members. The rates are considered for a height of erection 8 m. / 2nd floor level from the ground. Add 1.5 % extra over the rate for each additional floor or 4m. beyond the initial 8 m. or part thereof. i) For trusses spanning up to 12.00 m | BI01010001010000000000000515BI0100001139 | 2.45 | MT. | 82522.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 202179.32 | 202179.32 | INR Two Lakh Two Thousand One Hundred & Seventy Nine and Paise Thirty Two Only | 72951 | 82522.17 | 178729.95
29 | Galvanised corrugated iron sheet work (excluding the supporting frame work) fitted and fixed with 10 mm. dia J or L hook-bolts, limpet and bitumen washers and putty complete with 150 mm. end lap and one corrugation minimum side lap. (Payment to be made on area of finished work)(GCI sheet to be supplied by contractor) (i) In Roof:- b) With 0.80 mm thick sheet | BI01010001010000000000000515BI0100001140 | 650 | Sq.M | 911.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 592637.5 | 592637.5 | INR Five Lakh Ninety Two Thousand Six Hundred & Thirty Seven and Paise Fifty Only | 806 | 911.75 | 523900
30 | Galvanised iron sheet ridging fitted with necessary bolts, screws, washers etc complete.(225mm end lapping) (B) 450 mm lapping each way (b) With 0.80 mm sheet | BI01010001010000000000000515BI0100001141 | 250.32 | Metre | 670.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 167914.66 | 167914.66 | INR One Lakh Sixty Seven Thousand Nine Hundred & Fourteen and Paise Sixty Six Only | 593 | 670.8 | 148439.76
31 | Galvanised iron sheet eaves gutter fitted and fixed with necessary 50 mm X 6 mm M.S flat bar clamps bent to design, bolts, nuts, washers etc. complete. Eaves gutter made of 0.63 mm. sheets.(300mm End lapping) (b) 300 mm. wide gutter | BI01010001010000000000000515BI0100001142 | 600 | Metre | 454.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 272844 | 272844 | INR Two Lakh Seventy Two Thousand Eight Hundred & Forty Four Only | 402 | 454.74 | 241200
32 | Fitting and fixing old pieces of asbestos, G.C.I. or C.I. sheets or plain sheets including closing old holes with washers and sheet-bolts and nuts, etc. and including fixing the same supporting frame with necessary hook-bolts, washers, putty etc. (excluding cost of sheets). (Payment to be made on area of finished work.) (ii) With all new fittings including the cost thereof. (a) In roof | BI01010001010000000000000515BI0100001143 | 445.25 | SqM | 117.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 52379.21 | 52379.21 | INR Fifty Two Thousand Three Hundred & Seventy Nine and Paise Twenty One Only | 104 | 117.64 | 46306
33 | Renewing galvanised J or L hook-bolt with nut and with necessary limpet and bitumen washers, putty etc. fitted and fixed complete. (Total length of bolt upto 225 mm) (a) 10 mm dia. bolt | BI01010001010000000000000515BI0100001144 | 268 | Each | 33.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9095.92 | 9095.92 | INR Nine Thousand &Ninety Five and Paise Ninety Two Only | 30 | 33.94 | 8040
34 | Stopping roof leakages in C.I. or G.C.I. or asbestos roofing. (iii) Closing holes in C.I. or G.C.I. or asbestos roofing with sheet bolt, limpet and bitumen washers, putty etc. | BI01010001010000000000000515BI0100001145 | 258 | Each | 18.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4669.8 | 4669.8 | INR Four Thousand Six Hundred & Sixty Nine and Paise Eighty Only | 16 | 18.1 | 4128
35 | Welding in M.S. structural work with gas or electric: (a) Tack weld | BI01010001010000000000000515BI0100001146 | 221 | point | 10.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2249.78 | 2249.78 | INR Two Thousand Two Hundred & Forty Nine and Paise Seventy Eight Only | 9 | 10.18 | 1989
36 | Taking out M.S. or W.I. Grills from wooden frame including cutting lugs from masonry wall and refitting the same and mending good damages after repairs. (Excluding the cost of necessary repair of damages) or doing any other necessary works. | BI01010001010000000000000515BI0100001147 | 91 | Each | 111.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10191.09 | 10191.09 | INR Ten Thousand One Hundred & Ninety One and Paise Nine Only | 99 | 111.99 | 9009
37 | Labour for taking out door and window frame including shutter for repair or replacement of different parts of the frame & refixing the same including mending good all damaes complete. (Concrete and brick work for mending damage will be paid separately) (a) Upto area 2.5 Sq.m | BI01010001010000000000000515BI0100001148 | 85.761 | SqM | 134.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11544.29 | 11544.29 | INR Eleven Thousand Five Hundred & Forty Four and Paise Twenty Nine Only | 119 | 134.61 | 10205.56
38 | Labour for taking out door and window frame including shutter for repair or replacement of different parts of the frame & refixing the same including mending good all damaes complete. (Concrete and brick work for mending damage will be paid separately) (b) Above area 2.5 Sq.m | BI01010001010000000000000515BI0100001149 | 20.006 | SqM | 165.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3304.19 | 3304.19 | INR Three Thousand Three Hundred & Four and Paise Nineteen Only | 146 | 165.16 | 2920.88
39 | Taking out shutter of door and window, dismantling by parts (for repair or replacement of damaged parts) , reassembling and refitting and rehanging same with old fittings but with new screws as necessary. (Where different parts of same shutter are renewed under different item, payment under item 73 will be made once only). | BI01010001010000000000000515BI0100001150 | 65.23 | SqM | 142.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9297.23 | 9297.23 | INR Nine Thousand Two Hundred & Ninety Seven and Paise Twenty Three Only | 126 | 142.53 | 8218.98
40 | Wood work in door and window frame fitted and fixed in position complete including a protective coat of painting at the contact surface of the frame exluding cost of concrete, Iron Butt Hinges and M.S clamps. (The quantum should be correted upto three decimals). (d) Sal : Local. | BI01010001010000000000000515BI0100001151 | 1.58 | CuM | 82525.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 130390.38 | 130390.38 | INR One Lakh Thirty Thousand Three Hundred & Ninety and Paise Thirty Eight Only | 72954 | 82525.56 | 115267.32
41 | Panel shutters of door and window, as per design (each panel consisting of single plank without joint), including fitting and fixing the same in position but excluding the cost of hinge and other fittings. In ground floor. (In case of non-supply of single plank, penal rate of reduction of 20% will be made) (iii) 35mm thick shutters with 19mm thick panel of size 30 to 45 cm. (a) Ordinary Teak Wood. | BI01010001010000000000000515BI0100001152 | 52.32 | SqM | 4166.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 217976.11 | 217976.11 | INR Two Lakh Seventeen Thousand Nine Hundred & Seventy Six and Paise Eleven Only | 3683 | 4166.21 | 192694.56
42 | Removing loose scales, blisters etc. from old painted surface and thoroughly smoothening the surface to make the same suitable for receiving fresh coat of paint. | BI01010001010000000000000515BI0100001153 | 702.53 | SqM | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16692.11 | 16692.11 | INR Sixteen Thousand Six Hundred & Ninety Two and Paise Eleven Only | 21 | 23.76 | 14753.13
43 | Removing old paint from blistered painted surface of steel or other metal by chipping including scraping and cleaning and exposing the original surface | BI01010001010000000000000515BI0100001154 | 229.112 | SqM | 54.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12440.78 | 12440.78 | INR Twelve Thousand Four Hundred & Forty and Paise Seventy Eight Only | 48 | 54.3 | 10997.38
44 | Removing thick layers of paint from heavily cracked and blistered painted surface of timber by careful burning with blow lamp including smoothening exposed surface of timber with pumice stone or glass and preparing the same for fresh treatment. | BI01010001010000000000000515BI0100001155 | 350.25 | SqM | 58.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20601.71 | 20601.71 | INR Twenty Thousand Six Hundred & One and Paise Seventy One Only | 52 | 58.82 | 18213
45 | (A) Providing and fixing of false ceiling with powder coated exposed G.I. grid suspension system (E-Grid T 2430 or equivalent load carrying capacity with mid span deflection not exceeding 1/360 span with hanger spacing of 1200mm c/c) consisting of Main Runner 3600 mm long, Cross Tee 1200 mm / 600 mm long and Wall Angle. The Wall Angle shall be fixed on PVC Dash Fasteners on theperimeter of the wall by steel screws with distance 300mm c/c. The Main Runners to be placed @ 1200 mm. The Cross Tee 1200mm will be inserted in the pre-cut slots of Main Runner at regular interval of 600 mm to form a modular grid of 1200mm X 600mm. Additional Cross Tees of 600 mm shall be placed perpendicular to the Cross Tee 1200 mm long to finally form a grid of 600 mm X 600 mm. Grid of module size 600 mm X 600 mm shall be supported by 6 mm dia G.I. wire from purlins / soffit. 6 mm thick High Pressure Steam Cured Non Asbestos Fibre Cement Standard Ceiling Board (Density > 1300 Kg/m3) of size 595 mm X 595 mm, conforming IS 14862 & Type B Category III of ISO 8336, tested as per AS-1530 part 3 & BS-476 Part 4,5,6,7 & 8, should be placed in the Grid module to form a False Ceiling. All complete as per the drawing & directions of Engineer-in-charge. In ground floor. False Ceiling (with 6mm thick Fibre Cement Standard Ceiling Board and E-Grid T-2430). | BI01010001010000000000000515BI0100001156 | 525.135 | Sq.M | 668.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 351073.75 | 351073.75 | INR Three Lakh Fifty One Thousand &Seventy Three and Paise Seventy Five Only | 591 | 668.54 | 310354.79
46 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar b) 15mm thick plaster INSIDE Ground Floor | BI01010001010000000000000515BI0100001157 | 395.26 | SqM | 153.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60806.8 | 60806.8 | INR Sixty Thousand Eight Hundred & Six and Paise Eighty Only | 136 | 153.84 | 53755.36
47 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar b) 20mm thick plaster OUTSDE Ground Floor | BI01010001010000000000000515BI0100001158 | 202.32 | SqM | 175.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35474.79 | 35474.79 | INR Thirty Five Thousand Four Hundred & Seventy Four and Paise Seventy Nine Only | 155 | 175.34 | 31359.6
48 | Net Cement Punning above 1.5mm thick in Wall dado,Window Sill Floor and Drain etc Note Cement 0.152 cum 100 Sqmts | BI01010001010000000000000515BI0100001159 | 161.63 | SqM | 38.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6216.29 | 6216.29 | INR Six Thousand Two Hundred & Sixteen and Paise Twenty Nine Only | 34 | 38.46 | 5495.42
49 | Priming one coat on steel or other metal surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc | BI01010001010000000000000515BI0100001160 | 292.12 | SqM | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9581.54 | 9581.54 | INR Nine Thousand Five Hundred & Eighty One and Paise Fifty Four Only | 29 | 32.8 | 8471.48
50 | Priming one coat on timber or plastered surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. | BI01010001010000000000000515BI0100001161 | 290.973 | SqM | 42.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12508.93 | 12508.93 | INR Twelve Thousand Five Hundred & Eight and Paise Ninety Three Only | 38 | 42.99 | 11056.97
51 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary : On timber or plastered surface. With super gloss (hi-gloss) - Two coats (with any shade except white) | BI01010001010000000000000515BI0100001162 | 302.45 | SqM | 91.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27713.49 | 27713.49 | INR Twenty Seven Thousand Seven Hundred & Thirteen and Paise Forty Nine Only | 81 | 91.63 | 24498.45
52 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary : On steel or other metal surface. With super gloss (hi-gloss) - Two coats (with any shade except white) | BI01010001010000000000000515BI0100001163 | 302.45 | SqM | 89.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27026.93 | 27026.93 | INR Twenty Seven Thousand &Twenty Six and Paise Ninety Three Only | 79 | 89.36 | 23893.55
53 | Cement washing including cleaning and smoothening surface thoroughly (cement to be used @15 kg./100 sq.m. of surface for one coat and @25 kg./100 sq.m of surface for two coats): External surface (Ground floor) (a) One coat Ground Floor | BI01010001010000000000000515BI0100001164 | 2012.52 | SqM | 16.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32421.7 | 32421.7 | INR Thirty Two Thousand Four Hundred & Twenty One and Paise Seventy Only | 14.24 | 16.11 | 28658.28
54 | Applying decorative cement based paint of approved quality after preparing the surface including scraping the same thoroughly (plastered or concrete surface) as per manufacturer's specification. In Ground floor: (i) One coat on old surface. | BI01010001010000000000000515BI0100001165 | 2012.21 | SqM | 35.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 70568.2 | 70568.2 | INR Seventy Thousand Five Hundred & Sixty Eight and Paise Twenty Only | 31 | 35.07 | 62378.51
55 | White washing including cleaning and smoothening surface thoroughly. All floors : (b) Two coats (to be done on specific instruction). | BI01010001010000000000000515BI0100001166 | 1709.216 | SqM | 20.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35073.11 | 35073.11 | INR Thirty Five Thousand &Seventy Three and Paise Eleven Only | 18.14 | 20.52 | 31005.18
56 | Supplying, fitting and fixing M.S. clamps for door and window frame made of flat bent bar, end bifurcated with necessary screws etc. by cement concrete(1:2:4) as per direction. (Cost of concrete will be paid separately) (b) 40mm X 6mm, 200mm Length | BI01010001010000000000000515BI0100001167 | 118.85 | Each | 28.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3361.08 | 3361.08 | INR Three Thousand Three Hundred & Sixty One and Paise Eight Only | 25 | 28.28 | 2971.25
57 | Iron butt hinges of approved quality fitted and fixed with steelscrews, with ISI mark. (vi) 100mm. X 50mm. X 1.25mm. | BI01010001010000000000000515BI0100001168 | 175.6 | Each | 48.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8541.18 | 8541.18 | INR Eight Thousand Five Hundred & Forty One and Paise Eighteen Only | 43 | 48.64 | 7550.8
58 | i) Iron hasp bolt of approved quality fitted and fixed complete (oxidised) with 16mm dia rod with centre bolt and round fitting. (b) 250mm long. | BI01010001010000000000000515BI0100001169 | 44 | Each | 179.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7913.84 | 7913.84 | INR Seven Thousand Nine Hundred & Thirteen and Paise Eighty Four Only | 159 | 179.86 | 6996
59 | (ii) Door stopper (Anodised aluminium) | BI01010001010000000000000515BI0100001170 | 23 | Each | 79.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1821.14 | 1821.14 | INR One Thousand Eight Hundred & Twenty One and Paise Fourteen Only | 70 | 79.18 | 1610
60 | Anodised aluminium barrel / tower / socket bolt (full covered) of approved manufactured from extruded section conforming to I.S. 204/74 fitted and fixed with cadmium plated screws: (iv) 150mm long x 10mm dia. bolt. | BI01010001010000000000000515BI0100001171 | 105 | Each | 71.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7483.35 | 7483.35 | INR Seven Thousand Four Hundred & Eighty Three and Paise Thirty Five Only | 63 | 71.27 | 6615
61 | Anodised aluminium barrel / tower / socket bolt (full covered) of approved manufactured from extruded section conforming to I.S. 204/74 fitted and fixed with cadmium plated screws: (ix) 300mm long x 10mm dia. bolt. | BI01010001010000000000000515BI0100001172 | 20 | Each | 111.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2239.8 | 2239.8 | INR Two Thousand Two Hundred & Thirty Nine and Paise Eighty Only | 99 | 111.99 | 1980
62 | Anodised aliminium D-type handle of approved quality manufactured from extruded section conforming to I.S. specification (I.S. 230/72) fitted and fixed complete: (a) With continuous plate base (Hexagonal/ Round rod) (vi) 150 mm grip x 10 mm dia rod. | BI01010001010000000000000515BI0100001173 | 173 | Each | 109.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18983.29 | 18983.29 | INR Eighteen Thousand Nine Hundred & Eighty Three and Paise Twenty Nine Only | 97 | 109.73 | 16781
63 | Supplying, fitting & fixing fibre reinforced polymer (FRP) Composite door shutters as per approved design with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to satisfy IS:4020 door testing performance criteria. (i) 25 mm thick Ground Floor | BI01010001010000000000000515BI0100001174 | 72.5 | SqM | 2919.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 211673.18 | 211673.18 | INR Two Lakh Eleven Thousand Six Hundred & Seventy Three and Paise Eighteen Only | 2581 | 2919.63 | 187122.5
64 | Supplying, fitting and fixing fibre reinforced polymer (FRP) Composite door frame as per approved section with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to safisfy IS: 4020 door testing performance criteria.. (ii) 66mm x 70mm Ground Floor | BI01010001010000000000000515BI0100001175 | 196.02 | Mtr. | 504.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 98896.01 | 98896.01 | INR Ninety Eight Thousand Eight Hundred & Ninety Six and Paise One Only | 446 | 504.52 | 87424.92
65 | Labour for Chipping of concrete surface before taking up Plastering work. | BI01010001010000000000000515BI0100001176 | 36.937 | SqM | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 877.62 | 877.62 | INR Eight Hundred & Seventy Seven and Paise Sixty Two Only | 21 | 23.76 | 775.68
66 | Sanitary & Plumbing Works Supplying, fitting and fixing PVC pipes of approved make of Schedule 80 (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) (a) For Exposed Work PVC Pipes (Dia) 25 mm | BI01010001010000000000000515BI0100001177 | 45 | metre | 200.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9009.9 | 9009.9 | INR Nine Thousand &Nine and Paise Ninety Only | 177 | 200.22 | 7965
67 | Supplying, fitting and fixing PVC pipes of approved make of Schedule 80 (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) (a) For Exposed Work PVC Pipes (Dia) 32 mm | BI01010001010000000000000515BI0100001178 | 32 | metre | 266.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8542.72 | 8542.72 | INR Eight Thousand Five Hundred & Forty Two and Paise Seventy Two Only | 236 | 266.96 | 7552
68 | Supplying, fitting and fixing PVC pipes of approved make of Schedule 80 (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) (a) For Exposed Work PVC Pipes (Dia) 40 mm | BI01010001010000000000000515BI0100001179 | 40 | metre | 330.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13212.4 | 13212.4 | INR Thirteen Thousand Two Hundred & Twelve and Paise Forty Only | 292 | 330.31 | 11680
69 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). (vi) 32 mm dia | BI01010001010000000000000515BI0100001180 | 12 | each | 1423.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17076.6 | 17076.6 | INR Seventeen Thousand &Seventy Six and Paise Sixty Only | 1258 | 1423.05 | 15096
70 | (c)(i) Chromium plated angular stop cock with wall flange (Equivalent to Code No. 5053 & Model- Florentine of Jaguar or similar brand) | BI01010001010000000000000515BI0100001181 | 50 | each | 921.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46096.5 | 46096.5 | INR Forty Six Thousand &Ninety Six and Paise Fifty Only | 815 | 921.93 | 40750
71 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (A) (i) Single Socketed 3 Meter Length (b) 110 mm | BI01010001010000000000000515BI0100001182 | 152 | metre | 330.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 50207.12 | 50207.12 | INR Fifty Thousand Two Hundred & Seven and Paise Twelve Only | 292 | 330.31 | 44384
72 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (ii) Double Socketed 3 Meter Length (b) 110 mm | BI01010001010000000000000515BI0100001183 | 172 | metre | 356.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61288.76 | 61288.76 | INR Sixty One Thousand Two Hundred & Eighty Eight and Paise Seventy Six Only | 315 | 356.33 | 54180
73 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings (i) Coupler (b) 110 mm | BI01010001010000000000000515BI0100001184 | 60 | Each | 96.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5769 | 5769 | INR Five Thousand Seven Hundred & Sixty Nine Only | 85 | 96.15 | 5100
74 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings (ii) Plain Tee (b) 110 mm | BI01010001010000000000000515BI0100001185 | 10 | Each | 96.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 961.5 | 961.5 | INR Nine Hundred & Sixty One and Paise Fifty Only | 85 | 96.15 | 850
75 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings xi) Door Bend (T.S.) (b) 110 mm | BI01010001010000000000000515BI0100001186 | 50 | Each | 166.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8314.5 | 8314.5 | INR Eight Thousand Three Hundred & Fourteen and Paise Fifty Only | 147 | 166.29 | 7350
76 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings ix) Bend 45º (b) 110 mm | BI01010001010000000000000515BI0100001187 | 65 | Each | 100.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6544.2 | 6544.2 | INR Six Thousand Five Hundred & Forty Four and Paise Twenty Only | 89 | 100.68 | 5785
77 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings x) Bend 87.5º (b) 110 mm | BI01010001010000000000000515BI0100001188 | 150 | Each | 135.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20361 | 20361 | INR Twenty Thousand Three Hundred & Sixty One Only | 120 | 135.74 | 18000
78 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings xv) Vent Cowl (b) 110 mm | BI01010001010000000000000515BI0100001189 | 120 | Each | 37.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4479.6 | 4479.6 | INR Four Thousand Four Hundred & Seventy Nine and Paise Sixty Only | 33 | 37.33 | 3960
79 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings xvi) Pipe Clip (b) 110 mm | BI01010001010000000000000515BI0100001190 | 290 | Each | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6890.4 | 6890.4 | INR Six Thousand Eight Hundred & Ninety and Paise Forty Only | 21 | 23.76 | 6090
80 | Labour for fitting and fixing U.P.V.C. pipes for above ground work including cost of jointing materials etc. fitting and fixing all necessary specials, cutting pipes, cutting holes in walls or R.C. floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary, but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 metre and refilling the same complete as per direction of the Engineerin- charge. (Payment will be made on centre line measurement of the total pipeline including specials. (A) Above ground (ii) 110 mm dia. | BI01010001010000000000000515BI0100001191 | 302 | metre | 64.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19472.96 | 19472.96 | INR Nineteen Thousand Four Hundred & Seventy Two and Paise Ninety Six Only | 57 | 64.48 | 17214
81 | Constructing Inspection pit of inside measurement 600mm X 600mm X upto 600mm (depth) with 250 mm thick 1st. class brick work in cement mortar (1:4) on all sides, bottom of the pit consisting of 100 mm thick cement concrete (1:3:6) with stone chips over a layer of jhama brick flat soling, 15 mm thick (1:4) cement plaster to inside walls and out-side walls upto G.L. and 20 mm.thick (1:4) plaster to bottom of the pit, providing necessary invert with cement concrete (1:3:6) with stone chips as per direction, neat cement finishing to entire internal surfaces, top of the pit covered with 100 mm thick R.C.C. slab (1:1.5:3) with stone chips and necessary reinforcements upto 1% and shuttering including 6 mm thick cement plaster (1:4) in all external surfaces of the slab and one 560 mm dia. R.C.C. manhole cover of approved make supplied, fitted and fixed in the slab with necessary fittings, necessary earthwork in excavation in all sorts of soil, filling sides of the pit with earth and removing spoils after work complete in all respect with all costs of labour and materials. i) With Pakur variety. (SAIL/TATA/RINL) | BI01010001010000000000000515BI0100001192 | 12 | Each | 8135.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 97627.08 | 97627.08 | INR Ninety Seven Thousand Six Hundred & Twenty Seven and Paise Eight Only | 7192 | 8135.59 | 86304
82 | Construction of septic tank of different capacities as per approved drawing with 1st class brick work in cement mortar (1:4) including two 560 mm dia. R.C.C. manhole cover(heavy type)of approved make supplied, fitted and fixed in the 100mm thick R.C.C (1:1.5:3) top slab with necessary fittings, 20mm thick cement plaster (4 : 1) with neat cement finish to the internal surfaces and 15 mm thick cement plaster (4 : 1) to outside wall upto 200 mm below G.L floor finished with 25 mm thick grey artificial stone over 100 mm thick R.C.C(1:1.5:3) bottom slab including supplying, fitting and fixing all necessry specials, fittings, S.W. tees, C.I. foot rest etc. including excavation earth in all sorts of soil, shoring, bailing out and pumping out water as necessary, ramming, dressing the bed and fefilling the sides of the tanks with earth, removing spoils, filling up the chamber with clear water, removing foreign materials from the chamber and including constructing attached inspection pit as per approved drawing and connecting all necessary pipes, joints etc. with internal plaster work and artificial stone flooring is to be done with admixture of water proofing compound @ 0.5% by weight of cement with all costs of labour and materials. Note:- (i) Finished level of Septic Tank should be 400 mm. from Ground Level. (ii) Height of 50 mm. Ventilation pipe &Mosquito proof mesh, should be follwed as per IS:2470,Part- I.Payment will be made separetly on the basis of actual height based on relevant I.S.Code. (iv) For 50 users A) With Pakur variety. (SAIL/TATA/RINL) | BI01010001010000000000000515BI0100001193 | 2 | Each | 102472.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 204944.02 | 204944.02 | INR Two Lakh Four Thousand Nine Hundred & Forty Four and Paise Two Only | 90587 | 102472.01 | 181174
83 | Construction of circular soak well 2.5 Mtr. deep in all types of sandy soils with dry brick work upto 1.6 Mtr. from the bottom having 150 mm intermediate cement brick work (1:4) band all round and cement brick work (1:4) upto 0.90 Mtr. from top with 20mm thick cement plastering (1:4) to inside face upto the depth of cement brick work, 15mm thick cement plaster (1:4) on outer face from top of the well upto G.L. and 6 mm thick cement plaster (1:4) on top of the R.C.C. cover slab including filling bottom 1.00 Mtr. of inside of the well with brick metal (50 mm to 63 mm size) including R.C.C. cover slab of 100 mm thick with cement conc (1:1.5:3) with stone chips with necessary reinforcement and shuttering including one 560 mm dia. R.C.C. manhole cover (heavy type)of approved make supplied, fitted and fixed in the cover slab with necessary fittings, making nacessary arrangements for pipe connections, excavation of well including shoring, dewatering and removing the exess earth from the premises as per direction complete in all respect with all costs of labour and materials. With 250 mm thick dry brick work and 250 mm thick cement brick work (1:6) and 1.00m inside dia. (SAIL/TATA/RINL) | BI01010001010000000000000515BI0100001194 | 2 | Each | 18388.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36777.58 | 36777.58 | INR Thirty Six Thousand Seven Hundred & Seventy Seven and Paise Fifty Eight Only | 16256 | 18388.79 | 32512
84 | Electrical Works (Schedule Items) Supply & fixing 415 volt 63 A TPN switch in S.S. enclosure with HRC fuses onLS & NL to be fixed on angle frame on wall including earthing attachment.(LT/Seimens) | BI01010001010000000000000515BI0100001195 | 4 | set | 4814.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19257.36 | 19257.36 | INR Nineteen Thousand Two Hundred & Fifty Seven and Paise Thirty Six Only | 4132 | 4814.34 | 16528
85 | Supply & fixing 4 way double door horizontal TPN MCB DB with SS enclosure (Legrand cat no 607715)(Legrand/Seimens/ABB) concealed in wall after cutting the wall & mending good the damages to original finish with earthing attachment comprising with the following. a) 63 A Four Pole MCB isolator -- -1 No. b))6 to 32 A range SP MCB. --- 12 Nos. | BI01010001010000000000000515BI0100001196 | 4 | set | 6962.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27851.4 | 27851.4 | INR Twenty Seven Thousand Eight Hundred & Fifty One and Paise Forty Only | 5976 | 6962.85 | 23904
86 | Supply & fixing SPN MCB DB (2+12) WAY (Make legrand/ Seimens/ABB) with S.S. Enclosure(Legrand cat no - 607712) concealed in wall after cutting wall & mending good the damages & earthing attachment comprising with the following: a) 40 A DP isolator - 1 No. b) 6 to 16 A range SPMCB - 12 Nos. | BI01010001010000000000000515BI0100001197 | 8 | set | 5110.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40882.32 | 40882.32 | INR Forty Thousand Eight Hundred & Eighty Two and Paise Thirty Two Only | 4386 | 5110.29 | 35088
87 | Supply & Fixing FP enclosure (Legrand) concealed in wall & mending good the damages to original finish incl. earthing attachment comprising with the following: a) 32 DP MCB Isolator (Legrand) - 1 nos b) 6-16 A SP MCB - 2 nos (Roof light & Stair light) | BI01010001010000000000000515BI0100001198 | 4 | set | 1217.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4870.28 | 4870.28 | INR Four Thousand Eight Hundred & Seventy and Paise Twenty Eight Only | 1045 | 1217.57 | 4180
88 | Supply & drawing PVC insulated (FR) Copper wire through alkathene pipe recessed in wall & mending good the damages. 2x84/0.3 (6 sqmm) + 1x56/0.3 (4 sqmm) as ECC(TPN) | BI01010001010000000000000515BI0100001199 | 100 | Mtr | 235.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23536 | 23536 | INR Twenty Three Thousand Five Hundred & Thirty Six Only | 202 | 235.36 | 20200
89 | Supply & drawing PVC insulated (FR) Copper wire through alkathene pipe recessed in wall & mending good the damages. b) 2 X 4 + 1 X 2.5 Sqmm.(SPN) | BI01010001010000000000000515BI0100001200 | 400 | mtr | 184.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 73636 | 73636 | INR Seventy Three Thousand Six Hundred & Thirty Six Only | 158 | 184.09 | 63200
90 | Supply & drawing PVC insulated (FR) Copper wire through alkathene pipe recessed in wall & mending good the damages. d) 3 x 1.5 sq mm | BI01010001010000000000000515BI0100001201 | 300 | Mtr | 129.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38799 | 38799 | INR Thirty Eight Thousand Seven Hundred & Ninety Nine Only | 111 | 129.33 | 33300
91 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to light/fan/call bell points with Modular type switch (Brand approved by EIC) fixed on Modular GI switch board with top cover plate flushed in wall incl. mending good damages to original finish (Ave. run 8 mtr.) | BI01010001010000000000000515BI0100001202 | 480 | pts | 1273.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 611275.2 | 611275.2 | INR Six Lakh Eleven Thousand Two Hundred & Seventy Five and Paise Twenty Only | 1093 | 1273.49 | 524640
92 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Brand approved by EIC) incl. S&F earth continuity wire, fixed on 4 Module GI switchboard with 3/4 Module top cover plate flushed in wall incl. mending good damages to original finish a) on board | BI01010001010000000000000515BI0100001203 | 55 | pts | 290.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15956.6 | 15956.6 | INR Fifteen Thousand Nine Hundred & Fifty Six and Paise Sixty Only | 249 | 290.12 | 13695
93 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Brand approved by EIC) incl. S&F earth continuity wire, fixed on 4 Module GI switchboard with 3/4 Module top cover plate flushed in wall incl. mending good damages to original finish b) Ave 4.5 mtr | BI01010001010000000000000515BI0100001204 | 65 | pts | 1092.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 71038.5 | 71038.5 | INR Seventy One Thousand &Thirty Eight and Paise Fifty Only | 938 | 1092.9 | 60970
94 | Supply & fixing socket type electronics Modular socket type fan regulator (Legrand/Crabtree) including connection. | BI01010001010000000000000515BI0100001205 | 160 | each | 450.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 72145.6 | 72145.6 | INR Seventy Two Thousand One Hundred & Forty Five and Paise Sixty Only | 387 | 450.91 | 61920
95 | Fixing only single /twin fluorescent light fitting complete with all accessories directly on wall/ceiling/HW round block and suitable size of MS fastener | BI01010001010000000000000515BI0100001206 | 200 | each | 116.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23302 | 23302 | INR Twenty Three Thousand Three Hundred & Two Only | 100 | 116.51 | 20000
96 | Fixing only outdoor / street light type LED light fitting complete with all accessories to be fixed/projected from the wall of the building incl. making holes to building, S&F 40 mm dia GI pipe (ISI-Medium) 1.50 mts. average length, with GI socket at one end and thread at the other end & suitable bend to house the fitting & making necy. connections with S&F necy. length of 1.5 sqmm PVC insulated single core stranded annealed copper wire and making connections as required and mending good damages to wall and painting | BI01010001010000000000000515BI0100001207 | 16 | set | 841.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13459.68 | 13459.68 | INR Thirteen Thousand Four Hundred & Fifty Nine and Paise Sixty Eight Only | 722 | 841.23 | 11552
97 | Supplying & Fixing GI waterproof type looping cable box size 200x150x100 mm deep having 4 mm thick comprising of one 250V 15 A kit-kat fuse unit, one NL on porcelain insulator, one compression type brass cable gland for upto 2- core 16 sqmm PVC/A cable and having lined with rubber gasketted GI top cover with brass machine screws etc., earthing terminal with lug, on steel tubular pole near base, including S&F 40x6 mm thick, MS clamps with bolts, nuts etc. including painting with anticorrosive paint | BI01010001010000000000000515BI0100001208 | 16 | each | 533.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8538.08 | 8538.08 | INR Eight Thousand Five Hundred & Thirty Eight and Paise Eight Only | 458 | 533.63 | 7328
98 | Earthing the installation by 50 mm dia. G.I. Pipe (ISI-M) of 3.64 mtr. Long driven to an depth of 3.65 mtr. Below the ground level including S/F 1X4 SWG. G.I. Earth wire (4 mtr. Long) with nuts bolts & washers. | BI01010001010000000000000515BI0100001209 | 8 | set | 1595.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12760.56 | 12760.56 | INR Twelve Thousand Seven Hundred & Sixty and Paise Fifty Six Only | 1369 | 1595.07 | 10952
99 | Supplying & fixing earth busbar of galvanized (Hot Dip) MS flat 25 mm x 6 mm on wall having clearance of 6 mm from wall including providing drilled holes on the busbar complete with GI bolts, nuts, washers, spacing insulators etc. as required | BI01010001010000000000000515BI0100001210 | 3 | mtr | 181.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 545.28 | 545.28 | INR Five Hundred & Forty Five and Paise Twenty Eight Only | 156 | 181.76 | 468
100 | Electrical Works (Non-Schedule Item) Dismentalling all existing electrical installation mending good damages and the same to the respective authority as per direction of EIC | BI01010001010000000000000515BI0100001211 | 6 | Item | 303 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1818 | 1818 | INR One Thousand Eight Hundred & Eighteen Only | 300 | 303 | 1800
101 | Supply 2' single LED type tube light fitting complete with all acessaries directly on ceiling with HW round block & suitable size of MS fastener (Crompton, cat no - LCTL-9-CDL) | BI01010001010000000000000515BI0100001212 | 26 | set | 374.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9742.46 | 9742.46 | INR Nine Thousand Seven Hundred & Forty Two and Paise Forty Six Only | 371 | 374.71 | 9646
102 | Supply 4' single LED type tube light fitting complete with all acessaries directly on ceiling with HW round block & suitable size of MS fastener (Crompton, cat no - IGP131LT8-16, LTT8-20) | BI01010001010000000000000515BI0100001213 | 75 | set | 907.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 68099.25 | 68099.25 | INR Sixty Eight Thousand &Ninety Nine and Paise Twenty Five Only | 899 | 907.99 | 67425
103 | Supply & fixing of 1200mm sweep Ceiling Fan (Orient,New Bridge, White) or equivalent as approved by the EIC,complete with all acessaries Incl S/F necy copper flex wire. | BI01010001010000000000000515BI0100001214 | 20 | each | 2086.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41733.2 | 41733.2 | INR Forty One Thousand Seven Hundred & Thirty Three and Paise Twenty Only | 2066 | 2086.66 | 41320
104 | Supply & fixing 2.7W LED night Lamp (Crompton/Philps) for batten light points | BI01010001010000000000000515BI0100001215 | 40 | Set | 125.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5009.6 | 5009.6 | INR Five Thousand &Nine and Paise Sixty Only | 124 | 125.24 | 4960
105 | Takendown, washing, cleaning including repairing of A.C ceiling Fan, after dismantling part by part cleaning and greasing ball bearing and changing split pin / jum nut/incl.S&F ball bearing / condenser etc. as and when require & incl.Refixing the same in position. | BI01010001010000000000000515BI0100001216 | 150 | Item | 151.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22725 | 22725 | INR Twenty Two Thousand Seven Hundred & Twenty Five Only | 150 | 151.5 | 22500
106 | STREET LIGHT Supply of 30 W LED LIGHT (Makes-Philips/Crompton, LSTS-30-CDL) | BI01010001010000000000000515BI0100001217 | 16 | set | 2624.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41999.84 | 41999.84 | INR Forty One Thousand Nine Hundred & Ninety Nine and Paise Eighty Four Only | 2599 | 2624.99 | 41584
Total in Figures | [51 empty] | 6225490.16 | 6225490.16 | INR Sixty Two Lakh Twenty Five Thousand Four Hundred & Ninety and Paise Sixteen Only | #REF! |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information