## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Assistant Chief Engineer, W.B.P.H&.I.D.Corpn. Ltd.
Name of Work: Installation of submersible pump for water supply to 04 nos. of Govt. Quarter of Sr. Officers of West Bengal Police at D- Block Complex adjacent to Police Telecom Hqrs., 3, MB Sarani, Kolkata-700040.
Contract No: WBPHIDCL/ACE/NIT- 141(e)/2019-2020 (1st Call)
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil works | BI01010001010000000000000515BI0100001112 | [65 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Resistivity Survey using resistivity meter to study ground water condition (Each Location Minimum Three Point Test) around the site giving the detail of aquifer depth and the expected yield in liters per hours including labour transportation and report preparation charges in Construction site . | BI01010001010000000000000515BI0100001113 | 1 | LS | 23755.2 | 60 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23755.2 | 23755.2 | INR Twenty Three Thousand Seven Hundred & Fifty Five and Paise Twenty Only | 10 | 11.31 | 10 |  |  |  | 26871.88 |  | 26871.88 | 23755.2 | 26871.88 | 21000 | 23755.2 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Labour for boring through any type of soil for sinking tube well of required dia. with top enlargement by Rig boring system (either by reverse circulation or by direct rotary method) including hire charges and labour for rig machine, tools and plants, staging, force pumping set and making arrangement for water required for boring etc. complete and lowering of pipes, strainers, blind pipes etc. complete. (a) For depth upto 250 metre for 100 mm dia. tube well with top enlargement of 200 mm dia. (i) First 50 mtr | BI01010001010000000000000515BI0100001114 | 50 | mtr | 1147.0368 | 160.15 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 57351.84 | 57351.84 | INR Fifty Seven Thousand Three Hundred & Fifty One and Paise Eighty Four Only | 119.27 | 134.92 | 5963.5 | 0.22 | 51.9 |  | 1297.53 | 26871.88 | 1297.53 | 1147.04 | 1297.53 | 1014 | 1147.0368 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Labour for boring through any type of soil for sinking tube well of required dia. with top enlargement by Rig boring system (either by reverse circulation or by direct rotary method) including hire charges and labour for rig machine, tools and plants, staging, force pumping set and making arrangement for water required for boring etc. complete and lowering of pipes, strainers, blind pipes etc. complete. (a) For depth upto 250 metre for 100 mm dia. tube well with top enlargement of 200 mm dia. ii) Next 50 mtr | BI01010001010000000000000515BI0100001115 | 50 | mtr | 998.8496 | 119.27 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49942.48 | 49942.48 | INR Forty Nine Thousand Nine Hundred & Forty Two and Paise Forty Eight Only | 192.38 | 217.62 | 9619 |  |  | 30874.1 | 1129.9 | 1297.53 | 1129.9 | 998.85 | 1129.9 | 883 | 998.8496 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Labour for boring through any type of soil for sinking tube well of required dia. with top enlargement by Rig boring system (either by reverse circulation or by direct rotary method) including hire charges and labour for rig machine, tools and plants, staging, force pumping set and making arrangement for water required for boring etc. complete and lowering of pipes, strainers, blind pipes etc. complete. (a) For depth upto 250 metre for 100 mm dia. tube well with top enlargement of 200 mm dia. iii) Next 50 mtr | BI01010001010000000000000515BI0100001116 | 50 | mtr | 1193.416 | 77.54 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 59670.8 | 59670.8 | INR Fifty Nine Thousand Six Hundred & Seventy and Paise Eighty Only | 148 | 167.42 | 7400 |  |  |  | 1349.99 | 1129.9 | 1349.99 | 1193.42 | 1350 | 1055 | 1193.416 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Labour for boring through any type of soil for sinking tube well of required dia. with top enlargement by Rig boring system (either by reverse circulation or by direct rotary method) including hire charges and labour for rig machine, tools and plants, staging, force pumping set and making arrangement for water required for boring etc. complete and lowering of pipes, strainers, blind pipes etc. complete. (a) For depth upto 250 metre for 100 mm dia. tube well with top enlargement of 200 mm dia. iv) Rest 70 mtr | BI01010001010000000000000515BI0100001117 | 70 | mtr | 1234.1392 | 327 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 86389.74 | 86389.74 | INR Eighty Six Thousand Three Hundred & Eighty Nine and Paise Seventy Four Only | 228 | 257.91 | 15960 |  |  |  | 1396.06 | 1349.99 | 1396.06 | 1234.14 | 1396.06 | 1091 | 1234.1392 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Supplying, fitting and fixing PVC pipes for underground work of approved make of Schedule 80 (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo,nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted including cost of all materials ,jointing materials, cutting pipes, making threads ,cutting trenches upto 1.5 metre below surface in all sorts of soil and refilling the same as directed complete in all respect. (Payment will be made on the centre line measurement of the total pipe line including all specials No separate payment will be made for accessories, specials. a) 200 mm dia. | BI01010001010000000000000515BI0100001118 | 50 | mtr | 3057.6336 | 10 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 152881.68 | 152881.68 | INR One Lakh Fifty Two Thousand Eight Hundred & Eighty One and Paise Sixty Eight Only | 148 | 167.42 | 7400 |  |  |  | 3458.8 | 1396.06 | 3458.8 | 3057.63 | 3458.79 | 2703 | 3057.6336 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | Supplying, fitting and fixing PVC pipes for underground work of approved make of Schedule 80 (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo,nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted including cost of all materials ,jointing materials, cutting pipes, making threads ,cutting trenches upto 1.5 metre below surface in all sorts of soil and refilling the same as directed complete in all respect. (Payment will be made on the centre line measurement of the total pipe line including all specials No separate payment will be made for accessories, specials. b) 100 mm dia. | BI01010001010000000000000515BI0100001119 | 140 | mtr | 1282.7808 | 11 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 179589.31 | 179589.31 | INR One Lakh Seventy Nine Thousand Five Hundred & Eighty Nine and Paise Thirty One Only | 93 | 105.2 | 13020 |  |  |  | 1451.08 | 3458.8 | 1451.08 | 1282.78 | 1451.08 | 1134 | 1282.7808 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Supplying 100 mm dia high density polythene strainer of approved make with adapter confirming to I.S. specification. | BI01010001010000000000000515BI0100001120 | 30 | mtr | 1492.0528 | 447 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44761.58 | 44761.58 | INR Forty Four Thousand Seven Hundred & Sixty One and Paise Fifty Eight Only | 77.54 | 87.71 | 2326.2 |  |  |  | 1687.81 | 1451.08 | 1687.81 | 1492.05 | 1687.81 | 1319 | 1492.0528 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Surging of existing tube well with chemical treatment and bucket wash (prior to use of compressor machine) and developing the tube well with compressor machine at least 3 (three) days at 8 (eight) hours per day till the yield is obtained at least by 75% of the total specified yield of the tube well (measured by 'V' notch tank) and draw down is within the permissible limit of 10% variation and water so obtained after such washing and developing will be free from sand and bacteria for which test report from the Public Analyst is to be obtained. (The rate is inclusive of all labour and materials including hire charges of tools and plants and cost of materials.) | BI01010001010000000000000515BI0100001121 | 1 | each | 31517.4944 | 497 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31517.49 | 31517.49 | INR Thirty One Thousand Five Hundred & Seventeen and Paise Forty Nine Only | 172.18 | 194.77 | 172.18 |  |  |  | 35652.59 | 1687.81 | 35652.59 | 31517.49 | 35652.58 | 27862 | 31517.4944 |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | For tube well of size bigger 100mm Labour for making arrangement for showing verticality test including the cost for hire charges of tools and plants, scafolding, labour etc. all complete. | BI01010001010000000000000515BI0100001122 | 1 | LS | 1036.1792 | 1956 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1036.18 | 1036.18 | INR One Thousand &Thirty Six and Paise Eighteen Only | 266 | 300.9 | 266 |  |  |  | 1172.13 | 35652.59 | 1172.13 | 1036.18 | 1172.13 | 916 | 1036.1792 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12 | Collecting sample of water for bacteriological and chemical test from any depth at any time during execution of work including hire and labour charges for tools and plants and sterilising the equipments, paying all charges and fees, testing etc. complete in all respect as per direction. | BI01010001010000000000000515BI0100001123 | 1 | LS | 1392.5072 | 2006 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1392.51 | 1392.51 | INR One Thousand Three Hundred & Ninety Two and Paise Fifty One Only | 4737.22 | 5358.74 | 4737.22 |  |  |  | 1575.2 | 1172.13 | 1575.2 | 1392.51 | 1575.21 | 1231 | 1392.5072 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Packing the annular space between the outside of the tube well pipes & strainers and the bore with pea size washed gravel of approved quality having size from 2 mm to 5 mm or the size approved by the Engineer-in-charge including cost of all materials labour and equipment complete. Note: Initial 6 m. of Annular space between the housing pipe and the bore should not be shrouded with Pea size gravel to avoid contamination with surface water. | BI01010001010000000000000515BI0100001124 | 11 | Cu. m | 2295.2048 | 889 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25247.25 | 25247.25 | INR Twenty Five Thousand Two Hundred & Forty Seven and Paise Twenty Five Only | 5857 | 6625.44 | 64427 |  |  |  | 2596.34 | 1575.2 | 2596.34 | 2295.2 | 2596.33 | 2029 | 2295.2048
14 | Packing annular space between the outside of the housing pipe and the bore with puddled clay balls of approved size as per direction of the Engineer-in-charge with cost of all materials and labour complete. | BI01010001010000000000000515BI0100001125 | 2 | Cu. m | 471.7104 | 19 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 943.42 | 943.42 | INR Nine Hundred & Forty Three and Paise Forty Two Only | 5952 | 6732.9 | 11904 |  |  |  | 533.6 | 2596.34 | 533.6 | 471.71 | 533.6 | 417 | 471.7104
15 | Supplying, fitting and fixing heavy type bell mouth reducing socket (iv) 100 mm X 200 mm | BI01010001010000000000000515BI0100001126 | 1 | each | 978.488 | 50 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 978.49 | 978.49 | INR Nine Hundred & Seventy Eight and Paise Forty Nine Only | 6047 | 6840.37 | 6047 |  |  |  | 1106.87 | 533.6 | 1106.87 | 978.49 | 1106.87 | 865 | 978.488
16 | Supply of PVC pipes & fittings Schedule 80 (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). (A) PVC Pipes (J) Threaded End Cap dia 200 mm | BI01010001010000000000000515BI0100001127 | 1 | each | 824.6448 | 56 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 824.64 | 824.64 | INR Eight Hundred & Twenty Four and Paise Sixty Four Only | 6142 | 6947.83 | 6142 |  |  |  | 932.84 | 1106.87 | 932.84 | 824.64 | 932.83 | 729 | 824.6448
17 | Supply of PVC pipes & fittings Schedule 80 (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). c) end plug dia100 mm | BI01010001010000000000000515BI0100001128 | 1 | each | 248.864 | 166 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 248.86 | 248.86 | INR Two Hundred & Forty Eight and Paise Eighty Six Only | 399 | 451.35 | 399 |  |  |  | 281.51 | 932.84 | 281.51 | 248.86 | 281.51 | 220 | 248.864
18 | Supplying, fitting and fixing including supplying of suitable jointing compound for fixing in position, threading, if necessary etc. all complete. d) Supplying, fitting and fixing 300 mm M.S. housing clamp of approved quality | BI01010001010000000000000515BI0100001129 | 1 | set | 2528.232 | 128 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2528.23 | 2528.23 | INR Two Thousand Five Hundred & Twenty Eight and Paise Twenty Three Only | 417 | 471.71 | 417 |  |  |  | 2859.94 | 281.51 | 2859.94 | 2528.23 | 2859.93 | 2235 | 2528.232
19 | Geophysical investigation of the acquifer by electrologging system with all tools and plants as necessary including supply of necessary report. | BI01010001010000000000000515BI0100001130 | 1 | each | 9329.0064 | 132 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9329.01 | 9329.01 | INR Nine Thousand Three Hundred & Twenty Nine and Paise One Only | 435 | 492.07 | 435 |  |  |  | 10552.97 | 2859.94 | 10552.97 | 9329.01 | 10552.98 | 8247 | 9329.0064
20 | SUPPLY & INSTALLATION OF PUMP SET Supply of Three phase 240V 7.5 Hp ( 5.5 Kw) bore well submersible Pump Motor set suitable for 200 mm bore well having overall head of (180 mtr to 70 mtr) & discharge of (0 to 225 LPM). The discharge outlet size will be 65mm (2.5" inch) (Make KSB/ Crompton/Kirloskar) | BI01010001010000000000000515BI0100001131 | 1 | set | 42929.04 | 163 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42929.04 | 42929.04 | INR Forty Two Thousand Nine Hundred & Twenty Nine and Paise Four Only | 71699 | 81105.91 | 71699 |  |  |  | 48561.33 | 10552.97 | 48561.33 | 42929.04 | 48561.33 | 37950 | 42929.04
21 | Supply & installation of 415 volt controller fot submersible pump stored in steel sheel erolosure (make L/T type MU-G cat no- SS9594) Relay Range (9-14 A) | BI01010001010000000000000515BI0100001132 | 1 | set | 7884.464 | 167 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7884.46 | 7884.46 | INR Seven Thousand Eight Hundred & Eighty Four and Paise Forty Six Only | 72129 | 81592.32 | 72129 |  |  |  | 8918.91 | 48561.33 | 8918.91 | 7884.46 | 8918.9 | 6970 | 7884.464
22 | Supply & Laying 3 core 4 sqmm flat submersible cable (Finolex)incl. 3/4" PVC HD PVC pipe through U.G. trench with necy Jointing materials incl. S/Laying PVC HD PVC pipe (Oriplast) | BI01010001010000000000000515BI0100001133 | 160 | mtr | 110.8576 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17737.22 | 17737.22 | INR Seventeen Thousand Seven Hundred & Thirty Seven and Paise Twenty Two Only | 4243 | 4799.68 | 678880 |  |  |  | 125.4 | 8918.91 | 125.4 | 110.86 | 125.4 | 98 | 110.8576
23 | Supplying, fitting and fixing G.I. pipes of TATA make with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads, fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) For exposed work. a) 65mm dia (For Vertical column pipe & upto Header) (medium Quality) | BI01010001010000000000000515BI0100001134 | 50 | mtr | 752.248 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37612.4 | 37612.4 | INR Thirty Seven Thousand Six Hundred & Twelve and Paise Forty Only | 4466 | 5051.94 | 223300 |  |  |  | 850.94 | 125.4 | 850.94 | 752.25 | 850.95 | 665 | 752.248
24 | Supplying, fitting and fixing G.I. pipes of TATA make with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads, fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) For exposed work. b) 50mm dia (Header to delivery pipe line to different buildings) (medium Quality) | BI01010001010000000000000515BI0100001135 | 30 | mtr | 610.848 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18325.44 | 18325.44 | INR Eighteen Thousand Three Hundred & Twenty Five and Paise Forty Four Only | 4799 | 5428.63 | 143970 |  |  |  | 690.99 | 850.94 | 690.99 | 610.85 | 690.99 | 540 | 610.848
25 | Supplying, fitting and fixing G.I. pipes of TATA make with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads, fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) For exposed work. c) 25 mm dia. medium quality | BI01010001010000000000000515BI0100001136 | 20 | mtr | 345.016 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6900.32 | 6900.32 | INR Six Thousand Nine Hundred and Paise Thirty Two Only | 4910 | 5554.19 | 98200 |  |  |  | 390.28 | 690.99 | 390.28 | 345.02 | 390.29 | 305 | 345.016
26 | Supplying, fitting and fixing gunmetal wheel valve of approved brand and make tested to 21 kg per sq. cm. (for water lines only). (iii) 65 mm dia | BI01010001010000000000000515BI0100001137 | 1 | each | 4444.4848 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4444.48 | 4444.48 | INR Four Thousand Four Hundred & Forty Four and Paise Forty Eight Only | 592 | 669.67 | 592 |  |  |  | 5027.6 | 390.28 | 5027.6 | 4444.48 | 5027.6 | 3929 | 4444.4848
27 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). (iv) 50 mm dia | BI01010001010000000000000515BI0100001138 | 6 | each | 2671.8944 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16031.37 | 16031.37 | INR Sixteen Thousand &Thirty One and Paise Thirty Seven Only | 604 | 683.24 | 3624 |  |  |  | 3022.45 | 5027.6 | 3022.45 | 2671.89 | 3022.44 | 2362 | 2671.8944
28 | Supply & fixing 100 mm x 65 mm dia G.I. Reducing Tee (For header) | BI01010001010000000000000515BI0100001139 | 6 | each | 857.4496 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5144.7 | 5144.7 | INR Five Thousand One Hundred & Forty Four and Paise Seventy Only | 616 | 696.82 | 3696 |  |  |  | 969.95 | 3022.45 | 969.95 | 857.45 | 969.95 | 758 | 857.4496
29 | Supply & fixing 100mm dia P.V.C nipple short piece 150mm long | BI01010001010000000000000515BI0100001140 | 6 | each | 154.9744 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 929.85 | 929.85 | INR Nine Hundred & Twenty Nine and Paise Eighty Five Only | 628 | 710.39 | 3768 |  |  |  | 175.31 | 969.95 | 175.31 | 154.97 | 175.3 | 137 | 154.9744
30 | Supply 100mm dia G.I. plug | BI01010001010000000000000515BI0100001141 | 6 | each | 356.328 | 104 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2137.97 | 2137.97 | INR Two Thousand One Hundred & Thirty Seven and Paise Ninety Seven Only | 640 | 723.97 | 3840 |  |  |  | 403.08 | 175.31 | 403.08 | 356.33 | 403.08 | 315 | 356.328
31 | Supply & fixing 65 mm x 50 mm dia G.I. Reducing socket (For delivery Line from header) | BI01010001010000000000000515BI0100001142 | 6 | each | 132.3504 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 794.1 | 794.1 | INR Seven Hundred & Ninety Four and Paise Ten Only | 175 | 197.96 | 1050 |  |  |  | 149.71 | 403.08 | 149.71 | 132.35 | 149.71 | 117 | 132.3504
32 | Supply of G.I. Union 50 mm dia | BI01010001010000000000000515BI0100001143 | 6 | each | 297.5056 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1785.03 | 1785.03 | INR One Thousand Seven Hundred & Eighty Five and Paise Three Only | 75572 | 85487.05 | 453432 |  |  |  | 336.54 | 149.71 | 336.54 | 297.51 | 336.54 | 263 | 297.5056
33 | Supply of PVC pipes & fittings Schedule 80 (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). G.I. Flange 50 mm dia | BI01010001010000000000000515BI0100001144 | 6 | pair | 180.992 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1085.95 | 1085.95 | INR One Thousand &Eighty Five and Paise Ninety Five Only | 75772 | 85713.29 | 454632 |  |  |  | 204.74 | 336.54 | 204.74 | 180.99 | 204.74 | 160 | 180.992
34 | Dismantling all types of masonry excepting cement concrete plain or reinforced, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. a) In ground floor including roof. | BI01010001010000000000000515BI0100001145 | 0.047 | cum | 505.6464 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23.77 | 23.77 | INR Twenty Three and Paise Seventy Seven Only | 75972 | 85939.53 | 3570.68 |  |  |  | 571.99 | 204.74 | 571.99 | 505.65 | 571.99 | 447 | 505.6464
35 | Brick work with 1st class bricks in cement mortar (1:6) (a) In foundation and plinth | BI01010001010000000000000515BI0100001146 | 0.216 | cum | 6123.1856 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1322.61 | 1322.61 | INR One Thousand Three Hundred & Twenty Two and Paise Sixty One Only | 76172 | 86165.77 | 16453.15 |  |  |  | 6926.55 | 571.99 | 6926.55 | 6123.19 | 6926.55 | 5413 | 6123.1856
36 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] (i) With 1:6 cement mortar (a) 25 mm thick plaster | BI01010001010000000000000515BI0100001147 | 0.48 | sqm | 231.896 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 111.31 | 111.31 | INR One Hundred & Eleven and Paise Thirty One Only | 76372 | 86392.01 | 36658.56 |  |  |  | 262.32 | 6926.55 | 262.32 | 231.9 | 262.33 | 205 | 231.896
37 | Supplying, fitting and fixing C.I. holder bat clamp including cutting holes in wall etc. and mending good all damages in cement concrete with jhama chips (4:2:1) and cement plaster (6:1) to match and curing complete in all respect. (vi) 50 mm | BI01010001010000000000000515BI0100001148 | 3 | each | 64.4784 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 193.44 | 193.44 | INR One Hundred & Ninety Three and Paise Forty Four Only | 76372 | 86392.01 | 229116 |  |  |  | 72.94 | #REF! | 72.94 | 64.48 | 72.94 | 57 | 64.4784
38 | Labour charge for Testing & Lowering the submersible Pump motor set with submersible cable along with the column pipes into the tube well after socketing the column pipes step by step including arrangement of tripod, chain pully & tools & Tackles & providing suitable manpower to satisfactory operation. | BI01010001010000000000000515BI0100001149 | 1 | item | 2828 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2828 | 2828 | INR Two Thousand Eight Hundred & Twenty Eight Only | 76372 | 86392.01 | 76372 |  |  |  | 3199.03 | #REF! | 3199.03 | 2828 | 3199.03 | 2500 | 2828
Total in Figures | [51 empty] | 896610.17 | 893588.73 | INR Eight Lakh Ninety Three Thousand Five Hundred & Eighty Eight and Paise Seventy Three Only | 384803128.98 | [5 empty] | 1564329.8455 | 8208107.6793 | 7311497.51 | -11654707.15 | -11771254.22 |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only | -383906518.81 | [5 empty] | -667719.68
Quoted Rate in Words |  | INR Zero Only
(a) 25 mm thick plaster
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information